**MINISTRY OF EDUCATION STATE DEPARTMENT OF TVET**

**INVITATION TO TENDER**

**PROCURING ENTITY: KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE**

**TENDER FOR THE PROPOSED CONSTRUCTION AND COMPLETION OF CLASSROOM AND ASSOCIATED WORKS AT KAJIADO WEST TECHNICAL AND**

**VOCATIONAL COLLEGE.**

**TENDER No: KWTVC/ADM/T/CLASSROOMS/001/2024-2025**

## TENDER ADVERT

Kajiado West Technical and Vocational College invites sealed bids from qualified bidders for the following tender;

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| S/No. | TENDER No. | TENDER NAME | BID  SECURITY | ELIGIBILITY |
| 1  . | KWTVC/AD M/T/CLASS  ROOMS/001/ 2024-2025 | TENDER FOR PROPOSED CONSTRUCTION OF 3No.  CLASSROOMS AT KAJIADO | 135,000Kshs | ALL |
|  | WEST TECHNICAL COLLEGE |  |  |

Interested eligible bidders may obtain a complete set of tender documents from PPIP Portal, free of charge

The following documents should be certified and attached to form part of evaluation criterion:

1. Certificate of Registration / Incorporation;
2. NCA Certificate in the stated category ( will be verified from NCA) for works;
3. Registration Certificate with National Treasury for disadvantage group;
4. Tax compliance certificate ( will be verified on the KRA TCC Checker);
5. CR 12 Form ( recent 12 months) from Registrar of Companies;
6. Bidders shall serialize all pages for each tender document submitted; Failure to which the bidder shall be disqualified.

The criteria of evaluation of bids

The criteria shall be as described in the tender documents Description of Works

The description and scope of works is as described in the tender documents

Prices quoted should include all taxes and must be expressed in Kenya Shillings and shall remain valid for 180 days from the date of tender opening

The Completed tender documents should be dropped off at Kajiado West Technical Office tender box on or before 28th AUG 2024, at 11:00 Am.

Completed and sealed tender documents on plain envelope will be addressed to:

PRINCIPAL KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE

P.0.BOX 1085-00208 Ngong Hills

**MINISTRY OF EDUCATION STATE DEPARTMENT OF TVET**

**PROCURING ENTITY: KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE**

**TENDER FOR THE PROPOSED CONSTRUCTION OF CLASSROOMS AND ASSOCIATED WORKS AT KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE.**

**TENDER No: KWTVC/ADM/T/CLASSROOMS/001/2024-2025**

NATIONAL OPEN TENDER

### CLOSING DATE: 28th august, 2024 AT 11:00 AM

OPEN FOR ALL

KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE

## P.0.BOX 1085-00208

Ngong Hills

## TABLE OF CONTENTS

1. INVITATION TO TENDER X
2. PART 1 - TENDERING PROCEDURES vii
3. PART 2 - PROCUREMENT ENTITY'S REQUIREMENTS vii
4. PART 3 - CONDITIONS OF CONTRACT AND CONTRACT FORMS viii

SECTION I - INSTRUCTIONS TO TENDERERS 1

* 1. General Provisions 1
     1. Scope of Tender 1
     2. Fraud and Corruption 1
     3. Eligible Tenderers 1
     4. Eligible Goods, Equipment, and Services 3
     5. Tenderer's Responsibilities 3
  2. Contents of Tender Documents 3

1. Sections of Tender Document 3
2. Site visit 4
3. Pre-Tender Meeting 4
4. Clarification and amendment of Tender Documents 5
5. Amendment of Tender Documents 5
   1. Preparation of Tenders 5
6. Cost of Tendering. 5
7. Language of Tender 5
8. Documents Comprising the Tender 5
9. Form of Tender and Schedules 6
10. Alternative Tenders 6
11. Tender Prices and Discounts 6
12. Currencies of Tender and Payment 7
13. Documents Comprising the Technical Proposal 7
14. Documents Establishing the Eligibility and Qualifications of the Tenderer
15. Period of Validity of Tenders 8
16. Tender Security 8
17. Format and Signing of Tender 9

D Sealing and Marking of Tenders 9

1. Sealing and Marking of Tenders 9
2. Deadline for Submission of Tenders 10
3. Late Tenders 10
4. Withdrawal, Substitution, and Modification of Tenders 10
5. Tender Opening 10
6. Evaluation and Comparison of Tenders 11
7. Confidentiality 11
8. Clarification of Tenders 11
9. Deviations, Reservations, and Omissions 12
10. Determination of Responsiveness 12
11. Non-material Non-conformities 12
12. Arithmetical Errors 12
13. Conversion to Single Currency 13
14. Margin of Preference and Reservations 13
15. Subcontractors 13
16. Evaluation of Tenders 13
17. Comparison of Tenders 14
18. Abnormally Low Tenders 14
19. Abnormally High Tenders 14
20. Unbalanced and/or Front-Loaded Tenders 14
21. Qualifications of the Tenderer 15
22. Best Evaluated Tender 15
23. Procuring Entity's Right to Accept Any Tender, and to Reject Any or All Tenders 15
24. Award of Contract 15
25. Award Criteria 15
26. Notice of Intention to enter into a Contract 15
27. Standstill Period 16
28. Debriefing by the Procuring Entity 16
29. Letter of Award 16
30. Signing of Contract 16
31. Appointment of Adjudicator 16
32. Performance Security. 16
33. Publication of Procurement Contract. 17

53. Procurement Related Complaints 17

SECTION II-TENDER DATA SHEET(TDS) 18

SECTION III - EVALUATION AND QUALIFY ON CRITERIA 23

1. General Provisions 23
2. Preliminary examination for Determination of Responsiveness 23
3. Tender Evaluation (ITT 35) 23
4. Multiple Contracts 23
5. Alternative Tenders (ITT 13.1) 24
6. Margin of Preference is not applicable 24
7. Post qualification and Contract award (ITT 39), more specifically 24

SECTION IV – TENDERING FORMS 25

QUALIFICATION FORMS 28

* 1. Form Equ. Equipment 28
  2. Form per-1 29

1. FORM PER-2 30
2. TENDERERS QUALIFICATION WITHOUT PRE-QUALIFICATION 32

FORM ELI -1.1 32

FORM ELI -1.2 33

FORM CON – 2 34

* 1. FORM FIN – 3.1: 36
  2. FORM FIN – 3.2: 37
  3. FORM FIN – 3.3: 38
  4. FORM FIN – 3.4: 38
  5. FORM EXP - 4.1 39
  6. FORM EXP - 4.2(a) 40

5.11 FORM EXP - 4.2(b) 41

OTHER FORMS 42

1. FORM OF TENDER 42
2. TENDERER'S ELIGIBILITY- CONFIDENTIAL BUSINESS QUESTIONNAIRE 45
3. CERTIFICATE OF INDEPENDENT TENDER DETERMINATION 48
4. SELF-DECLARATION FORM - SELF DECLARATION OF THE TENDERER 49
5. APPENDIX 1- FRAUD AND CORRUPTION 52
6. FORM OF TENDER SECURITY - DEMAND BANK GUARANTEE 54
7. FORM OF TENDER SECURITY (INSURANCE GUARANTEE) 55
8. FORM OF TENDER-SECURING DECLARATION 56
9. APPENDIX TO TENDER 57

[PART II - WORK REQUIREMENTS 58](#_TOC_250003)

SECTION V - DRAWINGS 58

SECTION VI - SPECIFICATIONS 58

[SECTION VII - BILLS OF QUANTITIES 59](#_TOC_250002)

1. Objectives 59
2. Day work Schedule 59
3. Provisional Sums 59
4. The Bills of Quantities 59

[PART III-CONDITIONS OF CONTRACT AND CONTRACT FORMS 60](#_TOC_250001)

[SECTION VIII - GENERAL CONDITIONS OF CONTRACT 60](#_TOC_250000)

1. General
   1. Definitions 61
   2. Interpretation 61
   3. Language and Law 62
   4. Project Manager's Decisions 63
   5. Delegation 63
   6. Communications 63
   7. Subcontracting 63
   8. Other Contractors 63
   9. Personnel and Equipment 63
   10. Procuring Entity's and Contractor's Risks 63
   11. Procuring Entity's Risks 63
   12. Contractor's Risks 64
   13. Insurance 64
   14. Site Data 64
   15. Contractor to Construct the Works 64
   16. The Works to Be Completed by the Intended Completion Date 64
   17. Approval by the Project Manager 64
   18. Safety 65
   19. Discoveries 65
   20. Possession of the Site 65
   21. Access to the Site 65
   22. Instructions, Inspections and Audits 65
   23. Appointment of the Adjudicator 65
   24. Settlement of Claims and Disputes 66
   25. Fraud and Corruption 68
2. Time Control 68
   1. Program 68
   2. Extension of the Intended Completion Date 69
   3. Acceleration 69
   4. Delays Ordered by the Project Manager 69
   5. Management Meetings 69
   6. Early Warning 70
3. Quality Control 69
   1. Identifying Defects 69
   2. Tests 69
   3. Correction of Defects 69
   4. Uncorrected Defects 69
4. Cost Control 70
   1. Contract Price 70
   2. Changes in the Contract Price 70
   3. Variations 71
   4. Cash Flow Forecasts 72
   5. Payment Certificates 72
   6. Payments 72
   7. Compensation Events 73
   8. Tax 73
   9. Currency y of Payment 73
   10. Price Adjustment 73
   11. Retention 74
   12. Liquidated Damages 74
   13. Bonus 74
   14. Advance Payment 74
   15. Securities 75
   16. Dayworks 75
   17. Cost of Repairs 75
5. Finishing the Contract 75
   1. Completion 75
   2. Taking Over 75
   3. Final Account 75
   4. Operating and Maintenance Manuals 75
   5. Termination 76
   6. Payment upon Termination 76
   7. Property 76
   8. Release from Performance 76

SECTION IX - SPECIAL CONDITIONS OF CONTRACT 77

SECTION X - CONTRACT FORMS 88

FORM No. 1 - NOTIFICATION OF INTENTION TO AWARD 80

FORM No. 2 – REQUEST FOR REVIEW 83

FORM No. 3 - LETTER OF AWARD 83

FORM No. 4 - CONTRACT AGREEMENT 84

FORM No. 5 - PERFORMANCE SECURITY [Option 1 - Unconditional Demand Bank Guarantee] 85

FORM No. 6- PERFORMANCE SECURITY [Option 2– Performance Bond] 86

FORM No. 7- ADVANCE PAYMENT SECURITY 88

FORM No. 8- RETENTION MONEY SECURITY 87

FORM No. 9- BENEFICIAL OWNERSHIP DISCLOSURE FORM 87

## INVITATION TO TENDER

1. The Kajiado West Technical and Vocational College invites sealed bidders for the PROPOSED CONSTRUCTION OF 3NO. CLASSROOMS AT KAJIADO WEST TECHNICAL AND

VOCATIONAL COLLEGE for a period of 6 months

1. Tendering will be conducted under open national tender method using a standardized tender document. Tendering is open to all qualified and interested Tenderers.
2. Qualified and interested tenderers may obtain further information and inspect the Tender Documents during office hours 0900 to 500 hours at the address: during normal working hours.
3. A complete set of tender documents may be obtained from the Websites [www.tenders.go.ke T](http://www.tenders.go.ke/)ender documents obtained electronically will be free of charge.
4. Tender documents may be viewed and downloaded for free from the website [www.tenders.go.ke. Tende](http://www.tenders.go.ke/)rers who download the tender document must forward their particulars immediately to [kajiadowesttvc@gmail.com to](mailto:kajiadowesttvc@gmail.com) facilitate any further clarification or addendum.
5. Tenders shall be quoted in Kenya Shillings and shall include all taxes. Tenders shall remain valid for 150 days from the date of opening of tenders.
6. All Tenders must be accompanied by a tender security of Kshs. 135,000.00 valid for 180 days from the date of tender opening.
7. The Tenderer shall chronologically serialize all pages of the tender documents submitted in the format of 1, 2, 3, 4……………………. From the cover page to the last page including all attachments.
8. Completed tenders must be submitted on or before 28th AUGUST, 2024 at 1100 Hrs.
9. Tenders will be opened immediately after the deadline date and time specified above or any dead line date and time specified later. Tenders will be publicly opened in the presence of the Tenderers' designated representatives who choose to attend at the address below.

11. Late tenders will be rejected.

12. The addresses referred to above are:

13. Electronics tenders will NOT be permitted.

Address for Submission of Tender

Tender Box situated at the Administration Block at Kajiado West Technical and Vocational College or be Addressed to: -

The Principal

Kajiado West Technical and Vocational College P O Box 1085-00208,

Ngong Hills

# PART 1 - TENDERING PROCEDURES

SECTION I: INSTRUCTIONS TO TENDERERS

A General Provisions

1. Scope of Tender
   1. The Procuring Entity as defined in the Appendix to Conditions of Contract invites tenders for Works Contract as described in the tender documents. The name, identification, and number of lots (contracts) of this Tender Document are speci**fi**ed in the TDS.
2. Fraud and Corruption
   1. The Procuring Entity requires compliance with the provisions of the Public Procurement and Asset Disposal Act, 2015, Section 62 “Declaration not to engage in corruption”. The tender submitted by a person shall include a declaration that the person shall not engage in any corrupt or fraudulent practice and a declaration that the person or his or her sub-contractors are not debarred from participating in public procurement proceedings.
   2. The Procuring Entity requires compliance with the provisions of the Competition Act 2010, regarding collusive practices in contracting. Any tenderer found to have engaged in collusive conduct shall be disqualified and criminal and/or civil sanctions may be imposed. To this effect, Tenders shall be required to complete and sign the “Certificate of Independent Tender Determination” annexed to the Form of Tender.
   3. Unfair Competitive Advantage - Fairness and transparency in the tender process require that the firms or their Affiliates competing for a specific assignment do not derive a competitive advantage from having provided consulting services related to this tender. To that end, the Procuring Entity shall indicate in the Data Sheet and make available to all the firms together with this tender document all information that would in that respect give such firm any unfair competitive advantage over competing firms.
   4. Unfair Competitive Advantage -Fairness and transparency in the tender process require that the Firms or their Affiliates competing for a specific assignment do not derive a competitive advantage from having provided consulting services related to this tender being tendered for. The Procuring Entity shall indicate in the TDS firms (if any) that provided consulting services for the contract being tendered for. The Procuring Entity shall check whether the owners or controllers of the Tenderer are same as those that provided consulting services. The Procuring Entity shall, upon request, make available to any tenderer information that would give such firm unfair competitive advantage over competing firms.
3. Eligible Tenderers
   1. A Tenderer may be a firm that is a private entity, a state-owned enterprise or institution subject to ITT

3.7 or any combination of such entities in the form of a joint venture (JV) under an existing agreement or with the intent to enter into such an agreement supported by a letter of intent. Public employees and their close relatives (spouses, children, brothers, sisters and uncles and aunts) are not eligible to participate in the tender. In the case of a joint venture, all members shall be jointly and severally liable for the execution of the entire Contract in accordance with the Contract terms. The JV shall nominate a Representative who shall have the authority to conduct all business for and on behalf of any and all the members of the JV during the tendering process and, in the event the JV is awarded the Contract, during contract execution. The maximum number of JV members shall be specified in the TDS.

* 1. Public Officers of the Procuring Entity, their Spouses, Child, Parent, Brothers or Sister. Child, Parent, Brother or Sister of a Spouse, their business associates or agents and firms/organizations in which they have a substantial or controlling interest shall not be eligible to tender or be awarded a contract. Public Officers are also not allowed to participate in any procurement proceedings.
  2. A Tenderer shall not have a conflict of interest. Any tenderer found to have a conflict of interest shall be disqualified. A tenderer may be considered to have a conflict of interest for the purpose of this tendering process, if the tenderer:

1. Directly or indirectly controls, is control led by or is under common control with another tenderer; or
2. Receives or has received any direct or indirect subsidy from another tenderer; or
3. Has the same legal representative as another tenderer; or
4. Has a relationship with another tenderer, directly or through common third parties, that puts it in a position to influence the tender of another tenderer, or influence the decisions of the Procuring Entity regarding this tendering process; or
5. Any of its affiliates participated as a consultant in the preparation of the design or technical specifications of the works that are the subject of the tender; or
6. any of its affiliates has been hired (or is proposed to be hired) by the Procuring Entity as Engineer for the Contract implementation; or
7. Would be providing goods, works, or non-consulting services resulting from or directly related to consulting services for the preparation or implementation of the contract specified in this Tender Document or
8. Has a close business or family relationship with a professional staff of the Procuring Entity who:
9. are directly or indirectly involved in the preparation of the Tender document or specifications of the Contract, and/or the Tender evaluation process of such contract; or

ii) would be involved in the implementation or supervision of such Contract unless the conflict stemming from such relationship has been resolved in a manner acceptable to the Procuring Entity throughout the tendering process and execution of the Contract.

* 1. A tenderer shall not be involved in corrupt, coercive, obstructive, collusive or fraudulent practice. A tenderer that is proven to have been involved any of these practices shall be automatically disqualified.
  2. A Tenderer (either individually or as a JV member) shall not participate in more than one Tender, except for permitted alternative tenders. This includes participation as a subcontractor in other Tenders. Such participation shall result in the disqualification of all Tenders in which the firm is involved. A firm that is not a tenderer or a JV member may participate as a subcontractor in more than one tender. Members of a joint venture may not also make an individual tender, be a subcontractor in a separate tender or be part of another joint venture for the purposes of the same Tender.
  3. A Tenderer may have the nationality of any country, subject to the restrictions pursuant to ITT 4.8.A Tenderer shall be deemed to have the nationality of a country if the Tenderer is constituted, incorporated or registered in and operates in conformity with the provisions of the laws of that country, as evidenced by its articles of incorporation (or equivalent documents of constitution or association) and its registration documents, as the case may be. This criterion also shall apply to the determination of the nationality of proposed subcontractors or sub- consultants for any part of the Contract including related Services.
  4. Tenderer that has been debarred from participating in public procurement shall be ineligible to

tender or be awarded a contract. The list of debarred firms and individuals is available from the website of PPRA [www.ppra.go.ke.](http://www.ppra.go.ke/)

* 1. Tenderers that are state-owned enterprises or institutions may be eligible to compete and be awarded a Contract(s) only if they are accredited by PPRA to be (i) a legal public entity of the state Government and/or public administration, (ii) financially autonomous and not receiving any significant subsidies or budget support from any public entity or Government, and (iii) operating under commercial law and vested with legal rights and liabilities similar to any commercial enterprise to enable it compete with firms in the private sector on an equal basis.
  2. A Firms and individuals may be ineligible if their countries of origin (a) as a matter of law or official regulations, Kenya prohibits commercial relations with that country, or (b) by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, Kenya prohibits any import of goods or contracting of works or services from that country, or any payments to any country, person, or entity in that country. A tenderer shall provide such documentary evidence of eligibility satisfactory to the Procuring Entity, as the Procuring Entity shall reasonably request.
  3. Foreign tenderers are required to source at least forty (40%) percent of their contract inputs (in supplies, subcontracts and labor) from national suppliers and contractors. To this end, a foreign tenderer shall provide in its tender documentary evidence that this requirement is met. Foreign tenderers not meeting this criterion will be automatically disqualified. Information required to enable the Procuring Entity determine if this condition is met shall be provided in for this purpose is be provided in

SECTION III - EVALUATION AND QUALIFICATION CRITERIA,.

General Provisions

The criteria and methodologies listed in this Section shall be used to evaluate tenders and arrive at the Lowest Evaluated Tender. The tender that (i) meets the qualification criteria, (ii) has been determined to be substantially responsive to the Tender Documents, and (iii) is determined to have the Lowest Evaluated Tender price shall be selected for award of contract.

##### Preliminary Evaluation for Determination of Responsiveness

Tender evaluation will start by examining all tenders to ensure they meet in all respects the eligibility criteria and other requirements in the ITT. Tenders shall be considered responsive in the Preliminary Evaluation by providing the following mandatory documents.

* 1. Company Incorporation/Registration Certificate
  2. Valid CR12 issued within the last Six (6) Months.
  3. Valid Tax Compliance Certificate
  4. Valid National Construction Authority (NCA) Registration Certificate - Buildings Category (NCA 6 and above)
  5. Current National Construction Authority (NCA) Annual License- Buildings for 2023/2024 f)

Current business permit/license

1. Tender security for the prescribed amount valid for 30 days after expiry of the tender validity period
2. Power of Attorney authorizing the legal representative to sign the tender. i)Duly filled, signed, and stamped Form of Tender
3. Duly filled, signed, and stamped Confidential Business Questionnaire
4. Duly filled, signed, and stamped Self- Declaration Form SD1 (Public Procurement and Disposal Act Non-Debarment Form
5. Duly filled, signed and stamped Self- Declaration Form SD2 (Anti-corruption pledge)
6. Audited accounts for the years 2021, 2022 and 2023 signed by an ICPAK Licensed Auditor on every

page (Must attach copy of a valid practicing license for the auditor)

1. Bank statements for the last one year certified by the respective bank(s)
2. Two copies of tender document (original and copy)

Tenders that do not pass the Preliminary Examination will be considered as non-responsive and will not be evaluated further.

1. **TECHNICAL EVALUATION**

To be considered responsive and qualify for financial evaluation, tenders must score a minimum of 70% on the following technical criteria.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **ITEM** | **EVALUATION CRITERION** | | **WEIGHTED**  **%** | **SCORE (%)** |
| 1 | **No of Years in Business**   1. 1-5 Years 2. 6-10 Years 3. Over 10 Years | | **5**  3  4  5 |  |
| 2 | **Specific Construction Experience**  Provide Completion Certificates of Building Projects **(over KShs. 15 million).** The certificate(s) must bear signature of a technical Project Manager   1. 1-3 Projects 2. 4-6 Projects 3. Over 6 Projects | | **35**  15  25  35 |  |
| 3 | **Financial Capacity** | **Average Annual Construction Turnover (Main Contractor only)**   1. Turnover less than 2 times the total value of the contract sum 2. Turnover more than 2 times but less than 3 times the value of the contract sum 3. Turnover more than 3 times the value of the contract sum. | **10**  3  5  10 |  |
| **Adequate Cashflow (Lines of Credit or Liquid Assets**   1. Up-to KShs.5 million 2. More than 5 but less than 10million 3. More than KShs. 10 million | **10**  3  5  10 |
| 4 | **Key Personnel**  (*Provide CVs, Academic Certificates and*  *Testimonials)* | **Director/Owner of Company/Business (***Minimum Experience of 5 years)*   1. Certificate Training in Construction 2. Diploma Training in Construction 3. Degree Training in Construction | **5**  2  3  5 |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | **Site Agent/Manager** | **5** |  |  |
| *(Minimum qualification of Certificate Training in* |  |
| *Building or Civil Engineering* |  |
| a) With 1-5 years’ experience in similar position | 2 |
| b) With 6-10 years’ experience in | 3 |
| similar position  c) With over 10 years’ experience in | 5 |
| similar position |  |
|  | **Electrical Works Artisan**  *(Minimum qualification of Electrical Trade-Test Certificate Training)*   1. With 1-5 years’ experience 2. With 6-10 years’ experience 3. With over 10 years’ experience | **3** |  |
| 1 |
| 2 |
| 3 |
|  | **Mechanical Works Artisan**  *(Minimum qualification of Mechanical Trade- Test Certificate Training)*   1. With 1-5 years’ experience 2. With 6-10 years’ experience 3. With over 10 years’ experience | **3** |  |
| 1 |
| 2 |
| 3 |
|  | **Plant and Equipment** | | | **15** |  | |
|  | *(Provide proof of Ownership for the following indicating Model and* | | |  |
|  | *Capacity or a Lease Agreement with ownership documents from the* | | |  |
|  | *Lessor)* | | |  |
| 5 | a) Earthworks Equipment- Excavating and Roller | | | 3 |
|  | b) Concreting Equipment- Mixer and Vibrator | | | 3 |
|  | c) Transport Lorries - At least 1 No Lorry | | | 5 |
|  | d) Assorted Equipment – Scaffold, welding Equipment, | | | 3 |
|  | Tile cutter Grinder | | |  |
| 6 | **Program of Works**  Provide a Proposed Program of Works | | | **5** |  | |
| 7 | **Serialization**  Bidders to chronologically serialize the tender document | | | **4** |  | |
|  | **Total** | | | **100** |  | |

Any bidder who scores **70 points** and above shall be considered for further evaluation.

1. **FINANCIAL EVALUATION**

Tenders shall be checked for unacceptable arithmetic errors, abnormally low tenders, abnormally high tenders and tenders that are front loaded. Tenders with arithmetic errors shall be disqualified.

##### DUE DILIGENCE

A due diligence will only be carried out for the lowest evaluated tender to verify information provided in their tenders. Any false information provided will lead to disqualification.

* 1. Pursuant to the eligibility requirements of ITT 4.10, a tender is considered a foreign tenderer, if the tenderer is not registered in Kenya or if the tenderer is registered in Kenya and has less than 51 percent ownership by Kenyan Citizens. JVs are considered as foreign tenderers if the individual member firms are not registered in Kenya or if are registered in Kenya and have less than 51 percent ownership by Kenyan citizens. The JV shall not subcontract to foreign firms more than 10 percent of the contract price, excluding provisional sums.
  2. The National Construction Authority Act of Kenya requires that all local and foreign contractors be registered with the National Construction Authority and be issued with a Registration Certificate before they can undertake any construction works in Kenya. Registration shall not be a condition for tender, but it shall be a condition of contract award and signature. A selected tenderer shall be given opportunity to register before such award and signature of contract. Application for registration with National Construction Authority may be accessed from the website [www.nca.go.ke.](http://www.nca.go.ke/)
  3. The Competition Act of Kenya requires that firms wishing to tender as Joint Venture undertakings which may prevent, distort or lessen competition in provision of services are prohibited unless they are exempt in accordance with the provisions of Section 25 of the Competition Act, 2010. JVs will be required to seek for exemption from the Competition Authority. Exemption shall not be a condition for tender, but it shall be a condition of contract award and signature. A JV tenderer shall be given opportunity to seek such exemption as a condition of award and signature of contract. Application for exemption from the Competition Authority of Kenya may be accessed from the website [www.cak.go.ke](http://www.cak.go.ke/)
  4. A Kenyan tenderer shall provide evidence of having fulfilled his/her tax obligations by producing a valid tax clearance certificate or tax exemption certificate issued by the Kenya Revenue Authority.

1. Eligible Goods, Equipment, and Services
   1. Goods, equipment and services to be supplied under the Contract may have their origin in any country that is not eligible under ITT 3.9. At the Procuring Entity's request, Tenderers may be required to provide evidence of the origin of Goods, equipment and services.
   2. Any goods, works and production processes with characteristics that have been declared by the relevant national environmental protection agency or by other competent authority as harmful to human beings and to the environment shall not be eligible for procurement.
2. Tenderer's Responsibilities
   1. The tenderer shall bear all costs associated with the preparation and submission of his/her tender, and the Procuring Entity will in no case be responsible or liable for those costs.
   2. The tenderer, at the tenderer's own responsibility and risk, is encouraged to visit and examine the Site of the Works and its surroundings, and obtain all information that may be necessary for preparing the tender and entering into a contract for construction of the Works. The costs of visiting the Site shall be at the tenderer's own expense.
   3. The Tenderer and any of its personnel or agents will be granted permission by the Procuring Entity to enter upon its premises and lands for the purpose of such visit. The Tenderer shall indemnify the Procuring Entity against all liability arising from death or personal injury, loss of or damage to property, and any other losses and expenses incurred as a result of the inspection.
   4. The tenderer shall provide in the Form of Tender and Qualification Information, a preliminary description of the proposed work method and schedule, including charts, as necessary or required.
3. Contents of Tender Documents
4. Sections of Tender Document
   1. The tender document consists of Parts 1, 2, and 3, which includes all the sections specified below, and which should be read in conjunction with any Addenda issued in accordance with ITT 8.

PART1 Tendering Procedures

1. Section I - Instructions to Tenderers (ITT)
2. Section II - Tender Data Sheet (TDS)
3. Section III - Evaluation and Qualification Criteria
4. Section IV - Tendering Forms

PART 2 Works Requirements

1. Section V - Drawings
2. Section VI -

Specifications

1. Section VII - Bills of Quantities

PART 3 Conditions of Contract and Contract Forms

Section VIII - General Conditions of Contract (GCC)

1. Section IX - Special Conditions of Contract (SC)
2. Section X - Contract Forms
   1. The Invitation to Tender Document (ITT) issued by the Procuring Entity is not part of the Contract documents.
   2. Unless obtained directly from the Procuring Entity, the Procuring Entity is not responsible for the completeness of the Tender document, responses to requests for clarification, the minutes of the pre- Tender meeting (if any), or Addenda to the Tender document in accordance with ITT 8. In case of any contradiction, documents obtained directly from the Procuring Entity shall prevail.

The Tenderer is expected to examine all instructions, forms, terms, and specifications in the TePnadgeer**14** of **129**

Document and to furnish with its Tender all information and documentation as is required by the Tender document.

1. Site Visit
   1. The Tenderer, at the Tenderer's own responsibility and risk, is encouraged to visit and examine and inspect the Site of the Required Services and its surroundings and obtain all information that may be necessary for preparing the Tender and entering into a contract for the Services. The costs of visiting the Site shall be at the Tenderer's own expense.
2. Pre-Tender Meeting
   1. The Procuring Entity shall specify in the TDS if a pre-tender meeting will be held, when and where. The Procuring Entity shall also specify in the TDS if a pre-arranged pretender site visit will be held and when. The Tenderer's designated representative is invited to attend a pre-arranged pretender visit of the site of the works. The purpose of the meeting will be to clarify issues and to answer questions on any matter that may be raised at that stage.
   2. The Tenderer is requested to submit any questions in writing, to reach the Procuring Entity not later than the period specified in the TDS before the meeting.
   3. Minutes of the pre-Tender meeting and the pre-arranged pretender site visit of the site of the works, if applicable, including the text of the questions asked by Tenderers and the responses given, together with any responses prepared after the meeting, will be transmitted promptly to all Tenderers who have acquired the Tender Documents in accordance with ITT 6.3. Minutes shall not identify the source of the questions asked.
   4. The Procuring Entity shall also promptly publish anonym zed (no names) Minutes of the pre-Tender meeting and the pre-arranged pretender visit of the site of the works at the web page identified in the TDS. Any modification to the Tender Documents that may become necessary as a result of the pre-tender meeting and the pre-arranged pretender site visit, shall be made by the Procuring Entity exclusively through the issue of an Addendum pursuant to ITT 8 and not through the minutes of the pre-Tender meeting. Nonattendance at the pre-Tender meeting will not be a cause for disqualification of a Tenderer.
3. Clari**fi**cation and amendments of Tender Documents
   1. A Tenderer requiring any clarification of the Tender Document shall contact the Procuring Entity in writing at the Procuring Entity's address specified in the TDS or raise its enquiries during the pre-Tender meeting and the pre- arranged pretender visit of the site of the works if provided for in accordance with ITT 8.4. The Procuring Entity will respond in writing to any request for clarification, provided that such request is received no later than the period specified in the TDS prior to the deadline for submission of tenders. The Procuring Entity shall forward copies of its response to all tenderers who have acquired the Tender Documents in accordance with ITT 6.3, including a description of the inquiry but without identifying its source. If specified in the TDS, the Procuring Entity shall also promptly publish its response at the web page identified in the TDS. Should the clarification result in changes to the essential elements of the Tender Documents, the Procuring Entity shall amend the Tender Documents appropriately following the procedure under ITT 8.4.
4. Amendment of Tendering Document
   1. At any time prior to the deadline for submission of Tenders, the Procuring Entity may amend the Tendering document by issuing addenda.
   2. Any addendum issued shall be part of the tendering document and shall be communicated in writing to all who have obtained the tendering document from the Procuring Entity in accordance with ITT

6.3. The Procuring Entity shall also promptly publish the addendum on the Procuring Entity's web page in accordance with ITT 8.4.

* 1. To give prospective Tenderers reasonable time in which to take an addendum into account in preparing their Tenders, the Procuring Entity shall extend, as necessary, the deadline for submission of Tenders, in accordance with ITT 25.2 below.

1. Preparation of Tenders
2. Cost of Tendering
   1. The Tenderer shall bear all costs associated with the preparation and submission of its Tender, and the Procuring Entity shall not be responsible or liable for those costs, regardless of the conduct or outcome of the tendering process.
3. Language of Tender
   1. The Tender, as well as all correspondence and documents relating to the tender exchanged by the tenderer and the Procuring Entity, shall be written in the English Language. Supporting documents and printed literature that are part of the Tender may be in another language provided they are accompanied by an accurate and notarized translation of the relevant passages into the English Language, in which case, for purposes of interpretation of the Tender, such translation shall govern.
4. Documents Comprising the Tender
   1. The Tender shall comprise the following:
5. Form of Tender prepared in accordance with ITT 14;
6. Schedules including priced Bill of Quantities, completed in accordance with ITT 14 and ITT 16;
7. Tender Security or Tender-Securing Declaration, in accordance with ITT 21.1;
8. Alternative Tender, if permissible, in accordance with ITT 15;
9. Authorization: written confirmation authorizing the signatory of the Tender to commit the Tenderer, in accordance with ITT 22.3;
10. Qualifications: documentary evidence in accordance with ITT 19establishing the Tenderer's qualifications to perform the Contract if its Tender is accepted;
11. Conformity: a technical proposal in accordance with ITT 18;
12. Any other document required in the TDS.
    1. In addition to the requirements under ITT 11.1, Tenders submitted by a JV shall include a copy of the Joint Venture Agreement entered into by all members. Alternatively, a letter of intent to execute a Joint Venture Agreement in the event of a successful Tender shall be signed by all members and submitted with the Tender, together with a copy of the proposed Agreement. The Tenderer shall chronologically serialize pages of all tender documents submitted.
    2. The Tenderer shall furnish in the Form of Tender information on commissions and gratuities, if any, paid or to be paid to agents or any other party relating to this Tender.
13. Form of Tenderand Schedules
    1. The Form of Tender and Schedules, including the Bill of Quantities, shall be prepared using the relevant forms furnished in Section IV, Tendering Forms. The forms must be completed without any alterations to the text, and no substitutes shall be accepted except as provided under ITT 20.3. All blank spaces shall be filled in with the information requested.
14. Alternative Tenders
    1. Unless otherwise specified in the TDS, alternative Tenders shall not be considered.
    2. When alternative times for completion are explicitly invited, a statement to that effect will be included in the TDS, and the method of evaluating different alternative times for completion will be described in Section III, Evaluation and Qualification Criteria.
    3. Except as provided under ITT 13.4 below, Tenderers wishing to offer technical alternatives to the requirements of the Tender Documents must first price the Procuring Entity's design as described in the Tender Documents and shall further provide all information necessary for a complete evaluation of the alternative by the Procuring Entity, including drawings, design calculations, technical specifications, breakdown of prices, and proposed construction methodology and other relevant details. Only the technical alternatives, if any, of the Tenderer with the Winning Tender conforming to the basic technical requirements shall be considered by the Procuring Entity. When specified in the TDS, Tenderers are permitted to submit alternative technical solutions for specified parts of the Works, and such parts will be identified in the TDS, as will the method for their evaluating, and described in Section VII, Works' Requirements.
15. Tender Prices and Discounts
    1. The prices and discounts (including any price reduction) quoted by the Tenderer in the Form of Tender and in the Bill of Quantities shall conform to the requirements specified below.
    2. The Tenderer shall fill in rates and prices for all items of the Works described in the Bill of Quantities. Items against which no rate or price is entered by the Tenderer shall be deemed covered by the rates for other items in the Bill of Quantities and will not be paid for separately by the Procuring Entity. An item not listed in the priced Bill of Quantities shall be assumed to be not included in the Tender, and provided that the Tender is determined substantially responsive notwithstanding this omission, the average price of the item quoted by substantially responsive Tenderers will be added to the Tender price and the equivalent total cost of the Tender so determined will be used for price comparison.
    3. The price to be quoted in the Form of Tender, in accordance with ITT 14.1, shall be the total price of the Tender, including any discounts offered.
    4. The Tenderer shall quote any discounts and the methodology for their application in the Form of Tender, in accordance with ITT 14.1.
    5. It will be specified in the TDS if the rates and prices quoted by the Tenderer are or are not subject to adjustment during the performance of the Contract in accordance with the provisions of the Conditions of Contract, except in cases where the contract is subject to fluctuations and adjustments, not fixed price. In such a case, the Tenderer shall furnish the indices and weightings for the price adjustment formulae in the Schedule of Adjustment Data and the Procuring Entity may require the Tenderer to justify its proposed indices and weightings.
    6. Where tenders are being invited for individual lots (contracts)or for any combination of lots (packages), tenderers wishing to offer discounts for the award of more than one Contract shall specify in their Tender the price reductions applicable to each package, or alternatively, to individual Contracts within the package. Discounts shall be submitted in accordance with ITT 16.4, provided the Tenders for all lots (contracts) are opened at the same time.
    7. All duties, taxes, and other levies payable by the Contractor under the Contract, or for any other cause, as of the date 30 days prior to the deadline for submission of Tenders, shall be included in the rates and prices and the total Tender Price submitted by the Tenderer.
16. Currencies of Tender and Payment
    1. Tenderers shall quote entirely in Kenya Shillings. The unit rates and the prices shall be quoted by the Tenderer in the Bill of Quantities, entirely in Kenya shillings. A Tenderer expecting to incur expenditures in other currencies for inputs to the Works supplied from outside Kenya shall device own ways of getting foreign currency to meet those expenditures.
17. Documents Comprising the Technical Proposal
    1. The Tenderer shall furnish a technical proposal including a statement of work methods, equipment, personnel, schedule and any other information as stipulated in Section IV, Tender Forms, in sufficient detail to demonstrate the adequacy of the Tenderer's proposal to meet the work's requirements and the completion time.
18. Documents Establishing the Eligibility and Quali**fi**cations of the Tenderer
    1. Tenderers shall complete the Form of Tender, included in Section IV, Tender Forms, to establish Tenderer's eligibility in accordance with ITT 4.
    2. In accordance with Section III, Evaluation and Qualification Criteria, to establish its qualifications to perform the Contract the Tenderer shall provide the information requested in the corresponding information sheets included in Section IV, Tender Forms.
    3. A margin of preference will not be allowed. Preference and reservations will be allowed, individually or in joint ventures. Applying for eligibility for Preference and reservations shall supply all information required to satisfy the criteria for eligibility specified in accordance with ITT 33.1.
    4. Tenderers shall be asked to provide, as part of the data for qualification, such information, including details of ownership, as shall be required to determine whether, according to the classification established by the Procuring Entity, a contractor or group of contractors qualifies for a margin of preference. Further the information will enable the Procuring Entity identify any actual or potential conflict of interest in relation to the procurement and/or contract management processes, or a possibility of collusion between tenderers, and thereby help to prevent any corrupt influence in relation to the procurement process or contract management.
    5. The purpose of the information described in ITT 19.4 above overrides any claims to confidentiality which a tenderer may have. There can be no circumstances in which it would be justified for a tenderer to keep information relating to its ownership and control confidential where it is tendering to undertake public sector work and receive public sector funds. Thus, confidentiality will not be accepted by the Procuring Entity as a justification for a Tenderer's failure to disclose, or failure to provide required information on its ownership and control.
    6. The Tenderer shall provide further documentary proof, information or authorizations that the Procuring Entity may request in relation to ownership and control which information on any changes to the information which was provided by the tenderer under ITT 6.3. The obligations to require this information shall continue for the duration of the procurement process and contract performance and after completion of the contract, if any change to the information previously provided may reveal a conflict of interest in relation to the award or management of the contract.
    7. All information provided by the tenderer pursuant to these requirements must be complete, current and accurate as at the date of provision to the Procuring Entity. In submitting the information required pursuant to these requirements, the Tenderer shall warrant that the information submitted is complete, current and accurate as at the date of submission to the Procuring Entity.
    8. If a tenderer fails to submit the information required by these requirements, its tender will be rejected. Similarly, if the Procuring Entity is unable, after taking reasonable steps, to verify to a reasonable degree the information submitted by a tenderer pursuant to these requirements, then the tender will be rejected.
    9. If information submitted by a tenderer pursuant to these requirements, or obtained by the Procuring Entity (whether through its own enquiries, through notification by the public or otherwise), shows any conflict of interest which could materially and improperly benefit the tenderer in relation to the procurement or contract management process, then:
19. If the procurement process is still ongoing, the tenderer willbe disqualified from the procurement process,
20. If the contract has been awarded to that tenderer, the contract award will be set aside,
21. The tenderer will be referred to the relevant law enforcement authorities for investigation of whether the tenderer or any other persons have committed any criminal offence.
    1. If a tenderer submits information pursuant to these requirements that is incomplete, inaccurate or out- of-date, or attempts to obstruct the verification process, then the consequences ITT 6.7 will ensue unless the tenderer can show to the reasonable satisfaction of the Procuring Entity that any such act was not material, or was due to genuine error which was not attributable to the intentional act, negligence or recklessness of the tenderer.
22. Period of Validity of Tenders
    1. Tenders shall remain valid for the Tender Validity period specified in the TDS. The Tender Validity period starts from the date fixed for the Tender submission deadline (as prescribed by the Procuring Entity in accordance with ITT 24). A Tender valid for a shorter period shall be rejected by the Procuring Entity as non-responsive.
    2. In exceptional circumstances, prior to the expiration of the Tender validity period, the Procuring Entity may request Tenderers to extend the period of validity of their Tenders. The request and the responses shall be made in writing. If a Tender Security is requested in accordance with ITT 21.1, it

Shall also be extended for thirty (30) days beyond the deadline of the extended validity period. A Tenderer may refuse the request without forfeiting its Tender security. A Tenderer granting the request shall not be required or permitted to modify its Tender, except as provided in ITT 20.3.

* 1. If the award is delayed by a period exceeding the number of days to be specified in the TDS days beyond the expiry of the initial tender validity period, the Contract price shall be determined as follows:

1. in the case of **fi**xed price contracts, the Contract price shall be the tender price adjusted by the factor specified in the TDS;
2. in the case of adjustable price contracts, no adjustment shall be made; or in any case, tender evaluation shall be based on the tender price without taking into consideration the applicable correction from those indicated above.
3. Tender Security
   1. The Tenderer shall furnish as part of its Tender, either a Tender-Securing Declaration or a Tender Security as specified in the TDS, in original form and, in the case of a Tender Security, in the amount and currency specified in the TDS. A Tender-Securing Declaration shall use the form included in Section IV, Tender Forms.
   2. If a Tender Security is specified pursuant to ITT 19.1, the Tender Security shall be a demand guarantee in any of the following forms at the Tenderer's option:
4. an unconditional Bank Guarantee issued by reputable commercial bank); or
5. An irrevocable letter of credit;
6. A Banker's cheque issued by a reputable commercial bank; or
7. Another security specified in the TDS,
   1. If an unconditional bank guarantee is issued by a bank located outside Kenya, the issuing bank shall have a correspondent bank located in Kenya to make it enforceable. The Tender Security shall be valid for thirty (30) days beyond the original validity period of the Tender, or beyond any period of extension if requested under ITT 20.2.
   2. If a Tender Security or Tender-Securing Declaration is specified pursuant to ITT 19.1, any Tender not accompanied by a substantially responsive Tender Security or Tender-Securing Declaration shall be rejected by the Procuring Entity as non-responsive.
   3. If a Tender Security is specified pursuant to ITT 21.1, the Tender Security of unsuccessful Tenderers shall be returned as promptly as possible upon the successful Tenderer's signing the Contract and furnishing the Performance Security and any other documents required in the TDS. The Procuring Entity shall also promptly return the tender security to the tenderers where the procurement proceedings are terminated, all tenders were determined nonresponsive or a bidder declines to extend tender validity period.
   4. The Tender Security of the successful Tenderer shall be returned as promptly as possible once the successful Tenderer has signed the Contract and furnished the required Performance Security, and any other documents required in the TDS.
   5. The Tender Security may be forfeited or the Tender-Securing Declaration executed:
8. If a Tenderer withdraws its Tender during the period of Tender validity specified by the Tenderer on the Form of Tender, or any extension thereto provided by the Tenderer; or
9. If the successful Tenderer fails to:
   1. Sign the Contract in accordance with ITT 50; or
   2. Furnish a Performance Security and if required in the TDS, and any other documents required in the TDS.
   3. Where tender securing declaration is executed, the Procuring Entity shall recommend to the PPRA that PPRA debars the Tenderer from participating in public procurement as provided in the law.
   4. The Tender Security or the Tender-Securing Declaration of a JV shall be in the name of the JV that submits the Tender. If the JV has not been legally constituted into a legally enforceable JV at the time

of tendering, the Tender Security or the Tender-Securing Declaration shall be in the names of all future members as named in the letter of intent referred to in ITT 4.1 and ITT 11.2.

* 1. A tenderer shall not issue a tender security to guarantee itself.

1. Format and Signing of Tender
   1. The Tenderer shall prepare one original of the documents comprising the Tender as described in ITT 13 and clearly mark it “ORIGINAL.” Alternative Tenders, if permitted in accordance with ITT 15, shall be clearly marked “ALTERNATIVE.” In addition, the Tenderer shall submit copies of the Tender, in the number specified in the TDS and clearly mark them “COPY.” In the event of any discrepancy between the original and the copies, the original shall prevail.
   2. Tenderers shall mark as “CONFIDENTIAL” all information in their Tenders which is confidential to their business. This may include proprietary information, trade secrets, or commercial or financially sensitive information.
   3. The original and all copies of the Tender shall be typed or written in indelible ink and shall be signed by a person duly authorized to sign on behalf of the Tenderer. This authorization shall consist of a written confirmation as specified in the TDS and shall be attached to the Tender. The name and position held by each person signing the authorization must be typed or printed below the signature. All pages of the Tender where entries or amendments have been made shall be signed or initialed by the person signing the Tender.
   4. In case the Tenderer is a JV, the Tender shall be signed by an authorized representative of the JV on behalf of the JV, and to be legally binding on all the members as evidenced by a power of attorney signed by their legally authorized representatives.
   5. Any inter-lineation, erasures, or overwriting shall be valid only if they are signed or initialed by the person signing the Tender.
2. Submission and Opening of Tenders
3. Sealing and Marking of Tenders
   1. Depending on the sizes or quantities or weight of the tender documents, a tenderer may use an envelope, package or container. The Tenderer shall deliver the Tender in a single sealed envelope, or in a single sealed package, or in a single sealed container bearing the name and Reference number of the Tender, addressed to the Procuring Entity and a warning not to open before the time and date for Tender opening date. Within the single envelope, package or container, the Tenderer shall place the following separate, sealed envelopes:
4. in an envelope or package or container marked “ORIGINAL”, all documents comprising the Tender, as described in ITT 11; and
5. in an envelope or package or container marked “COPIES”, all required copies of the Tender; and
6. if alternative Tenders are permitted in accordance with ITT 15, and if relevant:
   1. in an envelope or package or container marked “ORIGINAL –ALTERNATIVE TENDER”,

the alternative Tender; and

* 1. in the envelope or package or container marked “COPIES- ALTERNATIVE TENDER”, all required copies of the alternative Tender.

The inner envelopes or packages or containers shall:

1. bear the name and address of the Procuring Entity.
2. bear the name and address of the Tenderer; and
3. bear the name and Reference number of the Tender.
   1. If an envelope or package or container is not sealed and marked as required, the Procuring Entity will assume no responsibility for the misplacement or premature opening of the Tender. Tenders that are misplaced or opened prematurely will not be accepted.
4. Deadline for Submission of Tenders
   1. Tenders must be received by the Procuring Entity at the address specified in the TDS and no later than the date and time also specified in the TDS. When so specified in the TDS, Tenderers shall have the option of submitting their Tenders electronically. Tenderers submitting Tenders electronically shall follow the electronic Tender submission procedures specified in the TDS.
   2. The Procuring Entity may, at its discretion, extend the deadline for the submission of Tenders by amending the Tender Documents in accordance with ITT 8, in which case all rights and obligations of the Procuring Entity and Tenderers previously subject to the deadline shall thereafter be subject to the deadline as extended.
5. Late Tenders
   1. The Procuring Entity shall not consider any Tender that arrives after the deadline for submission of tenders, in accordance with ITT 24. Any Tender received by the Procuring Entity after the deadline for submission of Tenders shall be declared late, rejected, and returned unopened to the Tenderer.
6. Withdrawal, Substitution, and Modi**fi**cation of Tenders
   1. A Tenderer may withdraw, substitute, or modify its Tender after it has been submitted by sending a written notice, duly signed by an authorized representative, and shall include a copy of the authorization in accordance with ITT 22.3, (except that withdrawal notices do not require copies). The corresponding substitution or modification of the Tender must accompany the respective written notice. All notices must be:
7. Prepared and submitted in accordance with ITT 22 and ITT 23 (except that withdrawals notices do not require copies), and in addition, the respective envelopes shall be clearly marked “WITHDRAWAL,” “SUBSTITUTION,” “MODIFICATION;”and
8. Received by the Procuring Entity prior to the deadline prescribed for submission of Tenders, in accordance with ITT 24.
   1. Tenders requested to be withdrawn in accordance with ITT 26.1 shall be returned unopened to the Tenderers.
   2. No Tender may be withdrawn, substituted, or modified in the interval between the deadline for submission of Tenders and the expiration of the period of Tender validity specified by the Tenderer on the Form of Tender or any extension thereof.
9. Tender Opening
   1. Except in the cases specified in ITT 23 and ITT 26.2, the Procuring Entity shall publicly open and read out all Tenders received by the deadline, at the date, time and place specified in the TDS, in the presence of Tenderers' designated representatives who chooses to attend. Any specific electronic Tender opening procedures required if electronic Tendering is permitted in accordance with ITT 24.1, shall be as specified in the TDS.
   2. First, envelopes marked “WITHDRAWAL” shall be opened and read out and the envelopes with the corresponding Tender shall not be opened, but returned to the Tenderer. No Tender withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and is read out at Tender opening.
   3. Next, envelopes marked “SUBSTITUTION” shall be opened and read out and exchanged with the corresponding Tender being substituted, and the substituted Tender shall not be opened, but returned to the Tenderer. No Tender substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and is read out at Tender opening.
   4. Next, envelopes marked “MODIFICATION” shall be opened and read out with the corresponding Tender. No Tender modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and is read out at Tender opening.
   5. Next, all remaining envelopes shall be opened one at a time, reading out: the name of the Tenderer and whether there is a modification; the total Tender Price, per lot (contract) if applicable, including any discounts and alternative Tenders; the presence or absence of a Tender Security or Tender- Securing Declaration, if required; and any other details as the Procuring Entity may consider appropriate.
   6. Only Tenders, alternative Tenders and discounts that are opened and read out at Tender opening shall be considered further for evaluation. The Form of Tender and pages of the Bills of Quantities are to be initialed by the members of the tender opening committee attending the opening. The number of representatives of the Procuring Entity to sign shall be specified in the TDS.
   7. At the Tender Opening, the Procuring Entity shall neither discuss the merits of any Tender nor reject any Tender (except for late Tenders, in accordance with ITT 25.1).
   8. The Procuring Entity shall prepare minutes of the Tender Opening that shall include, as a minimum:
10. The name of the Tenderer and whether there is a withdrawal, substitution, or modification;
11. The Tender Price, per lot (contract) if applicable, including any discounts;
12. Any alternative Tenders;
13. The presence or absence of a Tender Security, if one was required.
14. Number of pages of each tender document submitted.
    1. The Tenderers' representatives who are present shall be requested to sign the minutes. The omission of a Tenderer's signature on the minutes shall not invalidate the contents and effect of the minutes. A copy of the tender opening register shall be distributed to all Tenderers upon request.
15. Evaluation and Comparison of Tenders
16. Con**fi**dentiality
    1. Information relating to the evaluation of Tenders and recommendation of contract award shall not be disclosed to Tenderers or any other persons not officially concerned with the Tender process until information on Intention to Award the Contract is transmitted to all Tenderers in accordance with ITT 46.
    2. Any effort by a Tenderer to influence the Procuring Entity in the evaluation of the Tenders or Contract award decisions may result in the rejection of its tender.
    3. Notwithstanding ITT 28.2, from the time of tender opening to the time of contract award, if a tenderer wishes to contact the Procuring Entity on any matter related to the tendering process, it shall do so in writing.
17. Clari**fi**cation of Tenders
    1. To assist in the examination, evaluation, and comparison of the tenders, and qualification of the tenderers, the Procuring Entity may, at its discretion, ask any tenderer for a clarification of its tender, given a reasonable time for a response. Any clarification submitted by a tenderer that is not in response to a request by the Procuring Entity shall not be considered. The Procuring Entity's request for clarification and the response shall be in writing. No change, including any voluntary increase or decrease, in the prices or substance of the tender shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Procuring Entity in the evaluation of the tenders, in accordance with ITT 33.
    2. If a tenderer does not provide clarifications of its tender by the date and time set in the Procuring Entity's request for clarification, its Tender may be rejected.
18. Deviations, Reservations, and Omissions
    1. During the evaluation of tenders, the following definitions apply:
19. “Deviation” is a departure from the requirements specified in the tender document;
20. “Reservation” is the setting of limiting conditions or withholding from complete acceptance of the requirements specified in the tender document; and
21. “Omission” is the failure to submit part or all of the information or documentation required in the Tender document.
22. Determination of Responsiveness
    1. The Procuring Entity's determination of a Tender's responsiveness is to be based on the contents of the tender itself, as defined in ITT 13.
    2. A substantially responsive Tender is one that meets the requirements of the Tender document without material deviation, reservation, or omission. A material deviation, reservation, or omission is one that, if accepted, would:
23. affect in any substantial way the scope, quality, or performance of the Works specified in the Contract; or
24. limit in any substantial way, inconsistent with the tender document, the Procuring Entity's rights or the tenderer's obligations under the proposed contract; or
25. if rectified, would unfairly affect the competitive position of other tenderers presenting substantially responsive tenders.
    1. The Procuring Entity shall examine the technical aspects of the tender submitted in accordance with ITT 18, to confirm that all requirements of Section VII, Works' Requirements have been met without any material deviation, reservation or omission.
    2. If a tender is not substantially responsive to the requirements of the tender document, it shall be rejected by the Procuring Entity and may not subsequently be made responsive by correction of the material deviation, reservation, or omission.
26. Non-material non-conformities
    1. Provided that a tender is substantially responsive, the Procuring Entity may waive any non- conformities in the tender.
    2. Provided that a Tender is substantially responsive, the Procuring Entity may request that the tenderer submit the necessary information or documentation, within a reasonable period, to rectify nonmaterial non-conformities in the tender related to documentation requirements. Requesting information or documentation on such non- conformities shall not be related to any aspect of the price of the tender. Failure of the tenderer to comply with the request may result in the rejection of its tender.
    3. Provided that a tender is substantially responsive, the Procuring Entity shall rectify quantifiable nonmaterial non-conformities related to the Tender Price. To this effect, the Tender Price shall be adjusted, for comparison purposes only, to reflect the price of a missing or non-conforming item or component in the manner specified in the TDS.
27. Arithmetical Errors
    1. The tender sum as submitted and read out during the tender opening shall be absolute and final and shall not be the subject of correction, adjustment or amendment in any way by any person or entity.
    2. Provided that the Tender is substantially responsive, the Procuring Entity shall handle errors on the following basis:
28. Any error detected if considered a major deviation that affects the substance of the tender, shall lead to disqualification of the tender as non-responsive.
29. Any errors in the submitted tender arising from a miscalculation of unit price, quantity, and subtotal and total bid price shall be considered as a major deviation that affects the substance of the tender and shall lead to disqualification of the tender as non-responsive. and
30. if there is a discrepancy between words and figures, the amount in words shall prevail
    1. Tenderers shall be notified of any error detected in their bid during the notification of a ward.
31. Currency provisions
    1. Tenders will priced be in Kenya Shillings only. Tenderers quoting in currencies other than in Kenya shillings will be determined non-responsive and rejected.
32. Margin of Preference and Reservations
    1. No margin of preference shall be allowed on contracts for small works.
    2. Where it is intended to reserve the contract to specific groups under Small and Medium Enterprises, or enterprise of women, youth and/or persons living with disability, who are appropriately registered as such by the authority to be specified in the TDS, a procuring entity shall ensure that the invitation to tender specifically indicates that only businesses/firms belonging to those specified groups are the only ones eligible to tender. Otherwise if no so stated, the invitation will be open to all tenderers.
33. Nominated Subcontractors
    1. Unless otherwise stated in the TDS, the Procuring Entity does not intend to execute any specific elements of the Works by subcontractors selected in advance by the Procuring Entity.
    2. Tenderers may propose subcontracting up to the percentage of total value of contracts or the volume of works as specified in the TDS. Subcontractors proposed by the Tenderer shall be fully qualified for their parts of the Works.
    3. The subcontractor's qualifications shall not be used by the Tenderer to qualify for the Works unless their specialized parts of the Works were previously designated by the Procuring Entity in the TDS as can be met by subcontractors referred to hereafter as 'Specialized Subcontractors', in which case, the qualifications of the Specialized Subcontractors proposed by the Tenderer may be added to the qualifications of the Tenderer.
34. Evaluation of Tenders
    1. The Procuring Entity shall use the criteria and methodologies listed in this ITT and Section III, Evaluation and Qualification Criteria. No other evaluation criteria or methodologies shall be permitted. By applying the criteria and methodologies the Procuring Entity shall determine the Best Evaluated Tender in accordance with ITT 40.
    2. To evaluate a Tender, the Procuring Entity shall consider the following:
35. Price adjustment due to discounts offered in accordance with ITT 16;
36. Converting the amount resulting from applying (a) and (b) above, if relevant, to a single currency in accordance with ITT39;
37. Price adjustment due to quantifiable nonmaterial non-conformities in accordance with ITT 30.3; and
38. any additional evaluation factors specified in the TDS and Section III, Evaluation and Qualification Criteria.
    1. The estimated effect of the price adjustment provisions of the Conditions of Contract, applied over the period of execution of the Contract, shall not be considered in Tender evaluation.
    2. In the case of multiple contracts or lots, Tenderers shall be allowed to tender for one or more lots and the methodology to determine the lowest evaluated cost of the lot (contract) combinations, including any discounts offered in the Form of Tender, is speci**fi**ed in Section III, Evaluation and Quali**fi**cation Criteria.
39. Comparison of Tenders
    1. The Procuring Entity shall compare the evaluated costs of all substantially responsive Tenders

Established in accordance with ITT 38.2 to determine the Tender that has the lowest evaluated cost.

1. Abnormally Low Tenders
   1. An Abnormally Low Tender is one where the Tender price, in combination with other elements of the Tender, appears so low that it raises material concerns as to the capability of the Tenderer in regards to the Tenderer's ability to perform the Contract for the offered Tender Price or that genuine competition between Tenderers is compromised.
   2. In the event of identification of a potentially Abnormally Low Tender, the Procuring Entity shall seek written clarifications from the Tenderer, including detailed price analyses of its Tender price in relation to the subject matter of the contract, scope, proposed methodology, schedule, allocation of risks and responsibilities and any other requirements of the Tender document.
   3. After evaluation of the price analyses, in the event that the Procuring Entity determines that the Tenderer has failed to demonstrate its capability to perform the Contract for the offered Tender Price, the Procuring Entity shall reject the Tender.
2. Abnormally High Tenders
   1. An abnormally high price is one where the tender price, in combination with other constituent elements of the Tender, appears unreasonably too high to the extent that the Procuring Entity is concerned that it (the Procuring Entity) may not be getting value for money or it may be paying too high a price for the contract compared with market prices or that genuine competition between Tenderers is compromised.
   2. In case of an abnormally high tender price, the Procuring Entity shall make a survey of the market prices, check if the estimated cost of the contract is correct and review the Tender Documents to check if the specifications, scope of work and conditions of contract are contributory to the abnormally high tenders. The Procuring Entity may also seek written clarification from the tenderer on the reason for the high tender price. The Procuring Entity shall proceed as follows:
3. If the tender price is abnormally high based on wrong estimated cost of the contract, the Procuring Entity may accept or not accept the tender depending on the Procuring Entity's budget considerations.
4. If specifications, scope of work and/or conditions of contract are contributory to the abnormally high tender prices, the Procuring Entity shall reject all tenders and may retender for the contract based on revised estimates, specifications, scope of work and conditions of contract, as the case may be.
   1. If the Procuring Entity determines that the Tender Price is abnormally too high because genuine competition between tenderers is compromised (often due to collusion, corruption or other manipulations), the Procuring Entity shall reject all Tenders and shall institute or cause competent Government Agencies to institute an investigation on the cause of the compromise, before retendering.
5. Unbalanced and/or Front-Loaded Tenders
   1. If in the Procuring Entity's opinion, the Tender that is evaluated as the lowest evaluated price is seriously unbalanced and/or front loaded, the Procuring Entity may require the Tenderer to provide written clarifications. Clarifications may include detailed price analyses to demonstrate the consistency of the tender prices with the scope of works, proposed methodology, schedule and any other requirements of the Tender document.
   2. After the evaluation of the information and detailed price analyses presented by the Tenderer, the Procuring Entity may as appropriate:
6. accept the Tender; or
7. require that the total amount of the Performance Security be increased at the expense of the Tenderer to a level not exceeding a 30% of the Contract Price; or
8. agree on a payment mode that eliminates the inherent risk of the Procuring Entity paying too much for undelivered works;or
9. reject the Tender,
10. Quali**fi**cations of the Tenderer
    1. The Procuring Entity shall determine to its satisfaction whether the eligible Tenderer that is selected as having submitted the lowest evaluated cost and substantially responsive Tender, meets the qualifying criteria specified in Section III, Evaluation and Qualification Criteria.
    2. The determination shall be based upon an examination of the documentary evidence of the Tenderer's qualifications submitted by the Tenderer, pursuant to ITT 19. The determination shall not take into consideration the qualifications of other firms such as the Tenderer's subsidiaries, parent entities, affiliates, subcontractors (other than Specialized Subcontractors if permitted in the Tender document), or any other firm(s) different from the Tenderer.
    3. An affirmative determination shall be a prerequisite for award of the Contract to the Tenderer. A negative determination shall result in disqualification of the Tender, in which event the Procuring Entity shall proceed to the Tenderer who offers a substantially responsive Tender with the next lowest evaluated price to make a similar determination of that Tenderer's qualifications to perform satisfactorily.
    4. An Abnormally Low Tender is one where the Tender price, in combination with other elements of the Tender, appears so low that it raises material concerns as to the capability of the Tenderer in regards to the Tenderer's ability to perform the Contract for the offered Tender Price.
    5. In the event of identification of a potentially Abnormally Low Tender, the Procuring Entity shall seek written clarifications from the Tenderer, including detailed price analyses of its Tender price in relation to the subject matter of the contract, scope, proposed methodology, schedule, allocation of risks and responsibilities and any other requirements of the Tender document.
    6. After evaluation of the price analyses, if the Procuring Entity determines that the Tenderer has failed to demonstrate its capability to perform the Contract for the offered Tender Price, the Procuring Entity shall reject the Tender.
11. Best Evaluated Tender
    1. Having compared the evaluated prices of Tenders, the Procuring Entity shall determine the Best Evaluated Tender. The Best Evaluated Tender is the Tender of the Tenderer that meets the Qualification Criteria and whose Tender has been determined to be:
12. Most responsive to the Tender document; and
13. the lowest evaluated price.
14. Procuring Entity's Right to Accept Any Tender, and to Reject Any or All Tenders.
    1. The Procuring Entity reserves the right to accept or reject any Tender and to annul the Tender process and reject all Tenders at any time prior to Contract Award, without thereby incurring any liability to Tenderers. In case of annulment, all Tenderers shall be notified with reasons and all Tenders submitted and specifically, Tender securities, shall be promptly returned to the Tenderers.
15. Award of Contract
16. Award Criteria
    1. The Procuring Entity shall award the Contract to the successful tenderer whose tender has been determined to be the Lowest Evaluated Tender.
17. Notice of Intention to enter into a Contract
    1. Upon award of the contract and Prior to the expiry of the Tender Validity Period the Procuring Entity shall issue a Notification of Intention to Enter into a Contract / Notification of award to all tenderers which shall contain, at a minimum, the following information:
18. the name and address of the Tenderer submitting the successful tender;
19. the Contract price of the successful tender;
20. a statement of the reason(s) the tender of the unsuccessful tenderer to whom the letter is addressed was unsuccessful, unless the price information in (c) above already reveals the reason;
21. the expiry date of the Standstill Period; and
22. instructions on how to request a debriefing and/or submit a complaint during the standstill period;
23. Standstill Period
    1. The Contract shall not be signed earlier than the expiry of a Standstill Period of 14 days to allow any dissatisfied tender to launch a complaint. Where only one Tender is submitted, the Standstill Period shall not apply.
    2. Where a Standstill Period applies, it shall commence when the Procuring Entity has transmitted to each Tenderer the Notification of Intention to Enter into a Contract with the successful Tenderer.
24. Debrie**fi**ng by the Procuring Entity
    1. On receipt of the Procuring Entity's Notification of Intention to Enter into a Contract referred to in ITT 46, an unsuccessful tenderer may make a written request to the Procuring Entity for a debriefing on specific issues or concerns regarding their tender. The Procuring Entity shall provide the debriefing within five days of receipt of the request.
    2. Debriefings of unsuccessful Tenderers may be done in writing or verbally. The Tenderer shall bear its own costs of attending such a debrie**fi**ng meeting.
25. Letter of Award
    1. Prior to the expiry of the Tender Validity Period and upon expiry of the Standstill Period specified in ITT 42.1, upon addressing a complaint that has been filed within the Standstill Period, the Procuring Entity shall transmit the Letter of Award to the successful Tenderer. The letter of award shall request the successful tenderer to furnish the Performance Security within 21days of the date of the letter.
26. Signing ofContract
    1. Upon the expiry of the fourteen days of the Notification of Intention to enter into contract and upon the parties meeting their respective statutory requirements, the Procuring Entity shall send the successful Tenderer the Contract Agreement.
    2. Within fourteen (14) days of receipt of the Contract Agreement, the successful Tenderer shall sign, date, and return it to the Procuring Entity.
    3. The written contract shall be entered into within the period specified in the notification of award and before expiry of the tender validity period
27. Appointment of Adjudicator
    1. The Procuring Entity proposes the person named in the TDS to be appointed as Adjudicator under the Contract, at the hourly fee specified in the TDS, plus reimbursable expenses. If the Tenderer disagrees with this proposal, the Tenderer should so state in his Tender. If, in the Letter of Acceptance, the Procuring Entity does not agree on the appointment of the Adjudicator, the Procuring Entity will request the Appointing Authority designated in the Special Conditions of Contract (SCC) pursuant to Clause

23.1 of the General Conditions of Contract (GCC), to appoint the Adjudicator.

1. Performance Security
   1. Within twenty-one (21) days of the receipt of the Letter of Acceptance from the Procuring Entity, the successful Tenderer shall furnish the Performance Security and, any other documents required in the TDS, in accordance with the General Conditions of Contract, subject to ITT 40.2 (b), using the

Performance Security and other Forms included in Section X, Contract Forms, or another form acceptable to the Procuring Entity. A foreign institution providing a bank guarantee shall have a correspondent financial institution located in Kenya, unless the Procuring Entity has agreed in writing that a correspondent bank is not required.

* 1. Failure of the successful Tenderer to submit the above-mentioned Performance Security and other documents required in the TDS, or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Tender Security. In that event the Procuring Entity may award the Contract to the Tenderer offering the next Best Evaluated Tender.
  2. Performance security shall not be required for contracts estimated to cost less than Kenya shillings

five million shillings.

1. Publication of Procurement Contract
   1. Within fourteen days after signing the contract, the Procuring Entity shall publish the awarded contract at its notice boards and websites; and on the Website of the Authority. At the minimum, the notice shall contain the following information:
      1. name and address of the Procuring Entity;
      2. name and reference number of the contract being awarded, a summary of its scope and the selection method used;
      3. the name of the successful Tenderer, the final total contract price, the contract duration.
      4. dates of signature, commencement and completion of contract;
      5. names of all Tenderers that submitted Tenders, and their Tender prices as read out at Tender opening.
2. Procurement Related Complaints and Administrative Review
   1. The procedures for making Procurement-related Complaints are as specified in the TDS.
   2. A request for administrative review shall be made in the form provided under contract forms.

Section II - Tender Data Sheet (TDS)

The following speci**fi**c data shall complement, supplement, or amend the provisions in the Instructions to Tenderers (ITT). Whenever there is a con**fl**ict, the provisions herein shall prevail over those in ITT.

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
|  | **A. General** |
| **ITT 1.1** | The name of the contract is**\_ PROPOSED CONSTRUCTION Of**  **BUILDING OF 3NO. CLASSROOMS AT KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE**  The reference number of the Contract is **KWTVC/ADM/T/001/2024-2025** |
| **ITT 2.3** | The Information made available on competing firms is as follows: |
| **ITT 2.4** | The firms that provided consulting services for the contract being tendered for  are:  **DEPARTMENT OF PUBLIC WORK-KAJIADO COUNTY** |
| **ITT 3.1** | Maximum number of members in the Joint Venture (JV) shall be: ***[insert a***  ***number].FIVE*** |
| **B. Contents of Tender Document** | |
| **8.1** | 1. Pre-Tender conference SHALL NOT take place at the following date, time and   place:  N/A   1. A pre-arranged pretender visit of the site of the works *SHALL NOT* take place at the following date, time and place:   N/A |
| **ITT 8.2** | The Tenderer will submit any questions in writing, to reach the Procuring Entity  not later than 28th August, 2024 |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
| **ITT 8.4** | The Procuring Entity’s website where Minutes of the pre-Tender meeting and the pre-arranged pretender site visit will be published is N/A |
| **ITT 9.1** | For Clarification of Tender purposes, for obtaining further information and for purchasing tender documents, the Procuring Entity’s address is:   1. Name of Procuring Entity **KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE** 2. Physical address for hand Courier Delivery to an office or Tender Box ( 1ST Floor, Building, Kajiado west next to finance office. 3. **Postal Address P.O. BOX 1085-00208** 4. Insert name, telephone number and e-mail address of the officer to be contacted. **+254 707621622,** [**kajiadowesttvc@gmail.com**](mailto:kajiadowesttvc@gmail.com) |
| **C. Preparation of Tenders** | |
| ITT 13.1 (h) | The Tenderer shall submit the following additional documents in its Tender: *[list any additional document not already listed in ITT 11.1 that must be submitted with the Tender. The list of additional documents should include the following:]* |
| **ITT 15.1** | Alternative Tenders *shall not be* considered.  *[If alternatives shall be considered, the methodology shall be defined in Section III, Evaluation and Qualification Criteria.]* |
| ITT 15.2 | Alternative times for completion *shall not be* permitted.  *[If alternative times for completion are permitted, the evaluation method will be as specified in Section III, Evaluation and Qualification Criteria.]* |
| **ITT 15.4** | Alternative technical solutions shall be permitted for the following parts of the Works: N/A *[insert parts of the Works]:*  *[If alternative technical solutions are permitted, the evaluation method will be as specified in Section III, Evaluation and Qualification Criteria.]* |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
| **ITT 16.5** | The prices quoted by the Tenderer shall be: **FIXED** |
| **ITT 20.1** | The Tender validity period shall be \_30 [*insert number of days that is a multiple of seven counting as of the deadline for Tender submission]* days. |
| **ITT 20.3 (a)** | 1. The delayed to exceeding N/A number of days. 2. The Tender price shall be adjusted by the following percentages of the tender price:    1. By N/A % of t*he local currency portion of the Contract price adjusted to reflect local inflation during the period of extension,*   *and*   * 1. *By N/A % the foreign currency portion of the Contract price adjusted to reflect the international inflation during the period of extension.* |
| **ITT 21.1** | *[If a Tender Security shall be required, a Tender-Securing Declaration shall not be required, and vice versa.]*  A Tender Security *shall not be* required.  A Tender-Securing Declaration *shall not be*”]  required.  If a Tender Security shall be required, the amount and currency of the Tender Security shall be N/A  [*If a Tender Security is required, insert amount and currency of the Tender Security. Otherwise insert “Not Applicable”.] [In case of lots, please insert amount and currency of the Tender Security for each lot]*  *Note: Tender Security is required for each lot as per amounts indicated against each lot. Tenderers have the option of submitting one Tender Security for all lots (for the combined total amount of all lots) for which Tenders have been*  *submitted, however if the amount of Tender Security is less than the total* |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
|  | *required amount, the Procuring Entity will determine for which lot or lots the Tender Security amount shall be applied.]* |
| **ITT 21.2 (d)** | The other Tender Security shall be N/A |
| **ITT 21.5** | On the Performance Security, other documents required shall be N/A |
|  |  |
| **ITT 22.1** | In addition to the original of the Tender, the number of copies is: N/A *[insert number of copies]* |
| **ITT 22.3** | The written confirmation of authorization to sign on behalf of the Tenderer shall consist of:  *[insert the name and description of the documentation required to demonstrate the authority of the signatory to sign the Tender]* |
| **D. Submission and Opening of Tenders** | |
| **ITT 24.1** | 1. For Tender submission purposes only, the Procuring Entity’s address is:    1. Name of Procuring Entity **KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE**    2. Postal Address (include name of Officer to be attentional) **P.O. BOX 1085-00208**    3. Physical address for hand Courier Delivery to an office or **Tender Box in Kajiado West Technical and Vocational College office at the College Compound 1st Floor next to Finance office**    4. Date and time for submission of Tenders **28**    5. **TH August, 2024 AT 10:00AM**    6. Tenderers shall **not submit** tenders electronically. |
| **ITT 27.1** | The Tender opening shall take place at the time and the address for Opening of Tenders provided below: |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
|  | 1. Name of Procuring Entity **KAJIADO WEST TECHNICAL AND VOCATIONAL COLLEGE**   Physical address for the location oloshoibor along Ngong-Kisamis road about  **40km** from Nairobi city Centre.   1. State date and time of tender opening **28th August, 2024 AT 10:00AM** |
| **ITT 27.1** | If Tenderers are allowed to submit Tenders electronically, they shall follow the electronic tender submission procedures **specified below** *[insert a description of the electronic Tender opening procedures]***:**  **N/A** |
| **ITT 27.6** | The number of representatives of the Procuring Entity to sign is N/A \_. |
| **E. Evaluation, and Comparison of Tenders** | |
| **ITT 32.3** | The adjustment shall be based on the N/A *[insert “average” or “highest”]* price of the item or component as quoted in other substantially responsive Tenders. If the price of the item or component cannot be derived from the price of other substantially responsive Tenders, the Procuring Entity shall use its best estimate. |
| **ITT 35.2** | The invitation to tender is extended to the following groups that qualify for Reservations N/A  *(These groups are Small and Medium Enterprises, Women Enterprises, Youth Enterprises and Enterprises of persons living with disability, as the case may be; describe precisely which groups qualify).* |
| **ITT 36.1** | At this time, the Procuring Entity *does not intend”]* to execute certain specific parts of the Works by subcontractors selected in advance. |
| **ITT 36.2** | Contractor’s may propose subcontracting: Maximum percentage of subcontracting permitted is: N/A *% of the total contract amount.* Tenderers planning to subcontract more than 10% of total volume of work shall specify, in the Form of Tender, the activity (ies) or parts of the Works to be subcontracted along with complete details of the subcontractors and their qualification and experience. |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
| **ITT 36.3** | *[Indicate N/A if not applicable]*  The parts of the Works for which the Procuring Entity permits Tenderers to propose Specialized Subcontractors are designated as follows:  N/A  For the above-designated parts of the Works that may require Specialized Subcontractors, the relevant qualifications of the proposed Specialized Subcontractors will be added to the qualifications of the Tenderer for the purpose of evaluation. |
| **ITT 37.2 (d)** | Additional requirements apply. These are detailed in the evaluation criteria in Section III, Evaluation and Qualification Criteria. |
| **ITT 51.1** | The person named to be appointed as Adjudicator is  N/A \_ of  *(pride tel. no. full postal and email addresses)* at an hourly fee of Shs. N/A per day. |
| **ITT 52.2** | Other documents required are --- N/A |
| **ITT 54.1** | The procedures for making a Procurement-related Complaints are detailed in the “Regulations” available from the PPRA Website [www.ppra.go.ke o](http://www.ppra.go.ke/)r email [complaints@ppra.go.ke.](mailto:complaints@ppra.go.ke) If a Tenderer wishes to make a Procurement-related Complaint, the Tenderer should submit its complaint following these procedures, in writing (by the quickest means available, that is either by hand delivery or email to:  For the attention: *[insert full name of person receiving complaints]*  Title/position: *[insert title/position]*  Procuring Entity: *[insert name of Procuring Entity]* |

|  |  |
| --- | --- |
| **ITT Reference** | **PARTICULARS OF APPENDIX TO INSTRUCTIONS TO TENDERS** |
|  | Email address*: [insert email address]*  In summary, a Procurement-related Complaint may challenge any of the following:   1. the terms of the Tender Documents; and 2. the Procuring Entity’s decision to award the contract. |

## SECTION III - EVALUATION AND QUALIFICATION CRITERIA

1. General Provisions

Wherever a Tenderer is required to state a monetary amount, Tenderers should indicate the Kenya Shilling equivalent using the rate of exchange determined as follows:

* 1. For construction turnover or financial data required for each year - Exchange rate prevailing on the last day of the respective calendar year (in which the amounts for that year is to be converted) was originally established.
  2. Value of single contract - Exchange rate prevailing on the date of the contract signature.
  3. Exchange rates shall be taken from the publicly available source identified in the ITT

14.3. Any error in determining the exchange rates in the Tender may be corrected by the Procuring Entity.

This section contains the criteria that the Employer shall use to evaluate tender and qualify tenderers. No other factors, methods or criteria shall be used other than specified in this tender document. The Tenderer shall provide all the information requested in the forms included in Section IV, Tendering Forms. The Procuring Entity should use the Standard Tender Evaluation Document for Goods and Works for evaluating Tenders.

Evaluation and contract award Criteria

The Procuring Entity shall use the criteria and methodologies listed in this Section to evaluate tenders and arrive at the Lowest Evaluated Tender. The tender that (i) meets the quali**fi**cation criteria, (ii) has been determined to be substantially responsive to the Tender Documents, and

(iii) is determined to have the Lowest Evaluated Tender price shall be selected for award of contract.

1. Preliminary examination for Determination of Responsiveness

The Procuring Entity will start by examining all tenders to ensure they meet in all respects the eligibility criteria and other requirements in the ITT, and that the tender is complete in all aspects in meeting the requirements of “Part 2 – Procuring Entity's Works Requirements”, including checking for tenders with unacceptable errors, abnormally low tenders, abnormally high tenders and tenders that are front loaded. The Standard Tender Evaluation Report Document for Goods and Works for evaluating Tenders provides very clear guide on how to deal with review of these requirements. Tenders that do not pass the Preliminary Examination will be considered irresponsive and will not be considered further. In particular preliminary examination will be carried out as shown in the Table below:

|  |  |  |  |
| --- | --- | --- | --- |
| S/No. | Completeness and  Responsiveness Criteria | References | Requirement |
| 1. | Form of Equipment | Section IV; Form EQU | * Properly fill, sign and Stamp * Provide all required information |
| 2. | Key personnel and Declaration | Section IV; Form PER 1 & 2 | -Provide all required information  -Properly fill, sign and stamp |
| 3. | Tender Qualification | Section IV; Form 4, ELI-  1.1,ELI-1.2 | -Provide all required information  -Properly fill, sign and stamp |
| 4. | Non Performance | Section IV; Form 4,Form CON-2 | -Provide all required information  -Properly fill, sign and stamp |
| 5. | Pending Litigation | Section IV; Form 4,Form CON-2 | -Provide all required information  -Properly fill, sign and stamp |
| 6. | Litigation History | Section IV; Form 4,Form CON-2 | -Provide all required information  -Properly fill, sign and stamp |
| 7. | Financial Situation &  Performance | Section IV; Form 4,Form,FIN-3.1 | -Provide all required information  -Properly fill, sign and stamp |
| 8. | Average Annual  Construction Turnover | Section IV; Form 4,Form FIN-3.2 | -Provide all required information  -Properly fill, sign and stamp |
| 9. | Financial Resources | Section IV; Form 4,Form FIN-3.3 | -Provide all required information  -Properly fill, sign and stamp |
| 10 | Current Contract Commitments/Works in Progress | Section IV; Form 4,Form FIN-3.4 | -Provide all required information  -Properly fill, sign and stamp |
| 11 | General Construction Experience | Section IV; Form 4,Form EXP-4.1 | -Provide all required information  -Properly fill, sign and stamp |
| 12 | Specific Construction and Contract Management Experience | Section IV; Form 4,Form EXP-4.1(a) | -Provide all required information  -Properly fill, sign and stamp |
| 13 | Form of Tender | Section IV; Format | - Provide all required information  -Properly fill, sign and stamp  -Tenderer to use stationery bearing its letterhead |
| 14 | Tenderer’s Eligibility | Section IV; Form 5 A(a-f) | -Provide all required information  -Properly fill, sign and stamp |
| 15 | Certificate of  Independent Tender Determination | Section IV; Form 5 B | -Provide all required information  -Properly fill, sign and stamp |
| 16 | Self-declaration Forms | Section iv; Form 5 C - FORM SD1 & 2 | - Provide all required information  -Properly fill, sign and stamp |
| 17 | Appendix 1-Fraud and Corruption | Section iv; Form 5 D | -Read, Understand and Comply |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | -Properly fill, sign and stamp |
| 18 | Form of Tender Security | Section IV; 7 | -Unconditional  bank guarantee  -In the format provided with all conditions  - must be valid for 30 days after bid validity |
| 19 | Priced Bill of Quantities | Section VII(Billof Quantities) | Fill all the bill of Quantities, sign stamp and counter sign any  alteration(s) |
| 20 | Serializing of Document | TDS CLAUSE 13.2 | - Chronologically and sequentially serialize allpages in a numerical format 1,2,3,4,5……. Including  the cover page of the tender |
| 21 | Certificate of Incorporation certificate | ITT 13.1 (h) | Copy certified by commissioner of oaths |
| 22 | Tax Compliance Certificate | ITT 13.1 (h) | Must be valid |
| 23 | National Construction Authority Certificate | ITT 13.1 (h) | Category stated in the Tender Notice  Accompanied by a valid NCA Practicing License |
| 24 | Recent CR12 Certificate | ITT 13.1 (h) | Copy certified and current (for the last 12 months) |

1. Stage 1: Preliminary Evaluation

Bidders passing the preliminary examination will be subjected to technical evaluation on qualification.

1. Technical Qualification Evaluation

Bidders having technical specifications will be subjected to evaluation on technical qualifications using the technical parameters below:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | EVALUATION CRITERIA | EVALUATION ATTRIBUTE | WEIGHTIN SCORE | MAXIMUM SCORE |
| 1 | Experience of | Number of years in the | 4 years and above | 10 marks |
|  | the firm in the | Building Works | =10 marks |  |
|  | Construction | (Calculated from the | Others prorated at |  |
|  | Work | first LPO/Contract) | No of years x |  |
|  |  |  | 10marks/4Years |  |
|  |  | Magnitude of building | 2 million and above | 20 marks |
| works done in the year | =20 marks |  |
| 2020 and 2024 | Others prorated at |  |
| cumulatively (Attach | Value of business x |  |
| LPOs/Contract,  completion letters | 20 marks/ 2 million |  |

Tenderers will be required to score 70% and above on the above Technical Evaluation to

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | No of businesses in  Building works in the years 2020 and 2024 cumulatively  (Attach LPOS, contract, completion certificates) | 3 Business and  above =10 marks Others prorated at:  No. of businesses x10 marks/3 businesses | 10 marks |
| 2 | Financial  Capacity | Financial Ratio  1 Quick ratio = Current ratios/current liabilities (1.)  (Audited accounts for  the year for the year 2020 and 2024) | 1.1 and above =  10marks Others prorated at:  Ratio x10marks/1.1 ratio | 10 marks |
|  |  | Acid test ratio= Current Assets-Stock/current Liabilities (1.2) ratio (Attached Audited accounts for the year  2020 and 2024) | 1.2 and above=10 marks  others prorated at  Ratio x10 marks/1.2 ratio | 10 marks |
|  |  | Access to credit for Ksh  2 million  (Attached a letter from the financial institution indicating the amount of credit that can be accessed) | 2 million and  above=10marks Others prorated at: ratios x10marks/2 million | 10 marks |
| 3 | Qualification  of staff | Project Manager:  Degree and above in Building and Civil Engineering Construction or related field  (Attach cv and certificates) | Degree and  above =10 marks  Others: Prorated as without Building and Civil Engineering Construction or related field  =0marks | 10 marks |
|  |  | Foreman:  Registered foremen with NCA registration (Attach NCA registration Valid for the year 2023) | Foreman with valid NCA registration=10 marks Others: Foreman without NCA registration=0m arks | 10 marks |
| 4 | Equipment  Holdings | Tipper:  Pick-up: Mixer: Vibrator:  (Attach ownership documents logbooks, receipts, Leased agreement) | Owned=10marks  Leased=5marks | 10marks |
| TOTAL MARKS | | | | 100 Marks |

qualify for Financial Evaluation.

1. Financial Evaluation

Tenderers that score 70% and above under Evaluation on Technical Qualification will have their bids subjected to financial evaluation. Financial Evaluation shall involve checking for completeness of the bill of quantities.

1. Recommendation of Award

The lowest evaluated bidder will be recommended for consideration of award of the tender.

QUALIFICATION FORM SUMMARY

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| Item No. | Qualification Subject | Qualification Requirement | Document To be Completed by Tenderer | For Procuri ng Entity’s Use (Qualifi cation met or Not  Met) |
| 1 | Nationality | Nationality in accordance with ITT 3.6 | Forms ELI – 1.1 and 1.2, with  attachments |  |
| 2 | Tax Obligations for Kenyan  Tenderers | Has produced a current tax clearance certificate or tax exemption certificate issued by the the Kenya Revenue Authority in accordance with ITT 3.14. | Form of Tender |  |
| 3 | Conflict of Interest | No conflicts of interest in accordance with ITT 3.3 | Form of Tender |  |
| 4 | PPRA  Eligibility | Not having been declared ineligible by the PPRA as  described in ITT 3.8 | Form of Tender |  |
| 5 | State- owned Enterprise | Meets conditions of ITT 3.7 | Forms ELI – 1.1  and 1.2, with attachments |  |
| 6 | Goods, equipment and services to be supplied under the  Contract | To have their origin in any country that is not determined ineligible under ITT 4.1 | Forms ELI – 1.1 and 1.2, with attachments |  |
| 7 | History of Non- Performing  Contracts | Non-performance of a contract did not occur as a result of contractor default since 1st January […….]. | Form CON-2 |  |
| 8 | Suspension Based on Execution of Tender/Propo sal Securing Declaration by the  Procuring  Entity | Not under suspension based on-execution of a Tender/Proposal Securing Declaration pursuant to ITT 19.9 | Form of Tender |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| Item No. | Qualification Subject | Qualification Requirement | Document To be Completed by Tenderer | For Procuri ng Entity’s Use (Qualifi cation met or  Not Met) |
| 9 | Pending Litigation | Tender’s financial position and prospective long-term profitability still sound according to criteria established in  3.1 and assuming that all pending litigation will NOT be resolved against the Tenderer. | Form CON – 2 |  |
| 10 | Litigation  History | No consistent history of court/arbitral award decisions  against the Tenderer since 1st January [insert year] | Form CON – 2 |  |
| 11 | Financial Capabilities | 1. The Tenderer shall demonstrate that it has access to, or has available, liquid assets, unencumbered real assets, lines of credit, and other financial means (independent of any contractual advance payment) sufficient to meet the construction cash flow requirements estimated as Kenya Shillings [insert amount] equivalent for the subject contract(s) net of the Tenderer’s other commitments. 2. The Tenderers shall also demonstrate, to the satisfaction of the Procuring Entity, that it has adequate sources of finance to meet the cash flow requirements on works currently in progress and for future contract commitments. 3. The audited balance sheets or, if not required by the laws of the Tenderer’s country, other financial statements acceptable to the Procuring Entity, for the last [insert number of years] years shall be submitted and must demonstrate the current soundness of the Tenderer’s financial position and indicate its prospective long-term   profitability. | Form FIN – 3.1,  with attachments |  |
| 12 | Average Annual Construction Turnover | Minimum average annual construction turnover of Kenya Shillings [insert amount], equivalent calculated as total certified payments received for contracts in progress and/or completed within the last [insert of year] years,  divided by [insert number of years] years | Form FIN – 3.2 |  |
| 13 | General Construction Experience | Experience under construction contracts in the role of prime contractor, JV member, sub-contractor, or management contractor for at least the last [insert number  of years] years, starting 1st January [insert year]. | Form EXP –  4.1 |  |
|  | Specific Construction & Contract Management Experience | A minimum number of [state the number] similar contracts specified below that have been satisfactorily and substantially completed as a prime contractor, joint venture member, management contractor or sub- contractor between 1st January [insert year] and tender submission deadline i.e. …. (number) contracts, each of minimum value Kenya shillings equivalent.  [In case the Works are to be tender as individual contracts under multiple contract procedure, the minimum number of contracts required for purposes of evaluating  qualification shall be selected from the options mentioned | Form EXP 4.2(a) |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| Item No. | Qualification Subject | Qualification Requirement | Document To be Completed by Tenderer | For Procuri ng Entity’s Use (Qualifi cation met or  Not Met) |
|  |  | in ITT 35.4]  The similarity of the contracts shall be based on the following: [Based on Section VII, Scope of Works, specify the minimum key requirements in terms of physical size, complexity, construction method, technology and/or other characteristics including part of the requirements that may be met by specialized subcontractors, if permitted in  accordance with ITT 34.3] |  |  |

QUALIFICATION FORMS

26

1. FORM EQU: EQUIPMENT

The Tenderer shall provide adequate information to demonstrate clearly that it has the capability to meet the requirements for the key equipment listed in Section III, Evaluation and Quali**fi**cation Criteria. A separate Form shall be prepared for each item of equipment listed, or for alternative equipment proposed by the Tenderer.

|  |  |  |
| --- | --- | --- |
| Item of equipment | | |
| Equipment information | Name of manufacturer | Model and power rating |
| Capacity | Year of manufacture |
| Current status | Current location | |
| Details of current commitments | |
| Source | Indicate source of the equipment   Owned  Rented  Leased  Specially manufactured | |

Omit the following information for equipment owned by the Tenderer.

|  |  |  |
| --- | --- | --- |
| Owner | Name of owner | |
| Address of owner | |
| Telephone | Contact name and title |
| Fax | Telex |
| Agreements | Details of rental / lease / manufacture agreements specific to the project | |
|  |  | |
|  |  | |

1. FORM PER -1

Contractor's Representative and Key Personnel Schedule

Tenderers should provide the names and details of the suitably quali**fi**ed Contractor's Representative and Key Personnel to perform the Contract. The data on their experience should be supplied using the Form PER-2 below for each candidate.

Contractor' Representative and Key Personnel

|  |  |  |
| --- | --- | --- |
| 1. | Title of position: Contractor’s Representative | |
| Name of candidate: | |
| Duration of appointment: |  |
| Time commitment: for this position: |  |
| Expected time schedule for this  position: |  |
| 2. | Title of position: | |
| Name of candidate: | |
| Duration of appointment: |  |
| Time commitment: for this position: |  |
| Expected time schedule for this  position: |  |
| 3. | Title of position: | |
| Name of candidate: | |
| Duration of appointment: |  |
| Time commitment: for this position: |  |
| Expected time schedule for this  position: |  |
| 4. | Title of position: | |
| Name of candidate: | |
| Duration of appointment: |  |
| Time commitment: for this position: |  |
| Expected time schedule for this  position: |  |
| 5. | Title of position: | |
| Name of candidate | |
| Duration of appointment: |  |
| Time commitment: for this position: |  |
| Expected time schedule for this  position: |  |

1. FORM PER-2:

Resume and Declaration - Contractor's Representative and Key Personnel.

Summarize professional experience in reverse chronological order. Indicate particular technical and managerial experience relevant to the project.

Name of Tenderer

|  |  |  |
| --- | --- | --- |
| Position [#1]: [title of position from Form PER-1] | | |
| Personnel  information | Name: | Date of birth: |
|  | Address: | E-mail: |
|  |  |  |
| Professional qualifications: | |
| Academic qualifications: | |
| Language proficiency: | |
| Details |  | |
| Address of Procuring Entity: | |
| Telephone: | Contact (manager / personnel  officer): |
| Fax: |  |
| Job title: | Years with present Procuring Entity: |

Summarize professional experience in reverse chronological order. Indicate particular technical and managerial experience relevant to the project.

|  |  |  |  |
| --- | --- | --- | --- |
| Project | Role | Duration of  involvement | Relevant experience |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

Declaration

I, the undersigned certify that to the best of my knowledge and belief, the information contained in this Form PER-2 correctly describes myself, my qualifications and my experience.

I con**fi**rm that I am available as certi**fi**ed in the following table and throughout the expected time schedule for this position as provided in the Tender:

|  |  |
| --- | --- |
| Commitment | Details |
| Commitment to duration of contract: |  |

|  |  |
| --- | --- |
| Time commitment: |  |

I understand that any misrepresentation or omission in this Form may:

1. be taken into consideration during Tender evaluation;
2. result in my disqualification from participating in the Tender;
3. result in my dismissal from the contract.

Name of Contractor's Representative or Key Personnel:

Signature:

Date:

Counter signature of authorized representative of the Tenderer:

Signature:

Date:

1. TENDERER’S QUALIFICATIONWITHOUT PRE-QUALIFICATION

To establish its quali**fi**cations to perform the contract in accordance with Section III, Evaluation and Quali**fi**cation Criteria the Tenderer shall provide the information requested in the corresponding Information Sheets included hereunder.

* 1. FORM ELI -1.1

Tenderer Information Form Date:

Tender No.

Tender for:

|  |
| --- |
| Tenderer's name |
| Tenderer's actual or intended country of registration: |
| Tenderer's actual or intended year of incorporation: |
| Tenderer's legal address [in country of registration]: |
| Tenderer's authorized representative information  Name: Address: \_ Telephone/Fax numbers: E-mail address: |

* 1. FORM CON – 2

Historical Contract Non-Performance, Pending Litigation and Litigation History Tenderer’s Name:

Date:

Tender No.

Tender for:

|  |  |  |  |
| --- | --- | --- | --- |
| Non-Performed Contracts in accordance with Section III, Evaluation and Qualification Criteria | | | |
| * Contract non-performance did not occur since 1st January 2020 specified in Section III, Evaluation and Qualification Criteria, Sub-Factor 2.1. * Contract(s) not performed since 1st January 2020 specified in Section III, Evaluation and Qualification Criteria, requirement 2.1 | | | |
| Year | Non- performed portion of  Contract | Contract Identification | Total Contract Amount (current value, currency, exchange rate and Kenya  Shilling equivalent) |
|  |  | Contract Identification:  Name of Procuring Entity: Address of Procuring Entity: Reason(s) for nonperformance: |  |
| Pending Litigation, in accordance with Section III, Evaluation and Qualification Criteria | | | |
| * No pending litigation in accordance with Section III, Evaluation and Qualification Criteria, Sub-Factor 2.3. * Pending litigation in accordance with Section III, Evaluation and Qualification Criteria, Sub-Factor 2.3 as indicated below. | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Year of  Dispute | | Amount in dispute (currency) | | Contract Identification | Total Contract Amount (currency), Kenya Shilling  Equivalent (exchange rate) |
|  | |  | | Contract Identification: Name of Procuring Entity:  Address of Procuring Entity:  Matter in dispute: Party who initiated the dispute: Status of dispute: |  |
|  | |  | | Contract Identification: Name of Procuring Entity: Address of Procuring Entity: Matter in dispute:  Party who initiated the dispute: Status of dispute: |  |
| Litigation History in accordance with Section III, Evaluation and Qualification Criteria | | | | | |
| * No Litigation History in accordance with Section III, Evaluation and Qualification Criteria, Sub-Factor 2.4. * Litigation History in accordance with Section III, Evaluation and Qualification Criteria, Sub-Factor 2.4 as indicated below. | | | | | |
| Year of award | Outcome as percentage of Net  Worth | | Contract Identification | | Total Contract Amount (currency), Kenya Shilling  Equivalent (exchange rate) |

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | Contract Identification:  Name of Procuring Entity:  Address of Procuring Entity:  Matter in dispute:  Party who initiated the dispute: [indicate  “Procuring Entity” or “Contractor”]  Reason(s) for Litigation and award decision | [insert amount] |

* 1. FORM FIN – 3.1:

Financial Situation and Performance

Tenderer’s Name:

Date:

Tender No.

Tender for:

4.4.1. Financial Data

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type of Financial information in (currency) | Historic information for previous years, | | | | | |
| (amount in curre | | cy, currency, exchange rate\*, USD equivalent) | | | |
|  | Year 1 | Year 2 | | Year 3 | Year 4 | Year 5 |
| Statement of Financial Position (Information from Balance Sheet) | | | | | | |
| Total Assets (TA) |  |  | |  |  |  |
| Total Liabilities (TL) |  |  | |  |  |  |
| Total Equity/Net Worth (NW) |  |  | |  |  |  |
| Current Assets (CA) |  |  | |  |  |  |
| Current Liabilities (CL) |  |  | |  |  |  |
| Working Capital (WC) |  |  | |  |  |  |
| Information from Income Statement | | | | | | |
| Total Revenue (TR) |  |  | |  |  |  |
| Profits Before Taxes (PBT) |  |  | |  |  |  |
| Cash Flow Information | | | | | | |
| Cash Flow from Operating Activities |  |  | |  |  |  |

### \*Refer to ITT 15 for the exchange rate

* + 1. Sources of Finance

Specify sources of finance to meet the cash flow requirements on works currently in progress and for future contract commitments.

|  |  |  |
| --- | --- | --- |
| No. | Source of finance | Amount (Kenya Shilling equivalent) |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

### Financial documents

The Tenderer and its parties shall provide copies of financial statements for the last two years pursuant Section III Evaluation and Qualifications Criteria, Sub-factor 3.1. The financial statements shall:

1. ................................................................................................................................................. reflect the financia

situation of the Tenderer or in case of JV member, and not an affiliated entity (such as parent company or group member).

1. be independently audited or certified in accordance with local legislation.
2. be complete, including all notes to the financial statements.
3. correspond to accounting

periods already completed and audited.

Attached are copies of financial statements1 for the 2019 and 2020 year required above; and complying with the requirements

1 If the most recent set of financial statements is for a period earlier than 12 months from the date of Tender, the reason for this should be justified.

* 1. FORM FIN – 3.2:

Average Annual Construction Turnover Tenderer’s Name:

Date:

Tender No.

Tender for:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | | Annual turnover data (construction only) | | |
| Year | Amount Currency | | Exchange rate | Kenya Shilling  equivalent |
|  |  | |  |  |
|  |  | |  |  |
|  |  | |  |  |
|  |  | |  |  |
|  |  | |  |  |
| Average Annual Construction  Turnover \* |  | |  |  |

\* See Section III, Evaluation and Qualification Criteria, Sub-Factor 3.2.

* 1. FORM FIN – 3.3:

Financial Resources

Specify proposed sources of financing, such as liquid assets, unencumbered real assets, lines of credit, and other financial means, net of current commitments, available to meet the total construction cash flow demands of the subject contract or contracts as specified in Section III, Evaluation and Qualification Criteria

|  |  |  |
| --- | --- | --- |
| Financial Resources | | |
| No. | Source of financing | Amount (Kenya Shilling  equivalent) |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
|  |  |  |

* 1. FORM FIN – 3.4:

Current Contract Commitments / Works in Progress

Tenderers should provide information on their current commitments on all contracts that have been awarded, or for which a letter of intent or acceptance has been received, or for contracts approaching completion, but for which an unqualified, full completion certificate has yet to be issued.

Current Contract Commitments

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Name of Contract | Procuring Entity’s Contact Address, Tel, | Value of Outstanding Work  [Current Kenya Shilling  /month Equivalent] | Estimated Completio n Date | Average Monthly Invoicing Over Last Six Months  [Kenya Shilling  /month)] |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
|  |  |  |  |  |  |

* 1. FORM EXP - 4 .1

General Construction Experience Tenderer’s Name:

Date:

Tender No.

Tender for:

|  |  |  |  |
| --- | --- | --- | --- |
| Starting  Year | Ending Year | Contract Identification | Role of Tenderer |
|  |  | Contract name:  Brief Description of the Works performed by the Tenderer: Amount of contract:  Name of Procuring Entity: Address: |  |
|  |  | Contract name:  Brief Description of the Works performed by the Tenderer: Amount of contract: Name of Procuring Entity: Address: |  |
|  |  | Contract name:  Brief Description of the Works performed by the Tenderer: Amount of contract: Name of Procuring Entity: Address: |  |

* 1. FORM EXP - 4.2(a)

Specific Construction and Contract Management Experience Tenderer’s Name:

Date:

Tender No.

Tender for:

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Similar Contract No. | Information | | | | |
| Contract Identification |  | | | | |
| Award date |  | | | | |
| Completion date |  | | | | |
| Role in Contract | Prime  Contractor  | | Member in JV   * ​ | Management Contractor   * ​ | Sub- contractor   * ​ |
| Total Contract Amount |  | | | Kenya Shilling | |
| If member in a JV or sub-contractor, specify participation in total  Contract amount |  |  | |  | |
| Procuring Entity's Name: |  | | | | |
| Address: Telephone/fax number E-mail: |  | | | | |

* 1. FORM EXP - 4.2 (a) (cont.)

Specific Construction and Contract Management Experience (cont.)

|  |  |
| --- | --- |
| Similar Contract No. | Information |
| Description of the similarity in  accordance with Sub-Factor 4.2(a) of Section III: |  |
| 1. Amount |  |
| 2. Physical size of required works items |  |
| 3. Complexity |  |
| 4. Methods/Technology |  |
| 5. Construction rate for key activities |  |
| 6. Other Characteristics |  |

* 1. FORM EXP - 4.2(b)

Construction Experience in Key Activities Tenderer’s Name:

Date:

Tender No.

Tender for:

Sub-contractor's Name2 (as per ITT 34):

All Sub-contractors for key activities must complete the information in this form as per ITT 34 and Section III, Evaluation and Qualification Criteria, Sub-Factor 4.2.

1. Key Activity No One: \_

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Information | | | | |
| Contract Identification |  | | | | |
| Award date |  | | | | |
| Completion date |  | | | | |
| Role in Contract | Prime Contractor   | Member in JV   | | Management Contractor   | Sub- contractor   |
| Total Contract Amount |  | | | Kenya Shilling | |
| Quantity (Volume, number or rate of production, as applicable) performed under the contract per year or part o the year | Total quantity in the contract  (i) | | Percentage participation (ii) | | Actual Quantity Performed  (i) x (ii) |
| Year 1 |  | |  | |  |
| Year 2 |  | |  | |  |
| Year 3 |  | |  | |  |
| Year 4 |  | |  | |  |
| Procuring Entity’s Name: |  | | | | |
| Address: Telephone/fax number E-mail: |  | | | | |

2 If applicable

OTHER FORMS

1. FORM OF TENDER

INSTRUCTIONS TO TENDERERS

1. The Tenderer must prepare this Form of Tender on stationery with its letterhead clearly showing the Tenderer's complete name and business address.
2. All italicized text is to help Tenderer in preparing this form.
3. Tenderer must complete and sign CERTIFICATE OF INDEPENDENT TENDER DETERMINATION and the SELF DECLARATION OF THE TENDERER attached to this Form of Tender.
4. The Form of Tender shall include the following Forms duly completed and signed by the Tenderer.
   * Tenderer's Eligibility- Con*fi*dential Business Questionnaire
   * Certi*fi*cate of Independent Tender Determination
   * Self-Declaration of the Tenderer

Date of this Tendersubmission: [insert date (as day, month and year) of Tender submission]

Request for Tender No.: [insert identi*fi*cation] Name and description of Tender [Insert as per ITT)

To: [insert complete name of Procuring Entity] Dear Sirs,

1. In accordance with the Conditions of Contract, Specifications, Drawings and Bills of Quantities for the execution of the above named Works, we, the undersigned offer to construct and complete the Works and remedy any defects therein for the sum of Kenya Shillings [[Amount in *fi*gures]

Kenya Shillings [amount in words] .

The above amount includes foreign currency amount (s) of [state *fi*gure or a percentage and currency] [figures] [words] .

The percentage or amount quoted above does not include provisional sums, and only allows not more than two foreign currencies.

1. We undertake, if our tender is accepted, to commence the Works as soon as is reasonably possible after the receipt of the Project Manager's notice to commence, and to complete the whole of the Works comprised in the Contract within the time stated in the Special Conditions of Contract.
2. We agree to adhere by this tender until [Insert date], and it shall remain binding upon us and may be accepted at any time before that date.
3. Unless and until a formal Agreement is prepared and executed this tender together with your written acceptance thereof, shall constitute a binding Contract between us. We further understand that you are not bound to accept the lowest or any tender you may receive.
4. We, the undersigned, further declare that:
   1. No reservations: We have examined and have no reservations to the tender document, including Addenda issued in accordance with ITT 28;
   2. Eligibility: We meet the eligibility requirements and have no conflict of interest in accordance with ITT 3 and 4;
   3. Tender-Securing Declaration: We have not been suspended nor declared ineligible by the Procuring Entity based on execution of a Tender-Securing or Proposal-Securing Declaration in the Procuring Entity's Country in accordance with ITT 19.8;
   4. Conformity: We offer to execute in conformity with the tendering documents and in accordance with the implementation and completion specified in the construction schedule, the following Works: [insert a brief description of the Works];
   5. Tender Price: The total price of our Tender, excluding any discounts offered in item 1 above is:

[Insert one of the options below as appropriate]

vi Option 1, in case of one lot: Total price is: [insert the total price of the Tender in words and *fi*gures, indicating the various amounts and the respective currencies]; Or

Option 2, in case of multiple lots:

1. Total price of each lot [insert the total price of each lot in words and *fi*gures, indicating the various amounts and the respective currencies]; and
2. Total price of all lots (sum of all lots) [insert the total price of all lots in words and

*fi*gures, indicating the various amounts and the respective currencies];

1. Discounts: The discounts offered and the methodology for their application are:
2. The discounts offered are: [Specify in detail each discount offered.]
3. The exact method of calculations to determine the net price after application of discounts is shown below: [Specify in detail the method that shall be used to apply the discounts];
4. Tender Validity Period: Our Tender shall be valid for the period specified in TDS 18.1 (as amended, if applicable) from the date fixed for the Tender submission deadline specified in TDS

22.1 (as amended, if applicable), and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

1. Performance Security: If our Tender is accepted, we commit to obtain a Performance Security in accordance with the Tendering document;
2. One Tender Per Tender: We are not submitting any other Tender(s) as an individual Tender, and we are not participating in any other Tender(s) as a Joint Venture member or as a subcontractor, and meet the requirements of ITT 3.4, other than alternative Tenders submitted in accordance with ITT 13.3;
3. Suspension and Debarment: We, along with any of our subcontractors, suppliers, Project Manager, manufacturers, or service providers for any part of the contract, are not subject to, and not controlled by any entity or individual that is subject to, a temporary suspension or a debarment imposed by the Public Procurement Regulatory Authority or any other entity of the Government of Kenya, or any international organization.
4. State-owned enterprise or institution: [select the appropriate option and delete the other] [We are not a state-owned enterprise or institution] / [We are a state-owned enterprise or institution but meet the requirements of ITT 3.8];
5. Commissions, gratuities, fees: We have paid, or will pay the following commissions, gratuities, or fees with respect to the tender process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity].

|  |  |  |  |
| --- | --- | --- | --- |
| Name of  Recipient | Address | Reason | Amount |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

(If none has been paid or is to be paid, indicate “none.”)

1. Binding Contract: We understand that this Tender, together with your written acceptance thereof included in your Letter of Acceptance, shall constitute a binding contract between us, until a formal contract is prepared and executed;
2. Not Bound to Accept: We understand that you are not bound to accept the lowest evaluated cost Tender, the Most Advantageous Tender or any other Tender that you may receive;
3. Fraud and Corruption: We hereby certify that we have taken steps to ensure that no person acting

for us or on our behalf engages in any type of Fraud and Corruption;

1. Collusive practices: We hereby certify and confirm that the tender is genuine, non-collusive and made with the intention of accepting the contract if awarded. To this effect we have signed the “Certificate of Independent Tender Determination” attached below.
2. We undertake to adhere by the Code of Ethics for Persons Participating in Public Procurement and Asset Disposal, copy available from (specify website) during the procurement process and the execution of any resulting contract.
3. We, the Tenderer, have completed fully and signed the following Forms as part of our Tender:
   1. Tenderer's Eligibility; Confidential Business Questionnaire – to establish we are not in any conflict to interest.
   2. Certificate of Independent Tender Determination – to declare that we completed the tender without colluding with other tenderers.
   3. Self-Declaration of the Tenderer – to declare that we will, if awarded a contract, not engage in any form of fraud and corruption.
   4. Declaration and commitment to the Code of Ethics for Persons Participating in Public Procurement and Asset Disposal

Further, we con**fi**rm that we have read and understood the full content and scope of fraud and corruption as informed in “Appendix 1- Fraud and Corruption” attached to the Form of Tender.

Name of the Tenderer: \*[insert complete name of person signing the Tender]

Name of the person duly authorized to sign the Tender on behalf of the Tenderer: \*\*[insert complete name of person duly authorized to sign the Tender]

Title of the person signing the Tender: [insert complete title of the person signing the Tender]

Signatureof the person named above: [insert signature of person whose name and capacity are shown above] Date signed [insert date of signing] day of [insert month], [insert year]

Date signed day of ,

Notes

\* In the case of the Tender submitted by joint venture specify the name of the Joint Venture as Tenderer

\*\* Person signing the Tender shall have the power of attorney given by the Tenderer to be attached with the Tender.

1. TENDERER’S ELIGIBILITY- CONFIDENTIAL BUSINESS QUESTIONNAIRE

Instruction to Tenderer

Tender is instructed to complete the particulars required in this Form, one form for each entity if Tender is a JV. Tenderer is further reminded that it is an offence to give false information on this Form.

* 1. Tenderer's details

|  |  |  |
| --- | --- | --- |
|  | ITEM | DESCRIPTION |
| 1 | Name of the Procuring Entity |  |
| 2 | Reference Number of the Tender |  |
| 3 | Date and Time of Tender Opening |  |
| 4 | Name of the Tenderer |  |
| 5 | Full Address and Contact Details of the Tenderer. | 1. Country 2. City 3. Location 4. Building 5. Floor 6. Postal Address 7. Name and email of contact person. |
| 6 | Current Trade License Registration Number  and Expiring date |  |
| 7 | Name, country and full address (postal and  physical addresses, email, and telephone number) of Registering Body/Agency |  |
| 8 | Description of Nature of Business |  |
| 9 | Maximum value of business which the  Tenderer handles. |  |
| 10 | State if Tenders Company is listed in stock  exchange, give name and full address (postal and physical addresses, email, and telephone number) of  state which stock exchange |  |

General and Speci**fi**c Details

* + 1. Sole Proprietor, provide the following details.

Name in full Age Nationality

Country of Origin Citizenship

* + 1. Partnership, provide the following details.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Names of Partners | Nationality | Citizenship | % Shares owned |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

* + 1. Registered Company, provide the following details.
       1. Private or public Company
       2. State the nominal and issued capital of the Company

Nominal Kenya Shillings (Equivalent).................................................................................

Issued Kenya Shillings (Equivalent).....................................................................................

* + - 1. Give details of Directors as follows.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Names of Director | Nationality | Citizenship | % Shares owned |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

1. DISCLOSURE OFINTEREST- Interest of the Firm in the Procuring Entity.
   1. Are there any person/persons in (Name of Procuring Entity) who has/have

an interest or relationship in this firm? Yes/No……………………… If yes, provide details as follows.

|  |  |  |  |
| --- | --- | --- | --- |
|  | Names of Person | Designation in the Procuring  Entity | Interest or Relationship with Tenderer |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

* 1. Con**fl**ict of interest disclosure

|  |  |  |  |
| --- | --- | --- | --- |
|  | Type of Conflict | Disclosure YES OR NO | If YES provide details of  the relationship with Tenderer |
| 1 | Tenderer is directly or indirectly controls, is controlled  by or is under common control with another tenderer. |  |  |
| 2 | Tenderer receives or has received any direct or indirect  subsidy from another tenderer. |  |  |
| 3 | Tenderer has the same legal representative as another  tenderer |  |  |
| 4 | Tender has a relationship with another tenderer, directly or through common third parties, that puts it in a position to influence the tender of another tenderer, or influence the decisions of the Procuring Entity regarding  this tendering process. |  |  |
| 5 | Any of the Tenderer’s affiliates participated as a consultant in the preparation of the design or technical specifications of the works that are the subject of the  tender. |  |  |
| 6 | Tenderer would be providing goods, works, non- consulting services or consulting services during implementation of the contract specified in this Tender  Document. |  |  |
| 7 | Tenderer has a close business or family relationship with a professional staff of the Procuring Entity who are directly or indirectly involved in the preparation of the Tender document or specifications of the Contract,  and/or the Tender evaluation process of such contract. |  |  |
| 8 | Tenderer has a close business or family relationship with a professional staff of the Procuring Entity who would be involved in the implementation or  supervision of the such Contract. |  |  |
| 9 | Has the conflict stemming from such relationship stated in item 7 and 8 above been resolved in a manner  acceptable to the Procuring Entity throughout the |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  | Type of Conflict | Disclosure YES OR NO | If YES provide details of  the relationship with Tenderer |
|  | tendering process and execution of the Contract. |  |  |

f) Certi**fi**cation

On behalf of the Tenderer, I certify that the information given above is complete, current and accurate as at the date of submission.

Full Name

Title or Designation

(Signature) (Date)

1. CERTIFICATE OF INDEPENDENT DETERMINATION

I, the undersigned, in submitting the accompanying Letter of Tender to theKajiado West Technical and Vocational College for: PROPOSED CONSTRUCTION OF OF 3NO. CLASSROOMS AT KAJIADO WEST

TECHNICAL AND VOCATIONAL COLLEGE in response to the request for tenders made by: [Name of Tenderer] do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of [Name of Tenderer] that:

1. I have read and I understand the contents of this Certificate;
2. I understand that the Tender will be disqualified if this Certificate is found not to be true and complete in every respect;
3. I am the authorized representative of the Tenderer with authority to sign this Certificate, and to submit the Tender on behalf of the Tenderer;
4. For the purposes of this Certificate and the Tender, I understand that the word “competitor” shall include any individual or organization, other than the Tenderer, whether or not affiliated with the Tenderer, who:
   1. has been requested to submit a Tender in response to this request for tenders;
   2. could potentially submit a tender in response to this request for tenders, based on their qualifications, abilities orexperience;
5. The Tenderer discloses that [check one of the following, as applicable:
   1. The Tenderer has arrived at the Tender independently from, and without consultation, communication, agreement or arrangement with, any competitor;
   2. the Tenderer has entered into consultations, communications, agreements or arrangements with one or more competitors regarding this request for tenders, and the Tenderer discloses, in the attached document(s), complete details thereof, including the names of the competitors and the nature of, and reasons for, such consultations, communications, agreements or arrangements;
6. In particular, without limiting the generality of paragraphs (5)(a) or (5)(b) above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:
   1. prices;
   2. methods, factors or formulas used to calculate prices;
   3. the intention or decision to submit, or not to submit, a tender; or
   4. the submission of a tender which does not meet the specifications of the request for Tenders; except as specifically disclosed pursuant to paragraph (5)(b) above;
7. In addition, there has been no consultation, communication, agreement or arrangement with any competitor regarding the quality, quantity, specifications or delivery particulars of the works or services to which this request for tenders relates, except as specifically authorized by the procuring authority or as specifically disclosed pursuant to paragraph (5)(b) above;
8. the terms of the Tender have not been, and will not be, knowingly disclosed by the Tenderer, directly or indirectly, to any competitor, prior to the date and time of the official tender opening, or of the awarding of the Contract, whichever comes first, unless otherwise required by law or as specifically disclosed pursuant to paragraph (5)(b) above.

Name

Title

Signature

Date

1. SELF - DECLARATION FORMS

FORM SD1

SELF DECLARATION THAT THE PERSON/TENDERER IS NOT DEBARRED IN THE MATTER OF THE PUBLIC PROCUREMENTAND ASSET DISPOSALACT 2015.

I, ……………………………………., of Post Of**fi**ce Box being a resident of

………………………………….. in the Republic of do hereby make a statement

as follows: -

1. THAT I am the Company Secretary/ Chief Executive/Managing Director/Principal Officer/Director of………....………………………………. who is a Bidder in respect of Tender No. KWTVC/ADM

/T/001/2024-2025 for PROPOSED CONSTRUCTION OF OF 3NO. CLASSROOMS AT KAJIADO

WEST TECHNICAL AND VOCATIONAL COLLEGE and duly authorized and competent to make this statement?

1. THAT the aforesaid Bidder, its Directors and subcontractors have not been debarred from participating in procurement proceeding under Part IV of the Act.
2. THAT what is deponed to herein above is true to the best of my knowledge, information and belief. Title

Signature

Date

Bidder Of**fi**cial Stamp

FORM SD2

SELF DECLARATION THAT THE PERSON/TENDERER WILL NOT ENGAGE IN ANY CORRUPT OR FRAUDULENT PRACTICE

I, ……………………………………. of P. O. Box being a resident of

………………………………….. in the Republic of do hereby make a statement as follows: -

1. THAT I am the Chief Executive/Managing Director/Principal Officer/Director of

………......................... who is a Bidder in respect of Tender No. KWTVC/ADM/T/001/2024- 2025 for PROPOSED CONSTRUCTION OF OF 3NO. CLASSROOMS AT KAJIADO WEST TECHNICAL

AND VOCATIONAL COLLEGE and duly authorized and competent to make this statement.

1. THAT the aforesaid Bidder, its servants and/or agents /subcontractors will not engage in any corrupt or fraudulent practice and has not been requested to pay any inducement to any member of the Board, Management, Staff and/or employees and/or agents of ……………………... (insert name of the Procuring entity) which is the procuring entity.
2. THAT the aforesaid Bidder, its servants and/or agents /subcontractors have not offered any inducement to any member of the Board, Management, Staff and/or employees and/or agents of

… (name of the procuring entity)

1. THAT the aforesaid Bidder will not engage /has not engaged in any corrosive practice with other bidders participating in the subject tender
2. THAT what is deponed to herein above is true to the best of my knowledge information and belief.

Title

Signature

Date

Bidder Of**fi**cial Stamp

DECLARATION AND COMMITMENT TO THE CODE OF ETHICS

I ………………......................................…………………. (person) on behalf of (Name of the Business/ Company/Firm) ……………………………………………………. declare that I have read and fully understood the contents of the Public Procurement & Asset Disposal Act, 2015, Regulations and the Code of Ethics for persons participating in Public Procurement and Asset Disposal and my responsibilities under the Code.

I do hereby commit to abide by the provisions of the Code of Ethics for persons participating in Public Procurement and Asset Disposal.

Name of Authorized signatory………………….........................................................

Sign……………...........................................

Position…………………………………………...................................................………....................................

Of**fi**ce address……………………………………………….

Telephone……………......................………………….

E-mail…………………………………………............................................................….....................................

Name of the Firm/Company…………………………….......................................................................................……

Date………………………………………………………..............................................….

(Company Seal/ Rubber Stamp where applicable)

Witness

Name ………………………………………………………....... Sign...................................................

Date……………………………………………………

1. APPENDIX 1- FRAUD AND CORRUPTION

(Appendix 1 shall not be modi*fi*ed)

1. Purpose
2. The Government of Kenya's Anti-Corruption and Economic Crime laws and their sanction's policies and procedures, Public Procurement and Asset Disposal Act (no. 33 of 2015) and its Regulation, and any other Kenya's Acts or Regulations related to Fraud and Corruption, and similar offences, shall apply with respect to Public Procurement Processes and Contracts that are governed by the laws of Kenya.
3. Requirements

The Government of Kenya requires that all parties including Procuring Entities, Tenderers, (applicants/proposers), Consultants, Contractors and Suppliers; any Sub-contractors, Sub- consultants, Service providers or Suppliers; any Agents (whether declared or not); and any of their Personnel, involved and engaged in procurement under Kenya's Laws and Regulation, observe the highest standard of ethics during the procurement process, selection and contract execution of all contracts, and refrain from Fraud and Corruption and fully comply with Kenya's laws and Regulations as per paragraphs 1.1 above.

Kenya's public procurement and asset disposal act (no. 33 of 2015) under Section 66 describes rules to be followed and actions to be taken in dealing with Corrupt, Coercive, Obstructive, Collusive or Fraudulent practices, and Conflicts of Interest in procurement including consequences for offences committed. A few of the provisions noted below highlight Kenya's policy of no tolerance for such practices and behavior: -

* 1. a person to whom this Act applies shall not be involved in any corrupt, coercive, obstructive, collusive or fraudulent practice; or conflicts of interest in any procurement or asset disposal proceeding;
  2. A person referred to under subsection (1) who contravenes the provisions of that sub-section commits an offence;
  3. Without limiting the generality of the subsection (1) and (2), the person shall be: -
     1. disqualified from entering into a contract for a procurement or asset disposal proceeding; or
     2. if a contract has already been entered into with the person, the contract shall be voidable;
  4. The voiding of a contract by the procuring entity under subsection (7) does not limit any legal remedy the procuring entity may have;
  5. An employee or agent of the procuring entity or a member of the Board or committee of the procuring entity who has a conflict of interest with respect to a procurement: -
     1. shall not take part in the procurement proceedings;
     2. shall not, after a procurement contract has been entered into, take part in any decision relating to the procurement or contract; and
     3. shall not be a subcontractor for the bidder to whom was awarded contract, or a member of the group of bidders to whom the contract was awarded, but the subcontractor appointed shall meet all the requirements of this Act.
  6. An employee, agent or member described in subsection (1) who refrains from doing anything prohibited under that subsection, but for that subsection, would have been within his or her duties shall disclose the conflict of interest to the procuring entity;
  7. If a person contravenes subsection (1) with respect to a conflict of interest described in subsection (5)(a) and the contract is awarded to the person or his relative or to another person in whom one of them had a direct or indirect pecuniary interest, the contract shall be terminated and all costs incurred by the public entity shall be made good by the awarding officer. Etc.

In compliance with Kenya's laws, regulations and policies mentioned above, the Procuring Entity:

1. Defines broadly, for the purposes of the above provisions, the terms set forth below as follows:
   1. “corrupt practice” is the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party;
   2. “fraudulent practice” is any act or omission, including misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain financial or other benefit or to avoid an obligation;
   3. “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party;
   4. “coercive practice” is impairing or harming, or threatening to impair or harm, directly or

indirectly, any party or the property of the party to influence improperly the actions of a party;

* 1. “obstructive practice” is:
     + deliberately destroying, falsifying, altering, or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede investigation by Public Procurement Regulatory Authority (PPRA) or any other appropriate authority appointed by Government of Kenya into allegations of a corrupt, fraudulent, coercive, or collusive practice; and/or threatening, harassing, or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or
     + acts intended to materially impede the exercise of the PPRA's or the appointed authority's inspection and audit rights provided for under paragraph 2.3 e. below.

1. Defines more specifically, in accordance with the above procurement Act provisions set forth for fraudulent and collusive practices as follows:

"fraudulent practice" includes a misrepresentation of fact in order to in**fl**uence a procurement or disposal process or the exercise of a contract to the detriment of the procuring entity or the tenderer or the contractor, and includes collusive practices amongst tenderers prior to or after tender submission designed to establish tender prices at arti**fi**cial non-competitive levels and to deprive the procuring entity of the bene**fi**ts of free and open competition.

1. Rejects a proposal for award1 of a contract if PPRA determines that the firm or individual recommended for award, any of its personnel, or its agents, or its sub-consultants, sub- contractors, service providers, suppliers and/ or their employees, has, directly or indirectly, engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices in competing for the contract in question;
2. Pursuant to the Kenya's above stated Acts and Regulations, may sanction or recommend to appropriate authority (ies) for sanctioning and debarment of a firm or individual, as applicable under the Acts and Regulations;
3. Requires that a clause be included in Tender documents and Request for Proposal documents requiring (i) Tenderers (applicants/proposers), Consultants, Contractors, and Suppliers, and their Sub-contractors, Sub-consultants, Service providers, Suppliers, Agents personnel, permit the PPRA or any other appropriate authority appointed by Government of Kenya to inspect2 all accounts, records and other documents relating to the procurement process, selection and/or contract execution, and to have them audited by auditors appointed by the PPRA or any other appropriate authority appointed by Government of Kenya; and
4. Pursuant to Section 62 of the above Act, requires Applicants/Tenderers to submit along with their Applications/Tenders/Proposals a “Self-Declaration Form” as included in the procurement document declaring that they and all parties involved in the procurement process and contract execution have not engaged/will notengage in anycorruptor fraudulent practices.

1For the avoidance of doubt, a party's ineligibility to be awarded a contract shall include, without limitation, (i) applying for pre-quali*fi*cation, expressing interest in a consultancy, and tendering, either directly or as a nominated sub-contractor, nominated consultant, nominated manufacturer or supplier, or nominated service provider, in respect of such contract, and (ii) entering into an addendum or amendment introducing a material modi*fi*cation to any existing contract.

2 Inspections in this context usually are investigative (i.e., forensic) in nature. They involve fact-*fi*nding activities undertaken by the Investigating Authority or persons appointed by the Procuring Entity to address speci*fi*c matters related to investigations/audits, such as evaluating the veracity of an allegation of possible Fraud and Corruption, through the appropriate mechanisms. Such activity includes but is not limited to: accessing and examining a *fi*rm's or individual's *fi*nancial records and information, and making copies thereof as relevant; accessing and examining any other documents, data and information (whether in hard copy or electronic format) deemed relevant for the investigation/audit, and making copies thereof as relevant; interviewing staff and other relevant individuals; performing physical inspections and site visits; and obtaining third party veri*fi*cation of information.

FORM OF TENDER SECURITY- Demand Bank Guarantee]

Bene**fi**ciary: Request for Tenders No: Date: TENDER GUARANTEE No.:

Guarantor:

1. We have been informed that (here in after called "the Applicant") has submitted or will submit to the Beneficiary its Tender (here in after called" the Tender") for the execution of under Request for Tenders No. (“the ITT”).
2. Furthermore, we understand that, according to the Beneficiary's conditions, Tenders must be supported by a Tender guarantee.
3. At the request of the Applicant, we, as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of ( ) upon receipt by us of the Beneficiary's complying demand, supported by the Beneficiary's statement, whether in the demand itself or a separate signed document accompanying or identifying the demand, stating that either the Applicant:

(a) has withdrawn its Tender during the period of Tender validity set forth in the Applicant's Letter of Tender (“the Tender Validity Period”), or any extension thereto provided by the Applicant; or

b) having been noti**fi**ed of the acceptance of its Tender by the Bene**fi**ciary during the Tender Validity Period or any extension there to provided by the Applicant, (i) has failed to execute the contract agreement, or (ii) has failed to furnish the Performance.

1. This guarantee will expire: (a) if the Applicant is the successful Tenderer, upon our receipt of copies of the contract agreement signed by the Applicant and the Performance Security and, or (b) if the Applicant is not the successful Tenderer, upon the earlier of (i) our receipt of a copy of the Beneficiary's notification to the Applicant of the results of the Tendering process; or (ii) thirty days after the end of the Tender Validity Period.
2. Consequently, any demand for payment under this guarantee must be received by us at the office indicated above onor before that date.

[signature(s)]

Note: All italicized text is for use in preparing this form and shall be deleted from the ***fi***nal product.

# PART II - WORK REQUIREMENTS

SECTION V - DRAWINGS

Drawings are as below;

SECTION VI - SPECIFICATIONS

Notes for preparing Speci**fi**cations

1. Specifications must be drafted to present a clear and precise statement of the required standards of materials, and workmanship for tenderers to respond realistically and competitively to the requirements of the Procuring Entity and ensure responsiveness of tenders. The Specifications should require that all materials, plant, and other supplies to be permanently incorporated in the Works be new, unused, of the most recent or current models, and incorporating all recent improvements in design and materials unless provided otherwise in the Contract. Where the Contractor is responsible for the design of any part of the permanent Works, the extent of his obligations must be stated.
2. Specifications from previous similar projects are useful and may not be necessary to re-write specifications for everyWorks Contract.
3. There are considerable advantages in standardizing General Speci**fi**cations for repetitive Works in recognized public sectors, such as highways, urban housing, irrigation and water supply. The General Specifications should cover all classes of workmanship, materials and equipment commonly involved in constructions, although not necessarily to be used in a particular works contract. Deletions or addenda should then adapt the General Specifications to the particular Works.
4. Care must be taken in drafting Specifications to ensure they are not restrictive. In the Specifications of standards for materials, plant and workmanship, existing Kenya Standards should be used as much as possible, otherwise recognized international standards may also be used.
5. The Procuring Entity should decide whether technical solutions to specified parts of the Works are to be permitted. Alternatives are appropriate in cases where obvious (and potentially less costly) alternatives are possible to the technical solutions indicated in tender documents for certain elements of the Works, taking into consideration the comparative specialized advantage of potential tenderers.
6. The Procuring Entity should provide a description of the selected parts of the Works with appropriate reference to Drawings, Specifications, Bills of Quantities, and Design or Performance criteria, stating that the alternative solutions shall be at least structurally and functionally equivalent to the basic design parameters and Specifications.
7. Such alternative solutions shall be accompanied by all information necessary for a complete evaluation by the Procuring Entity, including drawings, design calculations, technical speci**fi**cations, breakdown of prices, proposed construction methodology, and other relevant details. Technical alternatives permitted in this manner shall be considered by the Procuring Entity each on its own merits and independently of whether the

~~tenderer has priced the item as described in the Procuring Entity's design included with the tender~~ ~~documents.~~

## SECTION VII- BILLS OF QUANTITIES



**PROPOSED CONSTRUCTION OF 3NO. CLASSROOMS**

**AT**

**KAJIADO WEST TVC - KAJIADO WEST**

**BILLS OF QUANTITIES**

**PREPARED BY:**

**COUNTY WORKS OFFICER, BOX 64 KAJIADO**

**2024**

**BILL OF QUANTITIES FOR**

**PROPOSED CONSTRUCTION OF 3NO. CLASSROOMS AT KAJIADO WEST TTC - KAJIADO WEST**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | Qty | Unit | Rate | Kshs |
|  | **ELEMENT NO. 1** |  |  |  |  |
|  | **SUBSTRUCTURE(PROVISIONAL)** |  |  |  |
| A | Clear site for working area of bush and shrub | 280 | Sm | - |
|  |  |  |  | - |
| B | Excavate 150mm average top vegetable soil | 243 | Sm | - |
|  |  |  |  | - |
| C | Excavate to remove black cotton soil average depth 1000mm and cart  away from site | 243 | Cm | - |
|  |  |  |  | - |
| D | Excavate 600mm wide foundation trenches commencing from  stripped level average depth 1.5m | 31 | Cm | - |
|  |  |  |  | - |
| E | 50mm foundation concrete blinding class P mix 1.04:08 | 51 | Sm | - |
|  |  |  |  | - |
| F | Concrete class 20/20 mix 1:2:4 in strip foundation | 15 | Cm | - |
|  |  |  |  | - |
| G | 200mm thick substructure stone walling in cement mortar 1:4  reinforced with hoop iron at alternate courses | 102 | Sm | - |
|  |  |  |  | - |
| H | 200 x 200mmx1200mm attached piers in foundation trenches | 21 | No | - |
|  |  |  |  | - |
| I | Backfill excavated material around foundation trenches | 20 | Cm | - |
|  |  |  |  | - |
| J | Remove surplus excavated material from site wheel and spread  around the site. | 35 | Cm | - |
|  |  |  |  | - |
| K | Approved murram filling to make up levels well compacted with  water | 243 | Cm | - |
|  |  |  |  | - |
| L | 300mm thick hardcore filling | 243 | Sm | - |
|  |  |  |  | - |
| M | 50mm murram blinding to hardcore | 243 | Sm | - |
|  |  |  |  | - |
| N | Anti termite solution sprayed on murram blinding with 10years guarantee | 243 | Sm | - |
|  |  |  | - |
|  |  |  |  | - |
|  | **CARRIED TO COLLECTION** |  |  |  | - |

CL/01

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS |
| NO. |
|  | **SUBSTRUCTURE ( CONT…D)** |  |  |  |  |
| A | 500 gauge polythene underlay damp proof membrane | 243 | Sm | - |
|  |  |  |  | - |
| B | 150 x 25mm timber formwork to sides of slab (75-150mm high) | 72 | Lm | - |
|  |  |  |  | - |
| C | B.R.C mesh ref A142 | 243 | Sm | - |
|  |  |  |  | - |
| D | 150mm thick floor concrete slab class 20/20 mix 1:2:4 | 243 | Sm | - |
|  |  |  |  | - |
| E | 200mm wide 3ply Bituminous felt damp proof | 85 | Lm | - |
|  |  |  |  | - |
| F | 12mm thick render to walls | 22 | Sm | - |
|  |  |  |  | - |
| G | Prepare and apply three coats oil paints to rendered | 22 | Sm | - |
|  |  |  |  | - |
| H | Y10 bars | 362 | Kg | - |
|  |  |  |  | - |
| I | Y8 bars | 0 | Kg | - |
|  |  |  |  | - |
| J | Formwork to sides of strip foundation | 51 | Sm | - |
|  | **CARRIED TO COLLECTION** |  |  | - |
|  | **COLLECTION** |  |  |  |  |
| From page CL/01 | - |
| From above | - |
|  |  | | |  |
|  |  |  |  |  |
|  | **TOTAL FOR SUBSTRUCTURE CARRIED TO SUMMARY**  **PAGE** |  |  |  | - |
| CL/02 | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS |
| NO. |
|  | **ELEMENT NO. 2** |  |  |  |  |
|  | **SUPERSTRUCTURE** |  |  |  |
| A | 200mm thick superstructure stonewalling in cement mortar 1:4 reinforced with hoop/iron at alternate courses with | 256 | Sm | - |
|  |  |  |  | - |
| B | 200x200x2400mm natural stone attached piers | 21 | No | - |
|  |  |  |  | - |
|  | The following to 300mm thick by 200mm high ring beam reinforced with Y8mm ring at 200mm centres and 2No. Y12mm bars top and  2Y12bottom |  |  | - |
|  |  |  |  | - |
| C | Concrete class 20/20 mix 1:2:4 | 5 | Cm | - |
|  |  |  |  | - |
| D | Y8mm ring | 222 | Kg | - |
|  |  |  |  | - |
| E | Y12mm bars | 333 | Kg | - |
|  |  |  |  | - |
| F | Supply and fix 3000mm long , 75mm diameter and 4mm thick steel  pipes for veranda | 11 | No | - |
|  |  |  |  | - |
| G | 250 x 25mm timber formwork to soffits of openings | 7 | Sm | - |
|  |  |  |  | - |
| H | Ditto to sides of beam | 51 | Sm | - |
|  | **TOTAL FOR SUPERSTRUCTURE CARRIED TO SUMMARY**  **PAGE** |  |  |  | - |
| CL/03 | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS |
| NO. |
|  | **ELEMENT NO. 3** |  |  |  |  |
|  | **ROOFING**  The following to 24No. roof trusses spaced at 1.2m centres comprising if 150 x 50mm rafters, tiles king post,structs and tie beams |  |  |  |
|  | with scarf joints and surrounded by 25mm wide hoop iron hoisting to height of 3.0m |  |  |  |
| A | 150 x 50mm timber cypress wall plate | 85 | Lm | - |
|  |  |  |  | - |
| B | 150 x 50mm timber cypress rafter | 264 | Lm | - |
|  |  |  |  | - |
| C | 150 x 50mm struts and ties | 276 | Lm | - |
|  |  |  |  | - |
| D | 75 x 50mm timber cypress purlins | 270 | Lm | - |
|  |  |  |  | - |
| E | 200 x 25mm fascia board | 76 | Lm | - |
|  |  |  |  | - |
| F | 150 x 50 king post | 50 | Lm | - |
|  |  |  |  | - |
| G | 150 x 50mm tie beam | 245 | Lm | - |
|  |  |  |  | - |
| H | 28gauge Box profile IT4 prepainted roofing sheets | 297 | Sm | - |
|  |  |  |  | - |
| I | Ditto Ridge cap | 27 | Lm | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  | **TOTAL FOR ROOFING CARRIED TO SUMMARY PAGE** |  |  |  | - |
| CL/04 | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Qty** | **Unit** | **Rate** |  |
|  | **ELEMENT NO. 05 - RAINWATER HARVESTING** |  |  |  |  |
|  | ***RAIN WATER GOODS*** |  |  | - |
|  | **Fascia Board** |  |  | - |
| A | 225 x 25mm thick wrot cypress fascia /barge boards fixed to end of  rafters (m/s) | 0 | LM | - |
|  |  |  |  | - |
|  | **Rainwater Goods** |  |  | - |
|  | **Gutters** |  |  | - |
|  | ***Prepainted 2000mm G.I ALUZINC gutters*** |  |  | - |
| B | 150 x 100mm galvanized iron gutter gauge 24 fixed to facia boards m/s with and including approved steel brackets at 1000mm centres | 60 | LM | - |
|  |  |  |  | - |
| C | Extra over gutter for stopped ends | 4 | No. | - |
|  |  |  |  | - |
| D | Extra over for bends | 4 | No. | - |
|  |  |  |  | - |
| E | Ditto but for 100mm diameter outlet | 4 | No. | - |
|  |  |  |  | - |
|  | **Downpipe** |  |  | - |
| F | 100mm diameter galvanized iron downpipe gauge 24 fixed to wall  with and including holder butts at 1000mm centres | 30 | LM | - |
|  |  |  |  | - |
| G | Extra over downpipe for swanneck 1200mm long | 4 | No. | - |
|  |  |  |  | - |
| H | Ditto horse shoe 500mm long | 4 | No. | - |
|  |  |  |  | - |
|  | **Painting and Decoration** |  |  | - |
|  | *Knot, stain prepare and apply three coats oil gloss paint to:-* |  |  | - |
| J | General surfaces of eaves | 18 | SM | - |
|  |  |  |  | - |
| K | Surfcaes of timber 200 - 300mm girth | 60 | LM | - |
|  |  |  |  | - |
| L | General surfaces of metal gutter | 60 | LM | - |
|  |  |  |  | - |
| M | Surfaces of large pipes | 30 | LM | - |
|  | Supply and fix 10,000 litres water tank as "KENT TANK" or "ROTTO" or equivalence including concrete base and all connections  from the roof catchment |  |  | - |
| N | 2 | NO | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  | **ELEMENT NO. 05 - RAIN WATER HARVESTING** |  |  | - |
|  | Carried to Summary of Elements |  | SHS |
|  |  |  |  |  |
| **CL/05** | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS |
| NO. |
|  | **ELEMENT NO. 6** |  |  |  |  |
|  | **DOORS AND WINDOWS** |  |  |  |
| A | Standard steel door sizes 1200mm x 2400mm | 3 | No | - |
|  |  |  |  | - |
| B | Steel casement windows sizes 1500 x 1500m with 15no. Equal panels  with 2No. Side hangs and 12No. middle top hang | 9 | No | - |
|  |  |  |  | - |
| C | Ditto size 1500 x 1200mm | 6 | No | - |
|  |  |  |  | - |
| D | Steel window stays | 30 | No | - |
|  |  |  |  | - |
| E | Steel window fasteners | 30 | No | - |
|  |  |  |  | - |
| F | 4mm clear glasses to windows with putty | 33 | Sm | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  |  |  |  | - |
|  | **TOTAL FOR DOORS AND WINDOWS CARRIED TO**  **SUMMARY PAGE** |  |  |  | - |
| CL/06 | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ITEM | DESCRIPTION | QTY | UNIT | RATE | KSHS |
| NO. |
|  | **Element no. 07** |  |  |  |  |
|  | **FINISHES** |  |  |  |
| A | 12mm horizontal recessed joint to walls externally | 216 | Sm | - |
|  |  |  |  | - |
| B | 12mm plaster to walls internally | 305 | Sm | - |
|  |  |  |  | - |
| C | 12mm rendering to walls externally | 22 | Sm | - |
|  |  |  |  | - |
| D | 150mm cill to windows | 26 | Lm | - |
|  |  |  |  | - |
| E | 38mm floor finish with cement sand towelled to receive tiles | 243 | Sm | - |
|  |  |  |  | - |
| F | 400 x 400mm Thick non slip ceramic floor tiles | 243 | Sm | - |
|  |  |  |  | - |
| G | 20mm thick 6000x1200mm blackboard finished with 3 coats of black  paint including hardwood chalk cill | 43 | Sm | - |
|  |  |  |  | - |
|  | **PAINTING** |  |  | - |
| H | Prepare and apply three coats plastic emulsion paint to walls internally | 305 | Sm | - |
|  |  |  |  | - |
| J | Prepare and apply three coats plastic emulsion paint to rendered walls  and beam | 22 | Sm | - |
|  |  |  |  | - |
| K | Knot, prime and apply three coats oil paint to surface 150 -225mm  girth fascia board | 76 | Lm | - |
|  |  |  |  | - |
| L | Ditto surfaces of metal doors | 17 | Sm | - |
|  |  |  |  | - |
| M | Ditto windows | 31 | Sm | - |
|  |  | | | | - |
| N | Prepare and apply three coats red oxide primer to steel and three coats gloss oil paint to 75mm diameter pipe | 26 | Lm |  | - |
|  | - |
|  | - |
|  | - |
|  | **TOTAL FOR FINISHES CARRIED TO SUMMARY PAGE** |  |  |  | - |
| CL/07 | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
| SUMMARY PAGE | | | |
| ITEM | DESCRIPTION | PAGE NO. | KSHS |
|  | **COLLECTION** |  |  |
| A | SUBSTRUCTURE | CL/02 | - |
| B | SUPERSTRUCTURE | CL/03 | - |
| C | ROOFING | CL/04 | - |
|  | RAINWATER | CL/05 | - |
| D | DOORS AND WINDOWS | CL/06 | - |
| E | FINISHES | CL/07 | - |
|  | TOTAL FOR 3NO.CLASSROOMS |  | - |
|  |  |  |  |
|  | **TOTAL FOR 3NO CLASSROOMS CARRIED TO GRAND**  **SUMMARY** |  | - |
| CL/08 | | | |

**ELECTRICAL INSTALLATION WORKS-3NO. CLASSROOMS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **ITEM** | **DESCRIPTION** | **QTY** | **UNIT** | **RATE** | **AMOUNT** |
|  | **Supply, install, test and commission the following:** |  |  |  |  |
|  | **LIGHTING POINTS.** |  |  |  |
| A | Lighting points wired in 3 x 1.5sq mm single core pvc cables drawn in 20mm diameter h/g concealed conduits all accessories included but  excluding switches and fittings | 24 | NO | - |
|  |  |  |  | - |
|  | SWITCHES. |  |  | - |
| B | 5A white moulded plate switches mounted 1350mm above FFL as  MK or approved equivalent as follows: |  |  | - |
|  | a) 1 gang1 way | 3 | NO | - |
|  | b) 2 gang2 way | 3 | NO | - |
|  |  |  |  | - |
|  | Lighting fittings. |  |  | - |
| C | Complete with energy saving bulbs and tubes of appropriate wattage  and colour rendering: |  |  | - |
|  | a) 1500mm batten fluorescent fitting with reflector type thorn,  Philips. | 3 | NO | - |
|  | b) Security bulkhead lamp | 6 | NO | - |
|  | c) 1200mm batten fluorescent fitting type thorn, Philips. | 18 | NO | - |
|  | **POWER POINTS** |  |  |  |
|  | **SOCKET OUTLETS** |  |  |  |
| D | Socket outlet points wired in 3 x 2.5sq.mm PVC insulated single core cu cables drawn in trunking/25mm PVC Conduits as follows: |  |  |  |
|  | a) Twin switched | 21 | NO | - |
| E | 13A socket outlet plates mounted 400mm above FFL as Crabtree or  approved equivalent, flush mounted. |  |  | - |
|  | a)Twin switched | 21 | NO | - |
|  |  |  |  | - |
| F | Multiple circuit breakers |  |  | - |
|  | a) 10A SP MCB | 3 | NO | - |
|  | b) 30A SP MCB | 3 | NO | - |
|  | c) Blanking plates | 3 | NO | - |
|  |  |  |  | - |
| G | EARTHING TO KPLC APPROVAL |  |  | - |
|  | a) 300 x 300 x 300mm concrete earthing chamber complete with  concrete cover. | 1 | NO | - |
|  | b) Earth rod (16mm dia 1800mm long) with Earth-rod-cable clamp  and Driving Head for Earth rod. | 1 | NO | - |
|  | c) 10mm2 SC/PVC copper cable earth lead in concealed 20mm dia. HP//PVC conduit from the loop-in box to the earth pit | 15 | LM | - |
|  | **TOTAL CARRIED TO COLLECTION** |  |  |  | **-** |
| **EW/01** | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | | | | | |
| **ITEM** | **DESCRIPTION** | **QTY** | **UNIT** | **RATE** | **AMOUNT** |
|  | **INTERNAL POWER DISTRIBUTION**. |  |  |  |  |
| A | 6way SPN consumer unit with 100A integral isolator as Crabtree or approved equivalent. | 1 | NO | - |
|  |  |  |  | - |
|  | **Sub main cables**. |  |  | - |
| B | Lay 3x6mm2 PVC/SWA/PVC Sub main copper cable from loop-in box to CU | 45 | LM | - |
|  | . |  |  | - |
|  |  |  |  | - |
| C | Standard galvanized cable loop-in box c/w 30Atwin cutout and HRC fuse and connection to consumer unit with 25mm diameter pvc | 1 | NO | - |
|  |  |  |  | - |
| D | Single phase meter box fabricated from 14SWG sheet of metal to  accommodate KPLC meter and cut-outs | 1 | NO | - |
|  |  |  |  | - |
| E | 10.00mm2 2-core pvc armored underground cable from meter box/cubicle to the loop in box | 100 | LM | - |
|  | **TOTAL CARRIED TO COLLECTION** |  |  |  | **-** |
|  | COLLECTION |  |  |  |  |
| A | BROUGHT FORWARD FROM PAGE EW/1 |  |  |  | - |
| B | BROUGHT FORWARD FROM ABOVE |  |  |  | - |
|  | TOTAL FOR 3NO.CLASSROOMS | | | - | |
|  |  | | |  | |
|  | **TOTAL FOR ELECTRICAL INSTALLATIONS WORKS FOR 3NO.CLASSROOMS CARRRIED TO GRAND SUMMARY** |  | | - | |
| **EW/2** | | | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **ITEM** | **DESCRIPTION** | **QTY** | **UNIT** | **RATE** | **AMOUNT** |
|  | **P.C AND PROVISIONAL SUMS.** |  |  |  |  |
| A | Allow a prime sum of kenya Shillings One Hundred Thousand Kshs. 100,000 only for Contigencies | SUM | 100,000.00 |
| B | Allow a prime sum of Kenya Shillings One Hundred Thousand (Kshs.100,000.00) only for Project Management | SUM | 100,000.00 |
|  | **TOTAL CARRIED TO MAIN SUMMARY** |  |  |  | **200,000.00** |
| **PS/01** | | | | | |

**GRAND SUMMARY**

|  |  |  |  |
| --- | --- | --- | --- |
| **BILL NO** | **DESCRIPTION** | **FOR CONTRACTOR'S USE ONLY ( KSHS)** | **FOR OFFICIAL USE ONLY (KSHS)** |
| 1 | PRELIMINARIES |  |  |
| 2 | BUILDERS WORKS **-** |  | - |
| 3 | ELECTRICAL WORKS |  | - |
| 4 | PROVISIONAL SUMS - PS/1 |  | - |
|  | **SUB TOTAL** |  | **-** |
|  |  |  |  |
|  | **GRAND TOTAL CARRIED TO FORM OF TENDER** |  | **-** |

**Amount in words:**…………………………………………………………………………………………………………….…..

……………………………………………………………………………………………………………….……………………

**Tenderer’s Signature and stamp :**………………………………………………………………………………………………… **Address**: ………………………………………………………………………………………………..………………

**Date:** ………………………………………………………………………………………………………………………

**Witness’s Name:** ……………………………………………………………………………….…………………………………

**Signature:** …………………………………………………………………….………………………………… **Description:** ………………………………………………………………………….…………………………………… **Address:** …………………………………………………………………………………..………………………… **Date:** …………………………………………………………………………………………………..……………………

GS/1

E-01

26,600

E-01

***GENERAL NOTES***

200 8,600 200 8,600 200 8,600 200

S-01

200 200

200 1,000 1,500 3,600 1,500 1,000 1,000 1,500 3,600 1,500 1,000 1,000 1,500 3,600 1,500 1,000 200

200

200

26,900

1. *All dimensions are in mm unless stated otherwise*
2. *All should be checked before commencement of the work and discrepancies reported to the architect .*
3. *All to be inaccordance with the county government*
4. *Wall less than 200mm thick to be reinforced with hoop iron at every course .*

6,800

9,000

E-04

E-02

10,650

**S**

6,800

|  |  |
| --- | --- |
|  | **CLA** |
|  |
|  |

|  |  |
| --- | --- |
|  | **2** |
|  |
| **S** |

**VERANDA**

200





**S**



**VERANDA**

|  |  |
| --- | --- |
|  | **CLA** |
|  |
|  |

|  |  |
| --- | --- |
|  | **3** |
|  |
| **S** |

|  |  |
| --- | --- |
|  |  |
|  |
|  |
|  | |
|  |  |
|  |
|  |

**C S**

**VERANDA**

|  |  |
| --- | --- |
|  | **LA** |
|  |
|  |

|  |  |
| --- | --- |
|  | **1** |
|  |
| **S** |

1. *All connections to main water ,electricity and other services to be in accordance with statutory rules .*

**FALL**

**FALL**

**FALL**

**FALL**

**FALL**

S-01

**FALL**

**FALL**

**FALL**

1. *All alterations ,additions and omissions to be done with full consent of the Architect .*

10,650

E-04

1. *All finishes should be to architects specification and approval.*
2. *All top-soil to excavated and dumped out of the site*
3. *All reinforced concrete work {r.c} and trusses should be to structural Engineer specifications .*

**FALL**

*10).All sanitary and sewarage work to comply with the Public Health Regurations*

200 1,000 1,500 3,100 1,500

500

900

200

100

1,000 1,500 3,100 1,500

500

900

200

100

1,000 1,500 3,100 1,500

500

900

100

200

*11).Drainage pipes passing under the building should be encased in 150mm thick concrete surrounding .*

1,800

200

**FALL**

**FALL**

**FALL**

**FALL**

**FALL**

**FALL**

**FALL**

200 8,600 200 8,600 200 8,600 200

S-01

E-03

E-03

*12).Permanent ventilation to be provided above all fenestrations and indicated on plans .*

#### FLOOR PLAN LAYOUT ROOF PLAN LAYOUT

S-01

***DATE***

***REVISION NOTES***

***DESCRIPTION***

*steel casement window 1500mm*

*steel casement window 1500mm steel casement window 1500mm*

*steel casement window 1500mm*

*steel casement window 1500mm*

*steel casement window 1500mm*

*length and 1500mm width*

*length and 1500mm width*

*length and 1500mm width*

#### ELEVATION E-01

*length and 1500mm width*

*length and 1500mm width*

*length and 1500mm width steel casement window 1500mm*

*length and 1500mm width*

*steel casement window 1500mm length and 1500mm width*

*steel casement window 1500mm length and 1500mm width*

*steel casement door 900mm*

*steel casement door 900mm*

*steel casement window 1500mm length and 1500mm width*

*steel casement door 900mm*

*width and 2400mm high*

#### ELEVATION E-03

*width and 2400mm high*

*width and 2400mm high*

**Roof notes to S.E DETAILS**

*-150X50mm rafters*

*-100X50mm struts and ties*

*-150X50mm tie beam*

*-150X50mm Wall plate*

*-28gauge Box profile IT4 prepainted roofing sheets on*

*100X50mm purlin @ 1500mm c/c laid to fall at 30 degree on*

*100 X 50mm wallplate bolted to R.C Ring beam.*

CLIENT:

KAJIADO WEST TTC

CLIENT'S SIGNATURE :

Date:

.................................................................................


PROJECT TITLE:

500

PROPOSED 3NO. CLASSROOMS FOR

KAJIADO WEST TTC

1,500



#### ELEVATION E-02

#### ELEVATION E-04

**FOUNDATION DETAILS**

DOS 150 1,000

*\*100mm by 25mm skirting*

*\*25mm floor screed*

*\*200mm wide d.p.c*

*\*150mm thick floor slab on dump proof membrane on 50mm thick blinding layer*

*\*300mm min thick hardcore fill*

*\*200mm fondation wall*

*\*600mm by 600mm concrete pad and reinforcement to s.e details*

#### SECTION S-01

DRAWING TITLE :

PLAN LAYOUT, ELEVATIONS AND SECTION

Date:Wednesday,May29,2024

SCALE :

1:100

# PART III - CONDITIONS OF CONTRACT AND CONTRACT FORMS

## SECTION VIII - GENERAL CONDITIONS OF CONTRACT

These General Conditions of Contract (GCC), read in conjunction with the Special Conditions of Contract (SCC) and other documents listed therein, should be a complete document expressing fairly the rights and obligations of both parties.

These General Conditions of Contract have been developed on the basis of considerable international experience in the drafting and management of contracts, bearing in mind a trend in the construction industry towards simpler, more straightforward language.

The GCC can be used for both smaller admeasurement contracts and lump sum contracts.

General Conditions of Contract

1. General
2. De**fi**nitions
   1. Bold face type is used to identify defined terms.
3. The Accepted Contract Amount means the amount accepted in the Letter of Acceptance for the execution and completion of the Works and the remedying of any defects.
4. The Activity Schedule is a schedule of the activities comprising the construction, installation, testing, and commissioning of the Works in a lump sum contract. It includes a lump sum price for each activity, which is used for valuations and for assessing the effects of Variations and Compensation Events.
5. The Adjudicator is the person appointed jointly by the Procuring Entity and the Contractor to resolve disputes in the first instance, as provided for in GCC 23.
6. Bill of Quantities means the priced and completed Bill of Quantities forming part of the Bid.
7. Compensation Events are those defined in GCC Clause 42 hereunder.
8. The Completion Date is the date of completion of the Works as certified by the Project Manager, in accordance with GCC Sub-Clause 53.1.
9. The Contract is the Contract between the Procuring Entity and the Contractor to execute, complete, and maintain the Works. It consists of the documents listed in GCC Sub-Clause 2.3 below.
10. The Contractor is the party whose Bid to carry out the Works has been accepted by the Procuring Entity.
11. The Contractor's Bid is the completed bidding document submitted by the Contractor to the Procuring Entity.
12. The Contract Price is the Accepted Contract Amount stated in the Letter of Acceptance and thereafter as adjusted in accordance with the Contract.
13. Days are calendar days; months are calendar months.
14. Day works are varied work inputs subject to payment on a time basis for the Contractor's employees and Equipment, in addition to payments for associated Materials and Plant.
15. ADefect is any part of the Works not completed in accordance with the Contract.
16. The Defects Liability Certificate is the certificate issued by Project Manager upon correction of defects by the Contractor.
17. The Defects Liability Period is the period named in the SCC pursuant to Sub-Clause 34.1 and calculated from the Completion Date.
18. Drawings means the drawings of the Works, as included in the Contract, and any additional and modified drawings issued by (or on behalf of) the Procuring Entity in accordance with the Contract, incluPdaege **959595** of

calculations and other information provided or approved by the Project Manager for the execution of the Contract.

1. The Procuring Entity is the party who employs the Contractor to carry out the Works, as speci**fi**ed in the SCC, who is also the Procuring Entity.
2. Equipment is the Contractor's machinery and vehicles brought temporarily to the Site to construct the Works.
3. “In writing” or “written” means hand-written, type-written, printed or electronically made, and resulting in a permanent record;
4. The Initial Contract Price is the Contract Price listed in the Procuring Entity's Letter of Acceptance.
5. The Intended Completion Date is the date on which it is intended that the Contractor shall complete the Works. The Intended Completion Date is speci**fi**ed in the SCC. The Intended Completion Date may be revised only by the Project Manager by issuing an extension of time or an acceleration order.
6. Materials are all supplies, including consumables, used by the Contractor for incorporation in the Works. w)

Plant is any integral part of the Works that shall have a mechanical, electrical, chemical, or biological function.

1. The Project Manager is the person named in the SCC (or any other competent person appointed by the Procuring Entity and notified to the Contractor, to act in replacement of the Project Manager) who is responsible for supervising the execution of the Works and administering the Contract.
2. SCC means Special Conditions of Contract.
3. The Site is the area of the works as de**fi**ned as such in the SCC.
4. Site Investigation Reports are those that were included in the bidding document and are factual and interpretative reports about the surface and subsurface conditions at the Site.
5. Speci**fi**cation means the Speci**fi**cation of the Works included in the Contract and any modi**fi**cation or addition made or approved by the Project Manager.
6. The Start Date is given in the SCC. It is the latest date when the Contractor shall commence execution of the Works. It does not necessarily coincide with any of the Site Possession Dates.
7. A Subcontractor is a person or corporate body who has a Contract with the Contractor to carry out a part of the work in the Contract, which includes work on the Site.
8. Temporary Works are works designed, constructed, installed, and removed by the Contractor that are needed for construction or installation of the Works.
9. A Variation is an instruction given by the Project Manager which varies the Works.
10. The Works are what the Contract requires the Contractor to construct, install, and turn over to the Procuring Entity, as de**fi**ned in the SCC.
11. Interpretation
    1. In interpreting these GCC, words indicating one gender include all genders. Words indicating the singular also include the plural and words indicating the plural also include the singular. Headings have no significance. Words have their normal meaning under the language of the Contract unless specifically defined. The Project Manager shall provide instructions clarifying queries about these GCC.
    2. If sectional completion is specified in the SCC, references in the GCC to the Works, the Completion Date, and the Intended Completion Date apply to any Section of the Works (other than references to the Completion Date and Intended Completion Date for the whole of the Works).
    3. The documents forming the Contract shall be interpreted in the following order of priority:
12. Agreement,
13. Letter of Acceptance,
14. Contractor's Bid,
15. Special Conditions of Contract,
16. General Conditions of Contract, including Appendices,
17. Specifications,
18. Drawings,
19. Bill of Quantities6, and
20. any other document listed in the SCC as forming part of the Contract.

6In lump sum contracts, delete “Bill of Quantities” and replace with “Activity Schedule.”

1. Language andLaw
   1. The language of the Contract is English Language and the law governing the Contract are the Laws of Kenya.
   2. Throughout the execution of the Contract, the Contractor shall comply with the import of goods and services prohibitions in the Procuring Entity's Country when
2. as a matter of law or official regulations, Kenya prohibits commercial relations with that country; or
3. by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, Kenya prohibits any import of goods from that country or any payments to any country, person, orentity in that country.
4. Project Manager's Decisions
   1. Except where otherwise specifically stated, the Project Manager shall decide contractual matters between the Procuring Entity and the Contractor in the role representing the Procuring Entity.
5. Delegation
   1. Otherwise speci**fi**ed in the SCC, the Project Manager may delegate any of his duties and responsibilities to other people, except to the Adjudicator, after notifying the Contractor, and may revoke any delegation after notifying the Contractor.
6. Communications
   1. Communications between parties that are referred toin the Conditions shall beeffective only whenin writing. A notice shall be effective only when it is delivered.
7. Subcontracting
   1. The Contractor may subcontract with the approval of the Project Manager, but may not assign the Contract without the approval of the Procuring Entity in writing. Subcontracting shall not alter the Contractor's obligations.
8. Other Contractors
   1. The Contractor shall cooperate and share the Site with other contractors, public authorities, utilities, and the Procuring Entity between the dates given in the Schedule of Other Contractors, as referred to in the SCC. The Contractor shall also provide facilities and services for them as described in the Schedule. The Procuring Entity may modify the Schedule of Other Contractors, and shall notify the Contractor of any such modification.
9. Personnel and Equipment
   1. The Contractor shall employ the key personnel and use the equipment identified in its Bid, to carry out the Works or other personnel and equipment approved by the Project Manager. The Project Manager shall approve any proposed replacement of key personnel and equipment only if their relevant qualifications or characteristics are substantially equal to or better than those proposed in the Bid.
   2. If the Project Manager asks the Contractor to remove a person who is a member of the Contractor's staff or work force, stating the reasons, the Contractor shall ensure that the person leaves the Site within seven days and has no further connection with the work in the Contract.
   3. If the Procuring Entity, Project Manager or Contractor determines, that any employee of the Contractor be determined to have engaged in Fraud and Corruption during the execution of the Works, then that employee shall be removed in accordance with Clause 9.2 above.
10. Procuring Entity's and Contractor's Risks
    1. The Procuring Entity carries the risks which this Contract states are Procuring Entity's risks, and the Contractor carries the risks which this Contract states are Contractor's risks.
11. Procuring Entity's Risks
    1. From the Start Date until the Defects Liability Certificate has been issued, the following are Procuring Entity's risks:
12. The risk of personal injury, death, or loss of or damage to property (excluding the Works, Plant, Materials, and Equipment), which are due to
    1. use or occupation of the Site by the Works or for the purpose of the Works, which is the unavoidable result of the Works or
    2. Negligence, breach of statutory duty, or interference with any legal right by the Procuring Entity or by any person employed by or contracted to him except the Contractor.
13. The risk of damage to the Works, Plant, Materials, and Equipment to the extent that it is due to a fault of the Procuring Entity or in the Procuring Entity's design, or due to war or radioactive contamination directly affecting the country where the Works are to be executed.
    1. From the Completion Date until the Defects Liability Certificate has been issued, the risk of loss of or damage to the Works, Plant, and Materials is a Procuring Entity's risk except loss or damage due to
14. a Defect which existed on the Completion Date,
15. an event occurring before the Completion Date, which was not itself a Procuring Entity's risk, or
16. the activities of the Contractor on the Site after the Completion Date.
17. Contractor's Risks
    1. From the Starting Date until the Defects Liability Certificate has been issued, the risks of personal injury, death, and loss of or damage to property (including, without limitation, the Works, Plant, Materials, and Equipment) which are not Procuring Entity's risks are Contractor's risks.
18. Insurance
    1. The Contractor shall provide, in the joint names of the Procuring Entity and the Contractor, insurance cover from the Start Date to the end of the Defects Liability Period, in the amounts and deductibles stated in the SCC for the following events which are due to the Contractor's risks:
19. loss of or damage to the Works, Plant, and Materials;
20. loss of or damage to Equipment;
21. loss of or damage to property (except the Works, Plant, Materials, and Equipment) in connection with the Contract; and
22. personal injury or death.
    1. Policies and certificates for insurance shall be delivered by the Contractor to the Project Manager for the Project Manager's approval before the Start Date. All such insurance shall provide for compensation to be payable in the types and proportions of currencies required to rectify the loss or damage incurred.
    2. If the Contractor does not provide any of the policies and certificates required, the Procuring Entity may effect the insurance which the Contractor should have provided and recover the premiums the Procuring Entity has paid from payments otherwise due to the Contractor or, if no payment is due, the payment of the premiums shall be a debt due.
    3. Alterations to the terms of an insurance shall not be made without the approval of the Project Manager.
    4. Both parties shall comply with any conditions of the insurance policies.
23. Site Data
    1. The Contractor shall be deemed to have examined any Site Data referred to in the SCC, supplemented by any information available to the Contractor.
24. Contractorto Construct the Works
    1. The Contractor shall construct and install the Works in accordance with the Specifications and Drawings.
25. The Works to Be Completed by the Intended Completion Date
    1. The Contractor may commence execution of the Works on the Start Date and shall carry out the Works in accordance with the Program submitted by the Contractor, as updated with the approval of the Project Manager, and complete them by the Intended Completion Date.
26. Approval by the Project Manager
    1. The Contractor shall submit Specifications and Drawings showing the proposed Temporary Works to the Project Manager, for his approval.
    2. The Contractor shall be responsible for design of Temporary Works.
    3. The Project Manager's approval shall not alter the Contractor's responsibility for design of the Temporary Works.
    4. The Contractor shall obtain approval of third parties to the design of the Temporary Works, where required.
    5. All Drawings prepared by the Contractor for the execution of the temporary or permanent Works, are subject to prior approval by the Project Manager before this use.
27. Safety
    1. The Contractor shall be responsible for the safety of all activities on the Site.
28. Discoveries
    1. Anything of historical or other interest or of significant value unexpectedly discovered on the Site shall be the property of the Procuring Entity. The Contractor shall notify the Project Manager of such discoveries and carry out the Project Manager's instructions for dealing with them.
29. Possession of the Site
    1. The Procuring Entity shall give possession of all parts of the Site to the Contractor. If possession of a part is not given by the date stated in the SCC, the Procuring Entity shall be deemed to have delayed the start of the relevant activities, and this shall be a Compensation Event.
30. Access to the Site
    1. The Contractor shall allow the Project Manager and any person authorized by the Project Manager access to the Site and to any place where work in connection with the Contract is being carried out or is intended to be carried out.
31. Instructions, Inspections andAudits
    1. The Contractor shall carry out all instructions of the Project Manager which comply with the applicable laws where the Site is located.
    2. The Contractor shall keep, and shall make all reasonable efforts to cause its Subcontractors and sub- consultants to keep, accurate and systematic accounts and records in respect of the Works in such form and details as will clearly identify relevant time changes and costs.
    3. The Contractor shall permit and shall cause its subcontractors and sub-consultants to permit, the Procuring Entity and/or persons appointed by the Public Procurement Regulatory Authority to inspect the Site and/or the accounts and records relating to the procurement process, selection and/or contract execution, and to have such accounts and records audited by auditors appointed by the Public Procurement Regulatory Authority. The Contractor's and its Subcontractors' and sub-consultants' attention is drawn to Sub-Clause

25.1 (Fraud and Corruption) which provides, inter alia, that acts intended to materially impede the exercise of the Public Procurement Regulatory Authority's inspection and audit rights constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Public Procurement Regulatory Authority's prevailing sanctions procedures).

1. Appointment of the Adjudicator
   1. The Adjudicator shall be appointed jointly by the Procuring Entity and the Contractor, at the time of the Procuring Entity's issuance of the Letter of Acceptance. If, in the Letter of Acceptance, the Procuring Entity does not agree on the appointment of the Adjudicator, the Procuring Entity will request the Appointing Authority designated in the SCC, to appoint the Adjudicator within 14 days of receipt of such request.
   2. Should the Adjudicator resign or die, or should the Procuring Entity and the Contractor agree that the Adjudicator is not functioning in accordance with the provisions of the Contract, a new Adjudicator shall be jointly appointed by the Procuring Entity and the Contractor. In case of disagreement between the Procuring Entity and the Contractor, within 30 days, the Adjudicator shall be designated by the Appointing Authority designated in the SCC at the request of either party, within 14 days of receipt of such request.
2. Settlement of Claims and Disputes
   1. Contractor's Claims
      1. If the Contractor considers itself to be entitled to any extension of the Time for Completion and/or any additional payment, under any Clause of these Conditions or otherwise in connection with the Contract, the Contractor shall give Notice to the Project Manager, describing the event or circumstance giving rise to the claim. The notice shall be given as soon as practicable, and not later than 30 days after the Contractor became aware, or should have become aware, of the event or circumstance.
      2. If the Contractor fails to give notice of a claim within such period of 30 days, the Time for Completion shall not be extended, the Contractor shall not be entitled to additional payment, and the Procuring Entity shall be discharged from all liability in connection with the claim. Otherwise, the following provisions of this Sub- Clause shall apply.
      3. The Contractor shall also submit any other notices which are required by the Contract, and supporting particulars for the claim, all as relevant to such event or circumstance.
      4. The Contractor shall keep such contemporary records as may be necessary to substantiate any claim, either on the Site or at another location acceptable to the Project Manager. Without admitting the Procuring Entity's liability, the Project Manager may, after receiving any notice under this Sub-Clause, monitor the record- keeping and/or instruct the Contractor to keep further contemporary records. The Contractor shall permit the Project Manager to inspect all these records, and shall (if instructed) submit copies to the Project Manager.
      5. Within 42 days after the Contractor became aware (or should have become aware) of the event or circumstance giving rise to the claim, or within such other period as may be proposed by the Contractor and approved by the Project Manager, the Contractor shall send to the Project Manager a fully detailed claim which includes full supporting particulars of the basis of the claim and of the extension of time and/or additional payment claimed. If the event or circumstance giving rise to the claim has a continuing effect:
         1. this fully detailed claim shall be considered as interim;
         2. the Contractor shall send further interim claims at monthly intervals, giving the accumulated delay and/or amount claimed, and such further particulars as the Project Manager may reasonably require; and
         3. the Contractor shall send a final claim within 30 days after the end of the effects resulting from the event or circumstance, or within such other period as may be proposed by the Contractor and approved by the Project Manager.
      6. Within 42 days after receiving a Notice of a claim or any further particulars supporting a previous claim, or within such other period as may be proposed by the Project Manager and approved by the Contractor, the Project Manager shall respond with approval, or with disapproval and detailed comments. He may also request any necessary further particulars, but shall nevertheless give his response on the principles of the claim within the above defined time period.
      7. Within the above defined period of 42 days, the Project Manager shall proceed in accordance with Sub- Clause
      8. [Determinations] to agree or determine (i) the extension (if any) of the Time for Completion (before or after its expiry) in accordance with Sub-Clause 8.4 [Extension of Time for Completion], and/or (ii) the

additional payment (if any) to which the Contractor is entitled under the Contract.

Page **100100**

* + 1. Each Payment Certificate shall include such additional payment for any claim as has been reasonably substantiated as due under the relevant provision of the Contract. Unless and until the particulars supplied are sufficient to substantiate the whole of the claim, the Contractor shall only be entitled to payment for such part of the claim as he has been able to substantiate.
    2. If the Project Manager does not respond within the timeframe defined in this Clause, either Party may consider that the claim is rejected by the Project Manager and any of the Parties may refer to Arbitration in accordance with Sub-Clause 24.4 [Arbitration].
    3. The requirements of this Sub-Clause are in addition to those of any other Sub-Clause which may apply to a claim. If the Contractor fails to comply with this or another Sub-Clause in relation to any claim, any extension of time and/or additional payment shall take account of the extent (if any) to which the failure has prevented or prejudiced proper investigation of the claim, unless the claim is excluded under the second paragraph of this Sub-Clause 24.3.
  1. Amicable Settlement
     1. Where a notice of a claim has been given, both Parties shall attempt to settle the dispute amicably before the commencement of arbitration. However, unless both Parties agree otherwise, the Party giving a notice of a claim in accordance with Sub-Clause 24.1 above should move to commence arbitration after the fifty-sixth day from the day on which a notice of a claim was given, even if no attempt at an amicable settlement has been made.
  2. Matters that may be referred to arbitration
     1. Notwithstanding anything stated herein the following matters may be referred to arbitration before the practical completion of the Works or abandonment of the Works or termination of the Contract by either party:
        1. The appointment of a replacement Project Manager upon the said person ceasing to act.
        2. Whether or not the issue of an instruction by the Project Manager is empowered by these Conditions.
        3. Whether or not a certificate has been improperly withheld or is not in accordance with these Conditions.

1. Any dispute arising in respect of war risks or war damage.
2. All other matters shall only be referred to arbitration after the completion or alleged completion of the Works or termination or alleged termination of the Contract, unless the Procuring Entity and the Contractor agree otherwisein writing.
   1. Arbitration
      1. Any claim or dispute between the Parties arising out of or in connection with the Contract not settled amicably in accordance with Sub-Clause 24.3 shall be finally settled by arbitration.
      2. No arbitration proceedings shall be commenced on any claim or dispute where notice of a claim or dispute has not been given by the applying party within ninety days of the occurrence or discovery of the matter or issue giving rise to the dispute.
      3. Notwithstanding the issue of a notice as stated above, the arbitration of such a claim or dispute shall not commence unless an attempt has in the first instance been made by the parties to settle such claim or dispute amicably with or without the assistance of third parties. Proof of such attempt shall be required.
      4. The Arbitrator shall, without prejudice to the generality of his powers, have powers to direct such measurements, computations, tests or valuations as may in his opinion be desirable in order to determine the rights of the parties and assess and award any sums which ought to have been the subject of or included in any certificate.
      5. The Arbitrator shall, without prejudice to the generality of his powers, have powers to open up, review and revise any certificate, opinion, decision, requirement or notice and to determine all matters in dispute which shall be submitted to him in the same manner as if no such certificate, opinion, decision requirement or notice had been given.
      6. The arbitrators shall have full power to open up, review and revise any certificate, determination, instruction, opinion or valuation of the Project Manager, relevant to the dispute. Nothing shall disqualify representatives of the Parties and the Project Manager from being called as a witness and giving evidence before the arbitrators on any matter whatsoever relevant to the dispute.
      7. Neither Party shall be limited in the proceedings before the arbitrators to the evidence, or to the reasons for dissatisfaction given in its Notice of Dissatisfaction.
      8. Arbitration may be commenced prior to or after completion of the Works. The obligations of the Parties, and the Project Manager shall not be altered by reason of any arbitration being conducted during the progress of the Works.
      9. The terms of the remuneration of each or all the members of Arbitration shall be mutually agreed upon by the Parties when agreeing the terms of appointment. Each Party shall be responsible for paying one-half of this remuneration.
   2. Arbitration with National Contractors

Page **101101**

* + 1. If the Contract is with national contractors, arbitration proceedings will be conducted in accordance with the Arbitration Laws of Kenya. In case of any claim or dispute, such claim or dispute shall be notified in writing by either party to the other with a request to submit it to arbitration and to concur in the appointment of an Arbitrator within thirty days of the notice. The dispute shall be referred to the arbitration and final decision of a person to be agreed between the parties. Failing agreement to concur in the appointment of an Arbitrator, the Arbitrator shall be appointed, on the request of the applying party, by the Chairman or Vice Chairman of any of the following professional institutions;

1. Architectural Association of Kenya
2. Institute of Quantity Surveyors of Kenya
3. Association of Consulting Engineers of Kenya
4. Chartered Institute of Arbitrators (Kenya Branch)
5. Institution of Engineers of Kenya
   * 1. The institution written to first by the aggrieved party shall take precedence over all other institutions.
   1. AlternativeArbitration Proceedings
      1. Alternatively, the Parties may refer the matter to the Nairobi Centre for International Arbitration (NCIA) which offers a neutral venue for the conduct of national and international arbitration with commitment to providing institutional support to the arbitral process.
   2. Failure to Comply withArbitrator's Decision
      1. The award of such Arbitrator shall be final and binding upon the parties.
      2. In the event that a Party fails to comply with a final and binding Arbitrator's decision, then the other Party may, without prejudice to any other rights it may have, refer the matter to a competent court of law.
   3. Contract operations to continue
      1. Notwithstanding any reference to arbitration herein,
         1. theparties shall continueto perform their respective obligations underthe Contractunless theyotherwise agree; and
         2. the Procuring Entity shall pay the Contractor any monies due the Contractor.
6. Fraud andCorruption
   1. The Government requires compliance with the country's Anti-Corruption laws and its prevailing sanctions policies and procedures as set forth in the Constitution of Kenya and its Statutes.
   2. The Procuring Entity requires the Contractor to disclose any commissions or fees that may have been paid or are to be paid to agents or any other party with respect to the bidding process or execution of the Contract. The information disclosed must include at least the name and address of the agent or other party, the amount and currency, and the purpose of the commission, gratuity or fee.
7. Time Control
8. Program
   1. Within the time stated in the SCC, after the date of the Letter of Acceptance, the Contractor shall submit to the Project Manager for approval a Program showing the general methods, arrangements, order, and timing for all the activities in the Works. In the case of a lump sum contract, the activities in the Program shall be consistent with those in the Activity Schedule.
   2. An update of the Program shall be a program showing the actual progress achieved on each activity and the effect of the progress achieved on the timing of the remaining work, including any changes to the sequence of the activities.
   3. The Contractor shall submit to the Project Manager for approval an updated Program at intervals no longer than the period stated in the SCC. If the Contractor does not submit an updated Program within this period, the Project Manager may withhold the amount stated in the SCC from the next payment certificate and continue to withhold this amount until the next payment after the date on which the overdue Program has been submitted. In the case of a lump sum contract, the Contractor shall provide an updated Activity Schedule within 14 days of being instructed to by the Project Manager.
   4. The Project Manager's approval of the Program shall not alter the Contractor's obligations. The Contractor

may revise the Program and submit it to the Project Manager again at any time. A revised Program shaPlalge **102102**

show the effect of Variations and Compensation Events.

1. Extension of the Intended Completion Date
   1. The Project Manager shall extend the Intended Completion Date if a Compensation Event occurs or a Variation is issued which makes it impossible for Completion to be achieved by the Intended Completion Date without the Contractor taking steps to accelerate the remaining work, which would cause the Contractor to incur additional cost.
   2. The Project Manager shall decide whether and by how much to extend the Intended Completion Date within 21 days of the Contractor asking the Project Manager for a decision upon the effect of a Compensation Event or Variation and submitting full supporting information. If the Contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay by this failure shall not be considered in assessing the new Intended Completion Date.
2. Acceleration
   1. When the Procuring Entity wants the Contractor to finish before the Intended Completion Date, the Project Manager shall obtain priced proposals for achieving the necessary acceleration from the Contractor. If the Procuring Entity accepts these proposals, the Intended Completion Date shall be adjusted accordingly and confirmed by both the Procuring Entity and the Contractor.
   2. If the Contractor's priced proposals for an acceleration are accepted by the Procuring Entity, they are incorporated in the Contract Price and treated as a Variation.
3. Delays Ordered by the Project Manager
   1. The Project Manager may instruct the Contractor to delay the start or progress of any activity within the Works.
4. Management Meetings
   1. Either the Project Manager or the Contractor may require the other to attend a management meeting. The business of a management meeting shall be to review the plans for remaining work and to deal with matters raised in accordance with the early warning procedure.
   2. The Project Manager shall record the business of management meetings and provide copies of the record to those attending the meeting and to the Procuring Entity. The responsibility of the parties for actions to be taken shall be decided by the Project Manager either at the management meeting or after the management meeting andstated in writing to all who attended themeeting.
5. Early Warning
   1. The Contractor shall warn the Project Manager at the earliest opportunity of specific likely future events or circumstances that may adversely affect the quality of the work, increase the Contract Price, or delay the execution of the Works. The Project Manager may require the Contractor to provide an estimate of the expected effect of the future event or circumstance on the Contract Price and Completion Date. The estimate shall be provided by the Contractor as soon as reasonably possible.
   2. The Contractor shall cooperate with the Project Manager in making and considering proposals for how the effect of such an event or circumstance can be avoided or reduced by anyone involved in the work and in carrying out any resulting instruction of the Project Manager.
6. Quality Control
7. Identifying Defects
   1. The Project Manager shall check the Contractor's work and notify the Contractor of any Defects that are found. Such checking shall not affect the Contractor's responsibilities. The Project Manager may instruct the Contractor to search for a Defect and to uncover and test any work that the Project Manager considers may have a Defect.
8. Tests
   1. If the Project Manager instructs the Contractor to carry out a test not specified in the Specification to check whether any work has a Defect and the test shows that it does, the Contractor shall pay for the test and any samples. If there is no Defect, the test shall be a Compensation Event.
9. Correction of Defects
   1. The Project Manager shall give notice to the Contractor of any Defects before the end of the Defects Liability Period, which begins at Completion, and is defined in the SCC. The Defects Liability Period shall be extended for as long as Defects remain to be corrected.
   2. Every time notice of a Defect is given, the Contractor shall correct the notified Defect within the length of time specified by the Project Manager's notice.
10. Uncorrected Defects
    1. If the Contractorhasnot corrected a Defectwithinthetimespecifiedinthe Project Manager'snotice, the Project Manager shall assess the cost of having the Defect corrected, and the Contractor shall pay this amount.
11. Cost Control
12. Contract Price7
    1. The Bill of Quantities shall contain priced items for the Works to be performed by the Contractor. The Bill of Quantities is used to calculate the Contract Price. The Contractor will be paid for the quantity of the work accomplished at therate in the Bill of Quantities for each item.
13. Changes in the Contract Price8
    1. If the final quantity of the work done differs from the quantity in the Bill of Quantities for the particular item by more than 25 percent, provided the change exceeds 1 percent of the Initial Contract Price, the Project Manager shall adjust the rate to allow for the change. The Project Manager shall not adjust rates from changes in quantities if thereby the Initial Contract Price is exceeded by more than 15 percent, except with the prior approval of the Procuring Entity.
    2. If requested by the Project Manager, the Contractor shall provide the Project Manager with a detailed cost breakdown of any rate in the Bill of Quantities.
14. Variations
    1. All Variations shall be included in updated Programs9 produced by the Contractor.
    2. The Contractor shall provide the Project Manager with a quotation for carrying out the Variation when requested to do so by the Project Manager. The Project Manager shall assess the quotation, which shall be given within seven (7) days of the request or within any longer period stated by the Project Manager and before the Variation is ordered.
    3. If the Contractor's quotation is unreasonable, the Project Manager may order the Variation and make a change to the Contract Price, which shall be based on the Project Manager's own forecast of the effects of the Variation on the Contractor's costs.
    4. If the Project Manager decides that the urgency of varying the work would prevent a quotation being given and considered without delaying the work, no quotation shall be given and the Variation shall be treated as a Compensation Event.

7In lump sum contracts, replace GCC Sub-Clauses 36.1 as follows:

36.1 The Contractor shall provide updated Activity Schedules within 14 days of being instructed to by the Project Manager. The Activity Schedule shall contain the priced activities for the Works to be performed by the Contractor. The Activity Schedule is used to monitor and control the performance of activities on which basis the Contractor will be paid. If payment for materials on site shall be made separately, the Contractor shall show delivery of Materials to the Site separately on the Activity Schedule.

8In lump sum contracts, replace entire GCC Clause 37 with new GCC Sub-Clause 37.1, as follows:

The Activity Schedule shall be amended by the Contractor to accommodate changes of Program or method of working made at the Contractor's own discretion. Prices in the Activity Schedule shall notbe altered when the Contractormakes such changes to the Activity Schedule.

9In lump sum contracts, add “and Activity Schedules” after “Programs.” 10In lump sum contracts, delete this paragraph.

* 1. The Contractor shall not be entitled to additional payment for costs that could have been avoided by giving early warning
  2. If the work in the Variation corresponds to an item description in the Bill of Quantities and if, in the opinion of the Project Manager, the quantity of work above the limit stated in Sub-Clause 39.1 or the timing of its execution do not cause the cost per unit of quantity to change, the rate in the Bill of Quantities shall be used to calculate the value of the Variation. If the cost per unit of quantity changes, or if the nature or timing of the work in the Variation does not correspond with items in the Bill of Quantities, the quotation by the Contractor shall be in the form of new rates for the relevant items of work
  3. Value Engineering: The Contractor may prepare, at its own cost, a value engineering proposal at any time during the performance of the contract. The value engineering proposal shall, at a minimum, include the following;

1. the proposed change(s), and a description of the difference to the existing contract requirements;
2. a full cost/benefit analysis of the proposed change(s) including a description and estimate of costs (including life cycle costs) the Procuring Entity may incur in implementing the value engineering proposal; and
3. a description of any effect(s) of the change on performance/functionality.
   1. The Procuring Entity may accept the value engineering proposal if the proposal demonstrates benefits that:
4. accelerate the contract completion period; or
5. reduce the Contract Price or the life cycle costs to the Procuring Entity; or
6. improve the quality, efficiency, safety or sustainability of the Facilities; or
7. yield any other benefits to the Procuring Entity, without compromising the functionality of the Works.
   1. If the value engineering proposal is approved by the Procuring Entity and results in:
8. a reduction of the Contract Price; the amount to be paid to the Contractor shall be the percentage speci**fi**ed in the SCC of the reduction in the Contract Price; or
9. an increase in the Contract Price; but results in a reduction in life cycle costs due to any benefit described in
   1. to (d) above, the amount to be paid to the Contractor shall be the full increase in the Contract Price.
10. Cash FlowForecasts
    1. When the Program11, is updated, the Contractor shall provide the Project Manager with an updated cash flow forecast. The cash flow forecast shall include different currencies, as defined in the Contract, converted as necessary using the Contract exchange rates.
11. Payment Certi**fi**cates
    1. The Contractor shall submit to the Project Manager monthly statements of the estimated value of the work executed less the cumulative amount certified previously.
    2. The Project Manager shall check the Contractor's monthly statement and certify the amount to be paid to the Contractor.
    3. The value of work executed shall be determined by the Project Manager.
    4. The value of work executed shall comprise the value of the quantities of work in the Bill of Quantities that have been completed12.
    5. The value of work executed shall include the valuation of Variations and Compensation Events.
    6. The Project Manager may exclude any item certified in a previous certificate or reduce the proportion of any item previously certified in any certificate in the light of later information.
    7. Where the contract price is different from the corrected tender price, in order to ensure the contractor is not paid less or more relative to the contract price (which would be the tender price), payment valuation certificates and variation orders on omissions and additions valued based on rates in the Bill of Quantities or schedule of rates in the Tender, will be adjusted by a plus or minus percentage. The percentage already worked out during tender evaluation is worked out as follows: (corrected tender price – tender price)/tender price X 100.
12. Payments
    1. Payments shall be adjusted for deductions for advance payments and retention. The Procuring Entity shall pay the Contractor the amounts certified by the Project Manager within 30 days of the date of each certificate. If the Procuring Entity makes a late payment, the Contractor shall be paid interest on the late payment in the next payment. Interest shall be calculated from the date by which the payment should have been made up to the date when the late payment is made at the prevailing rate of interest for commercial borrowing for each of the currencies in which payments are made.
    2. If an amount certified is increased in a later certificate or as a result of an award by the Adjudicator or an Arbitrator, the Contractor shall be paid interest upon the delayed payment as set out in this clause. Interest shall be calculated from the date upon which the increased amount would have been certified in the absence of dispute.
    3. Unless otherwise stated, all payments and deductions shall be paid or charged in the proportions of currencies comprising the Contract Price.
    4. Items of the Works for which no rate or price has been entered in shall not be paid for by the Procuring Entity and shall be deemed covered by other rates and prices in the Contract.
13. Compensation Events
    1. The following shall be Compensation Events:
14. The Procuring Entity does not give access to a part of the Site by the Site Possession Date pursuant to GCC Sub-Clause 20.1.
15. The Procuring Entity modifies the Schedule of Other Contractors in a way that affects the work of the Contractor under the Contract.
16. The Project Manager orders a delay or does not issue Drawings, Specifications, or instructions required for execution of the Works on time.
17. The Project Manager instructs the Contractor to uncover or to carry out additional tests upon work, which is then found to have no Defects.
18. The Project Manager unreasonably does not approve a subcontract to be let.
19. Ground conditions are substantially more adverse than could reasonably have been assumed before issuance of the Letter of Acceptance from the information issued to bidders (including the Site Investigation Reports), from information available publicly and from a visual inspection of the Site.
20. The Project Manager gives an instruction for dealing with an unforeseen condition, caused by the Procuring Entity, or additional work required for safety or other reasons.
21. Other contractors, public authorities, utilities, or the Procuring Entity does not work within the dates and other constraints stated in the Contract, and they cause delay or extra cost to the Contractor.
22. The advance payment is delayed.
23. The effects on the Contractor of any of the Procuring Entity's Risks.
24. The Project Manager unreasonably delays issuing a Certificate of Completion.
    1. If a Compensation Event would cause additional cost or would prevent the work being completed before the Intended Completion Date, the Contract Price shall be increased and/or the Intended Completion Date shall be extended. The Project Manager shall decide whether and by how much the Contract Price shall be increased and whether and by how much the Intended Completion Date shall be extended.
    2. As soon as information demonstrating the effect of each Compensation Event upon the Contractor's forecast cost has been provided by the Contractor, it shall be assessed by the Project Manager, and the Contract Price shall be adjusted accordingly. If the Contractor's forecast is deemed unreasonable, the Project Manager shall adjust the Contract Price based on the Project Manager's own forecast. The Project Manager shall assume that the Contractor shall react competently and promptly to the event.

11In lump sum contracts, add “or Activity Schedule” after “Program.”

12In lump sum contracts, replace this paragraph with the following: “The value of work executed shall comprise the value of completed activities in the Activity Schedule.”

* 1. The Contractor shall not be entitled to compensation to the extent that the Procuring Entity's interests are adversely affected by the Contractor's not having given early warning or not having cooperated with the Project Manager.

1. Tax
   1. The Project Manager shall adjust the Contract Price if taxes, duties, and other levies are changed between the date 30 days before the submission of bids for the Contract and the date of the last Completion certificate. The adjustment shall be the change in the amount of tax payable by the Contractor, provided such changes are not already reflected in the Contract Price or are a result of GCC Clause 44.
2. Currency y of Payment
   1. All payments under the contract shall be made in Kenya Shillings
3. Price Adjustment
   1. Prices shall be adjusted for fluctuations in the cost of inputs only if provided for in the SCC. If so provided, the amounts certified in each payment certificate, before deducting for Advance Payment, shall be adjusted by applying the respective price adjustment factor to the payment amounts due in each currency. A separate formula of the type specified below applies:

P = A + B Im/Io

where: P is the adjustment factor for the portion of the

Contract Price payable.

A and B are coef**fi**cients13 speci**fi**ed in the SCC, representing the non-adjustable and adjustable portions, respectively, of the Contract Price payable and Im is the index prevailing at the end of the month being invoiced and IOC is the index prevailing 30 days before Bid opening for inputs payable.

* 1. If the value of the index is changed after it has been used in a calculation, the calculation shall be corrected and an adjustment made in the next payment certificate. The index value shall be deemed to take account of all changes in cost due to fluctuations in costs.

1. Retention
   1. The Procuring Entity shall retain from each payment due to the Contractor the proportion stated in the SCC until Completion of the whole of the Works.
   2. Upon the issue of a Certificate of Completion of the Works by the Project Manager, in accordance with GCC 53.1, half the total amount retained shall be repaid to the Contractor and half when the Defects Liability Period has passed and the Project Manager has certified that all Defects notified by the Project Manager to the Contractor before the end of this period have been corrected. The Contractor may substitute retention money with an “on demand” Bank guarantee.
2. Liquidated Damages
   1. The Contractor shall pay liquidated damages to the Procuring Entity at the rate per day stated in the SCC for each day that the Completion Date is later than the Intended Completion Date. The total amount of liquidated damages shall not exceed the amount defined in the SCC. The Procuring Entity may deduct liquidated damages from payments due to the Contractor. Payment of liquidated damages shall not affect the Contractor's liabilities.
   2. If the Intended Completion Date is extended after liquidated damages have been paid, the Project Manager shall correct any overpayment of liquidated damages by the Contractor by adjusting the next payment certificate. The Contractor shall be paid interest on the overpayment, calculated from the date of payment to the date of repayment, at the rates specified in GCC Sub-Clause 41.1.
3. Bonus
   1. The Contractor shall be paid a Bonus calculated at the rate per calendar day stated in the SCC for each day (less any days for which the Contractor is paid for acceleration) that the Completion is earlier than the Intended Completion Date. The Project Manager shall certify that the Works are complete, although they

may not be due to be complete.

Page **107107**

1. Advance Payment
   1. The Procuring Entity shall make advance payment to the Contractor of the amounts stated in the SCC by the date stated in the SCC, against provision by the Contractor of an Unconditional Bank Guarantee in a form and by a bank acceptable to the Procuring Entity in amounts and currencies equal to the advance payment. The Guarantee shall remain effective until the advance payment has been repaid, but the amount of the Guarantee shall be progressively reduced by the amounts repaid by the Contractor. Interest shall not be charged on the advance payment.
   2. The Contractor is to use the advance payment only to pay for Equipment, Plant, Materials, and mobilization expenses required specifically for execution of the Contract. The Contractor shall demonstrate that advance payment has been used in this way by supplying copies of invoices or other documents to the Project Manager.
   3. The advance payment shall be repaid by deducting proportionate amounts from payments otherwise due to the Contractor, following the schedule of completed percentages of the Works on a payment basis. No account shall be taken of the advance payment or its repayment in assessing valuations of work done, Variations, price adjustments, Compensation Events, Bonuses, or Liquidated Damages.

*c c*

1. Securities
   1. The Performance Security shall be provided to the Procuring Entity no later than the date specified in the Letter of Acceptance and shall be issued in an amount speci**fi**ed in the SCC, by a bank or surety acceptable to the Procuring Entity, and denominated in the types and proportions of the currencies in which the Contract Price is payable. The Performance Security shall be valid until a date 28 day from the date of issue of the Certificate of Completion in the case of a Bank Guarantee, and until one year from the date of issue of the Completion Certificate in the case of a Performance Bond.
2. Dayworks
   1. If applicable, the Dayworks rates in the Contractor's Bid shall be used only when the Project Manager has given written instructions in advance for additional work to be paid for in that way.
   2. All work to be paid for as Dayworks shall be recorded by the Contractor on forms approved by the Project Manager. Each completed form shall be verified and signed by the Project Manager within two days of the work being done.
   3. The Contractor shall be paid for Dayworks subject to obtaining signed Dayworks forms.
3. Cost of Repairs
   1. Loss or damage to the Works or Materials to be incorporated in the Works between the Start Date and the end of the Defects Correction periods shall be remedied by the Contractor at the Contractor's cost if the loss or damage arises from the Contractor's acts or omissions.
4. Finishing theContract
5. Completion
   1. The Contractor shall request the Project Manager to issue a Certificate of Completion of the Works, and the Project Manager shall do so upon deciding that the whole of the Works is completed.
6. Taking Over
   1. The Procuring Entity shall take over the Site and the Works within seven days of the Project Manager's issuing a certificate of Completion.
7. Final Account
   1. The Contractor shall supply the Project Manager with a detailed account of the total amount that the Contractor considers payable under the Contract before the end of the Defects Liability Period. The Project Manager shall issue a Defects Liability Certificate and certify any final payment that is due to the Contractor within 56 days of receiving the Contractor's account if it is correct and complete. If it is not, the Project Manager shall issue within 56 days a schedule that states the scope of the corrections or additions that are necessary. If the Final Account is still unsatisfactory after it has been resubmitted, the Project Manager shall decide on the amount payable to the Contractor and issue a payment certificate.

13The sum of the two coef*fi*cients A and B should be 1 (one) in the formula for each currency. Normally, both coef*fi*cients shall be the same in the formulae for all currencies, since coef*fi*cient A, for the non-adjustable portion of the payments, is a very approximate *fi*gure (usually 0.15) to take account of *fi*xed cost elements or other non-adjustable components. The sum of the adjustments for each currency are added to the Contract Price.

1. Operating and Maintenance Manuals
   1. If “as built” Drawings and/or operating and maintenance manuals are required, the Contractor shall supply them by the dates stated in the SCC.
   2. If the Contractor does not supply the Drawings and/or manuals by the dates stated in the SCC pursuant to GCC Sub-Clause 56.1, or they do not receive the Project Manager's approval, the Project Manager shall withhold the amount stated in the SCC from payments due to the Contractor.
2. Termination
   1. The Procuring Entity or the Contractor may terminate the Contract if the other party causes a fundamental breach of the Contract.
   2. Fundamental breaches of Contract shall include, but shall not be limited to, the following:
3. the Contractor stops work for 30 days when no stoppage of work is shown on the current Program and the stoppage has not been authorized by the Project Manager;
4. the Project Manager instructs the Contractor to delay the progress of the Works, and the instruction is not withdrawn within 30 days;
5. the Procuring Entity or the Contractor is made bankrupt or goes into liquidation other than for a reconstruction oramalgamation;
6. a payment certified by the Project Manager is not paid by the Procuring Entity to the Contractor within 84 days of the date of the Project Manager's certificate;
7. the Project Manager gives Notice that failure to correct a particular Defect is a fundamental breach of Contract and the Contractor fails to correct it within a reasonable period of time determined by the Project Manager;
8. the Contractor does not maintain a Security, which is required;
9. the Contractor has delayed the completion of the Works by the number of days for which the maximum amount of liquidated damages can be paid, as de**fi**ned in the SCC; or
10. if the Contractor, in the judgment of the Procuring Entity has engaged in Fraud and Corruption, as defined in paragraph 2.2 a of the Appendix A to the GCC, in competing for or in executing the Contract, then the Procuring Entity may, after giving fourteen (14) days written notice to the Contractor, terminate the Contract and expel him from the Site.
    1. Notwithstanding the above, the Procuring Entity may terminate the Contract for convenience.
    2. If the Contract is terminated, the Contractor shall stop work immediately, make the Site safe and secure, and leave the Site as soon as reasonably possible.
    3. When either party to the Contract gives notice of a breach of Contract to the Project Manager for a cause other than those listed under GCC Sub-Clause 56.2 above, the Project Manager shall decide whether the breach is fundamental ornot.
11. Payment upon Termination
    1. If the Contract is terminated because of a fundamental breach of Contract by the Contractor, the Project Manager shall issue a certificate for the value of the work done and Materials ordered less advance payments received up to the date of the issue of the certificate and less the percentage to apply to the value of the work not completed, as specified in the SCC. Additional Liquidated Damages shall not apply. If the total amount due to the Procuring Entity exceeds any payment due to the Contractor, the difference shall be a debt payable to the Procuring Entity.
    2. If the Contract is terminated for the Procuring Entity's convenience or because of a fundamental breach of Contract by the Procuring Entity, the Project Manager shall issue a certificate for the value of the work done, Materials ordered, the reasonable cost of removal of Equipment, repatriation of the Contractor's personnel employed solely on the Works, and the Contractor's costs of protecting and securing the Works, and less advance payments received up to the date of the certificate.
12. Property
    1. All Materials on the Site, Plant, Equipment, Temporary Works, and Works shall be deemed to be the property of the Procuring Entity if the Contract is terminated because of the Contractor's default.
13. Release from Performance
    1. If the Contract is frustrated by the outbreak of war or by any other event entirely outside the control of either the Procuring Entity or the Contractor, the Project Manager shall certify that the Contract has been frustrated. The Contractor shall make the Site safe and stop work as quickly as possible after receiving this certificate and shall be paid for all work carried out before receiving it and for any work carried out afterwards to which a commitment wasmade.

SECTION IX - SPECIAL CONDITIONS OF CONTRACT

Except where otherwise speci*fi*ed, all Special Conditions of Contract should be *fi*lled in by the Procuring Entity prior to issuance of the bidding document. Schedules and reports to be provided bythe Procuring Entity should be annexed.

|  |  |
| --- | --- |
| Number of GC  Clause | Amendments of, and Supplements to, Clauses in the General Conditions of Contract |
| A. General | |
| GCC 1.1 (q) | The Procuring Entity is:  Kajiado West Technical and Vocational College, Box 1085-00208,  Ngong Hills, Kenya |
| GCC 1.1 (u) | The Intended Completion Date for the whole of the Works shall be 6 months. |
| GCC 1.1 (x) | The Project Manager is:  Department of Public works.  Authorized Representative: Appointed Works Engineer |
| GCC 1.1 (z) | The Site is located at oloisho-oibor in Kajaido West Constituency and is defined in  drawings No. |
| GCC 1.1 (cc) | The Start Date shall be agreed upon at the time of signing the contract. |
| GCC 1.1 (gg) | The Works consist of the following:   1. Building works; 2. Other works as may be instructed by the project manager. |
| GCC 2.2 | Sectional Completions are: N/A |
| GCC 5.1 | The Project manager may delegate any of his duties and responsibilities. |
| GCC 8.1 | Schedule of other contractors: N/A |
| GCC 9.1 | Key Personnel  GCC 9.1 is replaced with the following:  9.1 Key Personnel are the Contractor’s personnel named in this GCC 9.1 of the Special Conditions of Contract. The Contractor shall employ the Key Personnel and use the equipment identified in its Bid, to carry out the Works or other personnel and equipment approved by the Project Manager. The Project Manager shall approve any proposed replacement of Key Personnel and equipment only if their relevant qualifications or characteristics are substantially equal to or better than those proposed in the Bid.  [insert the name/s of each Key Personnel agreed by the Procuring Entity prior to  Contract signature.] |
| GCC 13.1 | The minimum insurance amounts and deductibles shall be:   1. for loss or damage to the Works, Plant and Materials: Kshs. 500,000.00 2. For loss or damage to Equipment: Kshs. 500,000.00 3. for loss or damage to property (except the Works, Plant, Materials, and Equipment) in |

|  |  |
| --- | --- |
| Number of GC  Clause | Amendments of, and Supplements to, Clauses in the General Conditions of Contract |
|  | connection with Contract Kshs. 500,000.00   1. for personal injury or death:    1. of the Contractor’s employees: Kshs. 1,000,000.00.    2. of other people: Kshs. 1,000,000.00. |
| GCC 14.1 | Site Data are: To be stated in the contract |
| GCC 20.1 | The Site Possession Date(s) shall be: To be stated in the contract |
| GCC 23.1 &  GCC 23.2 | Appointing Authority for the Adjudicator: N/A. |
| Hourly rate and types of reimbursable expenses to be paid to the Adjudicator: N/A |
| B. Time Control | |
| GCC 26.1 | The Contractor shall submit for approval a Program for the Works within fourteen (14) days  from the date of the Letter of Acceptance. |
| GCC 26.3 | The period between Program updates is thirty (30) days.  The amount to be withheld for late submission of an updated Program is amount in the subsequent certificate |
| C. Quality Control | |
| GCC 34.1 | The Defects Liability Period is: 180 days. |
| D. Cost Control | |
| GCC 38.9 | If the value engineering proposal is approved by the Procuring Entity the amount to be paid to  the Contractor shall be N/A |
| GCC 44.1 | The currency of the Procuring Entity’s Country is: Kenya Shillings |
| GCC 45.1 | The Contract is not subject to price adjustment in accordance with GCC Clause 45, and the  following information regarding coefficients does not apply. The coefficients for adjustment of prices are:  (a) [insert percentage] percent nonadjustable element (coefficient A).  (ib) [insert percentage] percent adjustable element (coefficient B).  (c) The Index I for shall be [insert index]. |
| GCC 46.1 | The proportion of payments retained is: Ten (10) percent. |
| GCC 47.1 | The liquidated damages for the whole of the Works are 0.05 percent of the Contract Price per  day. The maximum number of liquidated damages for the whole of the Works is five (5) percent of the final Contract Price. |
| GCC 48.1 | This clause will not be applicable in the contract. |
| GCC 49.1 | The Advance Payments shall be to a maximum of 20% of the contract amount less the  provisional amount. It shall be paid at the discretion of the procuring entity and against an advance payment bank guarantee (Demand bank Guarantee). Where advance payment is allowed it shall be paid to the Contractor no later than 60 days upon receipt of acceptable bank guarantee |
| GCC 50.1 | The Performance Security shall be in form of Bank Guarantee: in the amount of five (5) percent |

|  |  |
| --- | --- |
| Number of GC Clause | Amendments of, and Supplements to, Clauses in the General Conditions of Contract |
|  | of the Accepted Contract Amount and in the same currency of the Accepted Contract Amount. |
| E. Finishing the Contract | |
| GCC 56.1 | The date by which operating and maintenance manuals are required is [insert date].  The date by which “as built” drawings are required is [insert date]. This clause will Not be Applicable |
| GCC 56.2 | The amount to be withheld for failing to produce “as built” drawings and/or operating and maintenance manuals by the date required in GCC 58.1. This clause will Not be Applicable |
| GCC 57.2 (g) | The maximum number of days is: 60 Days. |
| GCC 58.1 | The percentage to apply to the value of the work not completed, representing the Procuring Entity’s additional cost for completing the Works, is to be stated in the contract. |

FORM No 1: NOTIFICATION OF INTENTION TO AWARD

This Noti**fi**cation of Intention to Award shall be sent to each Tenderer that submitted a Tender. Send this Noti**fi**cation to the Tenderer's Authorized Representative named in the Tender Information Form on the format below.

FORMAT

1. For the attention of Tenderer's Authorized Representative
   1. Name: [insert Authorized Representative's name]
   2. Address: [insert Authorized Representative's Address]
   3. Telephone: [insert Authorized Representative's telephone/fax numbers]
   4. Email Address: [insert Authorized Representative's email address]

[IMPORTANT: insert the date that this Noti*fi*cation is transmitted to Tenderers. The Noti*fi*cation must be sent to all Tenderers simultaneously. This means on the same date and as close to the same time as possible.]

1. Date of transmission: [email] on [date] (local time)

This Notification is sent by (Name and designation)

1. Notification of Intention to Award
   1. Procuring Entity: [insert the name of the Procuring Entity]
   2. Project: [insert name of project]
   3. Contract title: [insert the name of the contract]
   4. Country: [insert country where ITT is issued]
   5. ITT No: [insert ITT reference number from Procurement Plan]

This Noti**fi**cation of Intention to Award (Noti**fi**cation) noti**fi**es you of our decision to award the above contract. The transmission of this Noti**fi**cation begins the Standstill Period. During the Standstill Period, you may:

1. Request a debriefing in relation to the evaluation of your tender

Submit a Procurement-related Complaint in relation to the decision to award the contract.

1. The successful tenderer
   1. Name of successful Tender
   2. Address of the successful Tender
   3. Contract price of the successful Tender Kenya Shillings (in words )
2. Other Tenderers

Names of all Tenderers that submitted a Tender. If the Tender's price was evaluated include the evaluated price as well as the Tender price as read out. For Tenders not evaluated, give one main reason the Tender was unsuccessful.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SNo | Name of Tender | Tender Price as read out | Tender’s evaluated price (Note a) | One Reason Why not Evaluated |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
|  |  |  |  |  |

(Note a) State NE if not evaluated

1. How to request a debriefing
2. DEADLINE: The deadline to request a debriefing expires at midnight on [insert date] (local time).
3. You may request a debriefing in relation to the results of the evaluation of your Tender. If you decide to request a debriefing your written request must be made within three (5) Business Days of receipt of this Notification of Intention to Award.
4. Provide the contract name, reference number, name of the Tenderer, contact details; and address the request for debriefing as follows:
   1. Attention: [insert full name of person, if applicable]
   2. Title/position: [insert title/position]
5. Agency: [insert name of Procuring Entity]
6. Email address: [insert email address]
7. If your request for a debriefing is received within the 3 Days deadline, we will provide the debriefing within five (3) Business Days of receipt of your request. If we are unable to provide the debriefing within this period, the Standstill Period shall be extended by five (3) Days after the date that the debriefing is provided. If this happens, we will notify you and confirm the date that the extended Standstill Period will end.
8. The debriefing may be in writing, by phone, video conference call or in person. We shall promptly advise you in writing how the debriefing will take place and confirm the date and time.
9. If the deadline to request a debriefing has expired, you may still request a debriefing. In this case, we will provide the debriefing as soon as practicable, and normally no later than fifteen (15) Days from the date of publication of the Contract Award Notice.
10. How to make a complaint
11. Period: Procurement-related Complaint challenging the decision to award shall be submitted by midnight, [insert date] (local time).
12. Provide the contract name, reference number, name of the Tenderer, contact details; and address the Procurement-related Complaint as follows:
    1. Attention: [insert full name of person, if applicable]
    2. Title/position: [insert title/position]
    3. Agency: [insert name of Procuring Entity]
    4. Email address: [insert email address]
13. At this point in the procurement process, you may submit a Procurement-related Complaint challenging the decision to award the contract. You do not need to have requested, or received, a debriefing before making this complaint. Your complaint must be submitted within the Standstill Period and received by us before the Standstill Period ends.
14. Further information: For more information refer to the Public Procurement and Disposals Act 2015 and its Regulations available from the Website[info@ppra.go.ke or](mailto:info@ppra.go.ke) [complaints@ppra.go.ke.](mailto:complaints@ppra.go.ke)

You should read these documents before preparing and submitting your complaint.

1. There are four essential requirements:
   1. You must be an 'interested party'. In this case, that means a Tenderer who submitted a Tender in this tendering process, and is the recipient of a Notification of Intention to Award.
   2. The complaint can only challenge the decision to award the contract.
   3. You must submit the complaint within the period stated above.
   4. You must include, in your complaint, all of the information required to support your complaint.
2. Standstill Period
   1. DEADLINE: The Standstill Period is due to end at midnight on [insert date] (local time).
   2. The Standstill Period lasts ten (14) Days after the date of transmission of this Notification of Intention to Award.
   3. The Standstill Period may be extended as stated in paragraph Section 5 (d) above.

If you have any questions regarding this Noti**fi**cation please do not hesitate to contact us. On behalf of the Procuring Entity:

Signature: Name: Title/position: Telephone: Email:

FORM NO. 2 - REQUEST FOR REVIEW

FORM FOR REVIEW(r.203(1))

PUBLIC PROCUREMENT ADMINISTRATIVE REVIEW BOARD APPLICATION

NO…………….OF……….….20……...

BETWEEN APPLICANT

AND……………….. RESPONDENT (Procuring Entity)

Request for review of the decision of the…………… (Name of the Procuring Entity of ……………dated the…day of

………….20……….in the matter of Tender No………..…of …………..20….. for (Tender description).

REQUEST FOR REVIEW

I/We……………………………,the above named Applicant(s), of address: Physical address…………….P. O. Box No…………. Tel. No……..Email ……………, hereby request the Public Procurement Administrative Review Board to review the whole/part of the above mentioned decision on the following grounds , namely:

1.

2.

By this memorandum, the Applicant requests the Board for an order/orders that:

1.

2.

SIGNED ……………….(Applicant) Dated on…………….day of ……………/…20……

FOR OFFICIAL USE ONLY Lodged with the Secretary Public Procurement Administrative Review Board on… day of

………....20….………

SIGNED

Board Secretary

FORM NO 3: LETTER OF AWARD

[letterhead paper of the Procuring Entity] [date] To: [name and address of the Contractor]

This is to notify you that your Tender dated [date] for execution of the [name of the Contract and identi*fi*cation number, as given in the Contract Data] for the Accepted Contract Amount [amount in numbers and words] [name of currency], as corrected and modified in accordance with the Instructions to Tenderers, is hereby accepted by

… (name of Procuring Entity).

You are requested to furnish the Performance Security within 30 days in accordance with the Conditions of Contract, using, for that purpose, one of the Performance Security Forms included in Section VIII, Contract Forms, of the Tender Document.

Authorized Signature:.................................................................................................................

Name and Title of Signatory:........................................................................................

Name of Procuring Entity.............................................................................................................

Attachment: Contract Agreement................................................................................................

FORM NO 4: CONTRACT AGREEMENT

THIS AGREEMENT made the day of , 20

, between

Kajiado West Technical and Vocational College P.O. Box 1085-00208 Ngong Hills (hereinafter “the Procuring

Entity”), of the one part, and of (hereinafter

“the Contractor”), of the other part:

WHEREAS the Procuring Entity desires that the Works known as should be executed by the Contractor, and has accepted a Tender by the Contractor for the execution and completion of these Works and the remedying of any defects therein,

The Procuring Entity and the Contractor agree as follows:

1. In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract documents referred to.
2. The following documents shall be deemed to form and be read and construed as part of this Agreement. This

Agreement shall prevail over all other Contract documents.

* 1. the Letter of Acceptance
  2. the Letter of Tender
  3. the addenda Nos (if any) d) the Special Conditions of Contract e) the General Conditions of Contract; f) the Specifications

1. the Drawings; and
2. the completed Schedules and any other documents forming part of the contract.
3. In consideration of the payments to be made by the Procuring Entity to the Contractor as specified in this Agreement, the Contractor hereby covenants with the Procuring Entity to execute the Works and to remedy defects therein in conformity in all respects with the provisions of the Contract.
4. The Procuring Entity hereby covenants to pay the Contractor in consideration of the execution and completion of the Works and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the Laws of Kenya on the day, month and year speci**fi**ed above.

Signed and sealed by (for the Procuring Entity)

Signed and sealed by (for the Contractor).

FORM NO. 5 - PERFORMANCE SECURITY

[Option 1 - Unconditional Demand Bank Guarantee] [Guarantor letterhead]

Bene**fi**ciary: [insert name and Address of Procuring Entity] Date:

[Insert date of issue]

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

1. We have been informed that (hereinafter called "the Contractor") has entered into Contract No. dated with (name of Procuring Entity) (the Procuring Entity as the Beneficiary), for the execution of

(hereinafter called "the Contract").

1. Furthermore, we understand that, according to the conditions of the Contract, a performance guarantee is required.
2. At the request of the Contractor, we as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of (in words ),1 such sum being payable in the types and proportions of currencies in which the Contract Price is payable, upon receipt by us of the Beneficiary's complying demand supported by the Beneficiary's statement, whether in the demand itself or in a separate signed document accompanying or identifying the demand, stating that the Applicant is in breach of its obligation(s) under the Contract, without the Beneficiary needing to prove or to show grounds for your demand or the sum specified therein.
3. This guarantee shall expire, no later than the …. Day of …………, 2. 2, and any demand for payment

under it must be received by us at the office indicated above on or before that date.

1. The Guarantor agrees to a one-time extension of this guarantee for a period not to exceed [six months] [one year], in response to the Beneficiary's written request for such extension, such request to be presented to the Guarantor before the expiry of the guarantee.”

[Name of Authorized Of*fi*cial, signature(s) and seals/stamps].

Note: All italicized text (including footnotes) is for use in preparing this form and shall be deleted from the

*fi*nal product.

1The Guarantor shall insert an amount representing the percentage of the Accepted Contract Amount speci*fi*ed in the Letter of Acceptance, less provisional sums, if any, and denominated either in the currency of the Contract or a freely convertible currency acceptable to the Bene*fi*ciary.

2Insert the date twenty-eight days after the expected completion date as described in GC Clause 11.9. The Procuring Entity should note that in the event of an extension of this date for completion of the Contract, the Procuring Entity would need to request an extension of this guarantee from the Guarantor. Such request must be in writing and must be made prior to the expiration date established in the guarantee.

FORM No. 6 - PERFORMANCE SECURITY

[Option 2– Performance Bond]

[Note: Procuring Entities are advised to use Performance Security – Unconditional Demand Bank Guarantee instead of

Performance Bond due to dif*fi*culties involved in calling Bond holder to action]

[Guarantor letterhead or SWIFT identi*fi*er code]

Bene**fi**ciary: [insert name and Address of Procuring Entity] Date:

[Insert date of issue]. PERFORMANCE BONDNo.:

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

1. By this Bond as Principal (hereinafter called “the Contractor”) and ] as Surety (hereinafter called “the Surety”), are held and firmly bound unto

]as Obligee (hereinafter called “the Procuring Entity”) in the amount of for

the payment of which sum well and truly to be made in the types and proportions of currencies in which the Contract Price is payable, the Contractor and the Surety bind themselves, their heirs, executors, administrators, successors and assigns, jointly and severally, firmly by these presents.

1. WHEREAS the Contractor has entered into a written Agreement with the Procuring Entity dated the

day of , 20 , for in accordance with the documents, plans, speci**fi**cations, and amendments thereto, which to the extent herein provided for, are by reference made part hereof and are hereinafter referred to as the Contract.

1. NOW, THEREFORE, the Condition of this Obligation is such that, if the Contractor shall promptly and faithfully perform the said Contract (including any amendments thereto), then this obligation shall be null and void; otherwise, it shall remain in full force and effect. Whenever the Contractor shall be, and declared by the Procuring Entity to be, in default under the Contract, the Procuring Entity having performed the Procuring Entity's obligations thereunder, the Surety may promptly remedy the default, or shall promptly:
   1. complete the Contract in accordance with its terms and conditions; or
   2. obtain a tender or tenders from qualified tenderers for submission to the Procuring Entity for completing the Contract in accordance with its terms and conditions, and upon determination by the Procuring Entity and the Surety of the lowest responsive Tenderers, arrange for a Contract between such Tenderer, and Procuring Entity and make available as work progresses (even though there should be a default or a succession of defaults under the Contract or Contracts of completion arranged under this paragraph) sufficient funds to pay the cost of completion less the Balance of the Contract Price; but not exceeding, including other costs and damages for which the Surety may be liable hereunder, the amount set forth in the first paragraph hereof. The term “Balance of the Contract Price,” as used in this paragraph, shall mean the total amount payable by Procuring Entity to Contractor under the Contract, less the amount properly paid by Procuring Entity to Contractor; or
   3. pay the Procuring Entity the amount required by Procuring Entity to complete the Contract in accordance with its terms and conditions up to a total not exceeding the amount of this Bond.
2. The Surety shall not be liable for a greater sum than the specified penalty of this Bond.
3. Any suit under this Bond must be instituted before the expiration of one year from the date of the issuing of the Taking-Over Certificate. No right of action shall accrue on this Bond to or for the use of any person or corporation other than the Procuring Entity named herein or the heirs, executors, administrators, successors, and assigns of the Procuring Entity.
4. In testimony whereof, the Contractor has hereunto set his hand and affixed his seal, and the Surety has caused these presents to be sealed with his corporate seal duly attested by the signature of his legal representative, this day of 20 .

* SIGNED ON on behalf of By in the capacity of In the
* presence of
* SIGNED ON on behalf of By in the capacity of In the
* presence of

FORM NO. 7 - ADVANCE PAYMENT SECURITY

[Demand Bank Guarantee] [Guarantor letterhead]

Bene**fi**ciary: [Insert name and Address of Procuring Entity] Date: [Insert date of issue]

ADVANCE PAYMENTGUARANTEE No.:[Insert guarantee reference number] Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

1. We have been informed that (hereinafter called “the Contractor”) has entered into Contract No. dated with the Beneficiary, for the execution

of

(herein after called "the Contract").

1. Furthermore, we understand that, according to the conditions of the Contract, an advance payment in the sum

(in words) is to be made against an advance payment guarantee.

1. At the request of the Contractor, we as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of (in words

)1 upon receipt by us of the Beneficiary's complying demand supported by the Beneficiary's statement, whether in the demand itself or in a separate signed document accompanying or identifying the demand, stating either that the Applicant:

* 1. has used the advance payment for purposes other than the costs of mobilization in respect of the Works; or
  2. has failed to repay the advance payment in accordance with the Contract conditions, specifying the amount which the Applicant has failed to repay.

1. A demand under this guarantee may be presented as from the presentation to the Guarantor of a certificate from the Beneficiary's bank stating that the advance payment referred to above has been credited to the Contractor on its account number at .
2. The maximum amount of this guarantee shall be progressively reduced by the amount of the advance payment repaid by the Contractor as specified in copies of interim statements or payment certificates which shall be presented to us. This guarantee shall expire, at the latest, upon our receipt of a copy of the interim payment certificate indicating that ninety (90) percent of the Accepted Contract Amount, less provisional sums, has been certified for payment, or on the day of , 2 ,2

whichever is earlier. Consequently, anydemand for payment under this guarantee must be received by us at this office on or before that date.

1. The Guarantor agrees to a one-time extension of this guarantee for a period not to exceed [six months][one year], in response to the Beneficiary's written request for such extension, such request to be presented to the Guarantor before the expiry of the guarantee.

[Name of Authorized Of*fi*cial, signature(s) and seals/stamps]

Note: All italicized text (including footnotes) is for use in preparing this form and shall be deleted from the

***fi***nal product.

1The Guarantor shall insert an amount representing the amount of the advance payment and denominated either in the currency of the advance payment as speci*fi*ed

in the

Contract.

2Insert the expected expiration date of the Time for Completion. The Procuring Entity should note that in the event of an extension of the time for completion of the Contract, the Procuring Entity would need to request an extension of this guarantee from the Guarantor. Such request must be in writing and must be made prior to the expiration date established in the guarantee.

FORM NO. 8 - RETENTION MONEY SECURITY

[Demand Bank Guarantee] [Guarantor letterhead]

Bene**fi**ciary: [Insert name and Address of Procuring Entity] Date: [Insert date of issue]

Advance payment guarantee no. [Insert guarantee reference number]

Guarantor: [Insert name and address of place of issue, unless indicated in the letterhead]

1. We have been informed that [insert name of Contractor, which in the case of a joint venture shall be the name of the joint venture] (hereinafter called "the Contractor") has entered into Contract No.

[insert reference number of the contract] dated with the Beneficiary, for the execution of [insert name of contract and brief description of Works] (hereinafter called "the Contract").

1. Furthermore, we understand that, according to the conditions of the Contract, the Beneficiary retains moneys up to the limit set forth in the Contract (“the Retention Money”), and that when the Taking-Over Certificate has been issued under the Contract and the first half of the Retention Money has been certified for payment, and payment of [insert the second half of the Retention Money] is to be made against a Retention Money guarantee.
2. At the request of the Contractor, we, as Guarantor, hereby irrevocably undertake to pay the Beneficiary any sum or sums not exceeding in total an amount of [insert amount in *fi*gures] ([insert amount in words ])1 upon receipt by us of the Beneficiary's complying demand supported by the Beneficiary's statement, whether in the demand itself or in a separate signed document accompanying or identifying the demand, stating that the Contractor is in breach of its obligation(s) under the Contract, without your needing to prove or show grounds for your demand or the sum specified therein.
3. A demand under this guarantee may be presented as from the presentation to the Guarantor of a certificate from the Beneficiary's bank stating that the second half of the Retention Money as referred to above has been credited to the Contractor on its a c c o u n t number at [insert name and address of Applicant's bank].
4. This guarantee shall expire no later than the …........................... Day of ,

2.................…2, and any demand for payment under it must be received by us at the of**fi**ce indicated

above on or before that date.

1. The Guarantor agrees to a one-time extension of this guarantee for a period not to exceed [six months] [one year], in response to the Bene**fi**ciary's written request for such extension, such request to be presented to the Guarantor before the expiry of the guarantee.

[Name of Authorized Of*fi*cial, signature(s) and seals/stamps]

Note: All italicized text (including footnotes) is for use in preparing this form and shall be deleted from the

***fi***nal product.

1The Guarantor shall insert an amount representing the amount of the second half of the Retention Money.

2

Insert a date that is twenty-eight days after the expiry of retention period after the actual completion date of the contract. The Procuring Entity should note that in the event of an extension of this date for completion of the Contract, the Procuring Entity would need to request an extension of this guarantee from the Guarantor. Such request must be in writing and must be made prior to the expiration date established in the guarantee.

FORM NO. 9 BENEFICIAL OWNERSHIP DISCLOSURE FORM

***INSTRUCTIONS TO TENDERERS: DELETE THIS BOX ONCE YOU HAVE***

***COMPLETED THE FORM***

*This Beneficial Ownership Disclosure Form (“Form”) is to be completed by the successful tenderer. In case of joint venture, the tenderer must submit a separate Form for each member. The beneficial ownership information to be submitted in this Form shall be current as of the date of its submission.*

*For the purposes of this Form, a Beneficial Owner of a Tenderer is any natural person who ultimately owns or*

*controls the Tenderer by meeting one or more of the following conditions:*

•

*Directly or indirectly holding 25% or more of the*

*shares.*

* *Directly or in directly holding 25% or more of the voting*

*rights.*

* *Directly or indirectly having the right to appoint a majority of the board of directors or equivalent*

*governing body of the Tenderer.*

Tender Reference No.: [insert identi*fi*cation no] Name of the Assignment: [insert name of the assignment] to:

[insert complete name of Procuring Entity]

In response to your notification of award dated [insert date of noti*fi*cation of award] to furnish additional information on beneficial ownership: [select one option as applicable and delete the options that are not applicable]

I) We here by provide the following bene**fi**cial ownership information. Details of bene**fi**cial ownership

|  |  |  |  |
| --- | --- | --- | --- |
| Identity of Beneficial  Owner | Directly or  indirectly holding  25% or more of | Directly or indirectly  holding 25 % or more of the Voting Rights (Yes / No) | Directly or indirectly having the right to  appoint a majority of the board of the directors or an equivalent governing body of the Tenderer |
| [include full name (last, middle, first),  nationality, country of residence] |  |  |  |

OR

*ii)* We declare that there is no Bene*fi*cial Owner meeting one or more of the following conditions: directly or indirectly holding 25% or more of the shares. Directly or indirectly holding 25% or more of the voting

rights. Directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Tenderer.

OR

We declare that we are unable to identify any Bene*fi*cial Owner meeting one or more of the following conditions. [If this option is selected, the Tenderer shall provide explanation on why it is unable to identify any Bene*fi*cial Owner]

Directly or indirectly holding 25% or more of the shares. Directly or indirectly holding25% or more of the voting rights.

Directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Tenderer]”

Name of the Tenderer \*[insert complete name of the Tenderer]

Name of the person duly authorized to sign the Tender on behalf of the Tenderer: \*\* [insert complete name of person duly authorized to sign the Tender]

Title of the person signing the Tender [insert complete title of the person signing the Tender]

Signature of the person named above [insert signature of person whose name and capacity are shown

above] Date signed ....................... [insert date of signing] day of [Insert month], [insert year]